## Sheet1
Schedule of Qty
N/W | construction of cement concrete road between health centre and GH TOWER.
SLNo | Description | Qty | Unit | Rate | Amount | Rate without GST | Amount
1 | EARTH WORK
1.1 | Earth work in rough excavation, banking excavated earth in layers not exceeding 20cm in depth, breaking clods, watering, rolling each layer with ½ tonne roller or wooden or steel rammers, and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing up in embankments for roads, flood banks, marginal banks and guide banks or filling up ground depressions, lead upto 50 m and lift upto 1.5 m :
1.1.1 | All kinds of soil | 12 | cum | 746.8 | 8962 | 654.8005 | 7857.6063
1.2 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.2.1 | All kinds of soil
1.2.1.1 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 70 | metre | 364.2 | 25494 | 319.3336 | 22353.3538
2 | CONCRETE WORK
2.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.1.1 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | 24 | cum | 5789.6 | 138950 | 5076.37 | 121832.8803
3 | MASONRY WORK
3.1 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in:
3.1.1 | Cement Mortar 1:6 (1 cement : 6 coarse sand). | 9 | cum | 5302.6 | 47723 | 4649.3643 | 41844.2788
4 | DISMANTLING AND DEMOLISHING
4.1 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | 24 | cum | 321.25 | 7710 | 281.6747 | 6760.1929
4.2 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 24 | cum | 138.85 | 3332 | 121.7448 | 2921.8764
5 | ROAD WORK
5.1 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 1 | cum | 6840.85 | 6841 | 5998.1149 | 5998.1149
5.2 | Providing and laying design mix cement concrete of M-30 grade, in roads/ taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineer-in-charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). Note:- Cement content considered in M-30 is @ 340 kg/cum. Excess/ less cement used as per design mix is payable/ recoverable separately.
5.2.1 | Cement concrete manufactured in automatic batching plant (RMC plant) i/c transportation to site in transit mixer | 28 | cum | 9153.75 | 256305 | 8026.0851 | 224730.3814
5.3 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 25 | sqm | 859.35 | 21484 | 753.4853 | 18837.1328
5.4 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 2 | cum | 8376.15 | 16752 | 7344.2788 | 14688.5577
6 | DRAINAGE
6.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
6.1.1 | 100 mm diameter | 20 | metre | 317.05 | 6341 | 277.9921 | 5559.8422
6.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
6.2.1 | 100 mm diameter S.W. pipe | 20 | metre | 817 | 16340 | 716.3525 | 14327.0495
6.3 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
6.3.1 | 150 mm dia. R.C.C. pipe | 60 | metre | 462.6 | 27756 | 405.6116 | 24336.6944
6.4 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
6.4.1 | For pipes 100 to 250 mm diameter | 1 | each | 623.5 | 624 | 546.69 | 546.69
6.5 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design :
6.5.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 9 | each | 5209.1 | 46882 | 4567.3827 | 41106.4445
7 | MINOR CIVIL MAINTENANCE WORK.
7.1 | Groove cutting in dummy joints in cement concrete pavement /rcc floor 7x25 mm by groove cutting machine i/c cleaning removal of all loose particle etc. | 160 | Mtr | 93.13 | 14901 | 81.6572 | 13065.1469
| Total |  |  |  | 646397 |  | 566766.2429