## Annexure-A
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
NIT No. 05/Civil/D2/2020-21/05
Name of Work:-Civil work for renovation of FB-668 and P/Laying tiles in corridor of DORA office.
SCHEDULE OF QUANTITY
Item.No | Description of Items | Qty | Unit | Rate in Figures (Without GST) in Rupees | Amount
1 | REINFORCED CEMENT CONCRETE
1.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.1 | cum | 8560.98 | 856
1.2 | Centering and shuttering including strutting, propping etc. and removal of form for
1.2.1 | Shelves (Cast in situ) | 1.5 | sqm | 607.67 | 912
1.3 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
1.3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 10 | kg | 73.21 | 732
2 | MASONRY WORK
2.1 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
2.1.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | 1 | sqm | 817.27 | 817
3 | CLADDING WORK
3.1 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
3.1.1 | Granite of any colour and shade
3.1.1.1 | Area of slab over 0.50 sqm | 2 | sqm | 3513.94 | 7028
3.2 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1 | each | 644.05 | 644
3.3 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 6 | sqm | 903.37 | 5420
4 | WOOD AND PVC WORK
4.1 | Providing and fixing flat pressed 3 layer particle board medium density exterior grade (Grade I) or graded wood particle board IS : 3087 marked, to frame, backing or studding with screws etc. complete (Frames, backing or studding to be paid separately):
4.1.1 | 18 mm thick | 3 | sqm | 802.8 | 2408
4.2 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
4.2.1 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 2.1 | sqm | 1654.27 | 3474
4.3 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 2.1 | sqm | 351.95 | 739
4.4 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured):
4.4.1 | Rectangular or square | 2.1 | sqm | 152.52 | 320
4.5 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete :
4.5.1 | 250x10 mm | 2 | each | 327.61 | 655
4.6 | Providing and fixing 50 mm bright finished brass cup board or wardrobe knob of approved quality with necessary screws. | 4 | each | 54.97 | 220
4.7 | Providing and fixing bright finished brass handles with screws etc. complete:
4.7.1 | 125 mm | 12 | each | 179.43 | 2153
4.8 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 1 | each | 93.55 | 94
4.9 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 1 | each | 879.87 | 880
4.1 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | 1 | each | 656.42 | 656
4.11 | Providing and fixing 2nd class teak wood lipping/ moulded beading or taj beading of size 18X5 mm fixed with wooden adhesive of approved quality and screws/nails on the edges of the Pre-laminated particle board as per direction of Engineer-in-charge. | 10 | metre | 69.13 | 691
4.12 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete.
4.12.1 | Double strip (horizontal type) | 6 | each | 27.22 | 163
4.13 | Providing and fixing powder coated telescopic drawer channels 300 mm long with necessary screws etc. complete as per directions of Engineer- in-charge. | 6 | one set | 297.89 | 1787
4.14 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.
4.14.1 | 1.0 mm thick | 11 | sqm | 629.24 | 6922
4.15 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete.
4.15.1 | With 12 mm mild steel U beading | 2.5 | sqm | 878.12 | 2195
4.16 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-in- charge (Frame work shall be paid for separately).
4.16.1 | 12mm thick commercial ply conforming to IS : 1328 BWR type | 3 | sqm | 912.58 | 2738
5 | STEEL WORK
5.1 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge.
5.1.1 | 10 x 80 mm | 4 | each | 95.57 | 382
5.2 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with :
5.2.1 | 4.0 mm thick glass panes | 1 | sqm | 789.6 | 790
6 | ROOFING
6.1 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
6.1.1 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 2 | sqm | 979.96 | 1960
6.2 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
6.2.1 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 90 | sqm | 1649.23 | 148431
7 | FINISHING
7.1 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
7.1.1 | Two or more coats on new work | 185 | sqm | 76.41 | 14136
7.2 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
7.2.1 | Two or more coats on new work | 2 | sqm | 106.57 | 213
7.3 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.3.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 6 | sqm | 155.32 | 932
7.4 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 185 | sqm | 100.96 | 18678
7.5 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 185 | sqm | 16 | 2960
7.6 | Distempering with 1st quality acrylic distemper (ready made) having VOC content less than 50 gm per ltr. of approved manufacturer and of required shade and colour complete. as per manufacturer's specification.
7.6.1 | One or more coats on old work | 150 | sqm | 42.13 | 6320
8 | REPAIRS TO BUILDING
8.1 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 100 | sqm | 2.19 | 219
9 | DISMANTLING AND DEMOLISHING
9.1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
9.1.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 5.5 | cum | 1523.41 | 8379
9.2 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
9.2.1 | Of area 3 sq. metres and below | 2 | each | 240.68 | 481
9.3 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
9.3.1 | Of area 3 sq. metres and below | 1 | each | 93.42 | 93
9.4 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 65 | sqm | 36.82 | 2393
9.5 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 16 | sqm | 34.19 | 547
9.6 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 26 | cum | 121.74 | 3165
10 | SANITARY INSTALLATIONS
10.1 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :
10.1.1 | Kitchen sink with drain board
10.1.1.1 | 510x1040 mm bowl depth 250 mm | 1 | each | 4520.78 | 4521
10.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
10.2.1 | Flexible pipe
10.2.1.1 | 32 mm dia | 1 | each | 88.64 | 89
11 | WATER SUPPLY
11.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
11.1.1 | 15 mm dia nominal bore | 2 | metre | 249.8 | 500
11.1.2 | 20 mm dia nominal bore | 10 | metre | 301.7 | 3017
11.1.3 | 40 mm dia nominal bore | 10 | metre | 560.8 | 5608
11.2 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
11.2.1 | 25 to 40 mm nominal bore | 1 | each | 590.48 | 590
11.3 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
11.3.1 | 20 mm nominal bore | 1 | each | 403.5 | 404
11.4 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
11.4.1 | 15 mm nominal bore | 2 | each | 484.3 | 969
12 | ALUMINIUM WORK
12.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
12.1.1 | For fixed portion
12.1.1.1 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 52 | kg | 407.45 | 21187
12.1.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
12.1.2.1 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 30 | kg | 486.58 | 14597
12.2 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
12.2.1 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 6.25 | sqm | 1136.69 | 7104
12.3 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete.
12.3.1 | Polyester powder coated minimum thickness 50 micron aluminium | 4 | each | 61.59 | 246
13 | MINOR CIVIL MAINTENANCE WORK:
13.1 | Providing & fixing Armstrong make Optra fabric Acoustic wall panelling with square edges made of fibre glass substrate 25 mm thick and wrapped on the front side with an acoustically transparent and fire resistant fabric with an option of colours as per manufacturer's specification, of size 600x600mm or 1200 mm *600mm providing a minimum sound absobtion level of 0.90 NRC to be affixed to wall using wall panel impalers and requisite arrangement as per manufacturer's specification and as per directions of the Engineer-in-charge complete. | 4 | Sqm | 4976.8 | 19907
13.2 | Providing & fixing Armstrong channeled woodwork G14/G28 perforated panles of width 128 mm, thickness of 15mm and lenght 2440 mm made of a high density particle board substrate with a laminatd facing as per manufacturer's available shade option & finish with a melamine balancing layer on the reverse side.The board shall have a special perforation pattern where the visible surface has a (Helmholtz fluted perforation of 2mm width and 14mm of visible panel.The back if the perforated panel shall have a sound absorbing non woven acoustic fleece.The panel shall be mounted on a special aluminium spines using clip and requisite arrangement as per manufacturer's specification and as per directions of the Engineer-in-charge complete. | 10 | Sqm | 4957.73 | 49577
13.3 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. (Size of Tile 1600x800 mm for step). | 107 | Sqm | 2113.02 | 226093
13.4 | Providing and fixing Roller blinds vista make dust guard as per approved shade and colour . | 7.5 | Sqm | 2584.44 | 19383
13.5 | Supplying & installation of stainless steel basket size of 500 mm X 480 mm X 100 mm in kitchen racks. | 9 | Each | 1260.8 | 11347
| Total Estimated Cost without GST |  |  |  | 637722