## Annexure-A
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
NIT No. 07/Civil/D2/2020-21/05
Name of Work:-Rearrangement of aluminum partition and providing one sink with platform in CL- 104 D.
SCHEDULE OF QUANTITY
Item.No | Description of Items | Qty | Unit | Rate in Figures in Rupees | Amount
1 | REINFORCED CEMENT CONCRETE
1.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.8 | cum | 8560.98 | 6849
1.2 | Centering and shuttering including strutting, propping etc. and removal of form for
1.2.1 | Shelves (Cast in situ) | 1 | sqm | 607.67 | 608
1.3 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
1.3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 8 | kg | 73.21 | 586
2 | MASONRY WORK
2.1 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
2.1.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | 0.48 | sqm | 817.27 | 392
3 | CLADDING WORK
3.1 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
3.1.1 | Granite of any colour and shade
3.1.1.1 | Area of slab over 0.50 sqm | 0.85 | sqm | 3513.94 | 2987
3.2 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1 | each | 644.05 | 644
3.3 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 6 | sqm | 903.37 | 5420
4 | FINISHING
4.1 | 6 mm cement plaster of mix :
4.1.1 | 1:3 (1 cement : 3 fine sand) | 1 | sqm | 199.34 | 199
5 | DISMANTLING AND DEMOLISHING
5.1 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 5 | sqm | 34.19 | 171
5.2 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 24.75 | sqm | 36.82 | 911
6 | SANITARY INSTALLATIONS
6.1 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings :
6.1.1 | Size 450x300x150 mm | 1 | each | 1879.83 | 1880
7 | WATER SUPPLY
7.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
7.1.1 | 15 mm dia nominal bore | 2 | metre | 249.8 | 500
7.1.2 | 20 mm dia nominal bore | 5 | metre | 301.7 | 1509
7.1.3 | 32 mm dia nominal bore | 2 | metre | 464.44 | 929
7.2 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
7.2.1 | 20 mm nominal bore | 1 | each | 403.5 | 404
7.3 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
7.3.1 | 15 mm nominal bore | 1 | each | 484.3 | 484
8 | ALUMINIUM WORK
8.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
8.1.1 | For fixed portion
8.1.1.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 215 | kg | 371.72 | 79920
8.2 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge.
8.2.1 | Pre-laminated particle board with decorative lamination on both sides | 41 | sqm | 917.93 | 37635
8.3 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 2 | each | 402.06 | 804
8.4 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in-charge
8.4.1 | Anodized (AC 15 ) aluminium | 4 | each | 69.79 | 279
8.5 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 14 | kg | 455.8 | 6381
| Total Estimated cost without GST put to tender |  |  |  | 149492