## Sheet1
BILL OF QUANTITY
Name of Work:- Refilling of FM 200 (HFC 227 ea) Gas including hydro-test of cylinder for fire suppression system of Data centre at CC IIT Kanpur.
Name of Firm:
Sl.No. | Description | Qty | Unit | Rate (Rs.) | Amount
1 | Refilling of FM-200 gas (HFC 227 ea), 44 kg of gas per cylinder including dismantling & re-installation, loading & unloading from site, FM 200 gas, refilling kit, hydrostatic pressure testing of cylinder, freight & insurance complete as required. Note: Test certificate for hydrostatic pressure testing of cylinder & for FM 200 Gas required to submit. | 4 | Nos. |  | 0
| Total Rs. |  |  |  | 0