## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Renovation of guest room A102, B102,C102 and painting of GR-1 To GR-6 at hall-5
Contract No: 26/C/D1/2019-20/03
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | [53 empty] | 1 | EARTH WORK |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 1.01 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.02 | All kinds of soil | [53 empty] | 1.02 | All kinds of soil
1.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia |  | 8 | metre | 319.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2554.64 | 2554.64 | INR Two Thousand Five Hundred & Fifty Four and Paise Sixty Four Only | 1.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 8 | metre
2 | CONCRETE WORK | [53 empty] | 2 | CONCRETE WORK
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 3.5 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20833.05 | 20833.05 | INR Twenty Thousand Eight Hundred & Thirty Three and Paise Five Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.5 | cum
2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 4 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2153.6 | 2153.6 | INR Two Thousand One Hundred & Fifty Three and Paise Sixty Only | 2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 4 | sqm
3 | MASONRY WORK | [53 empty] | 3 | MASONRY WORK
3.01 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 3.01 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in:
3.02 | Cement Mortar 1:6 (1 cement : 6 coarse sand). |  | 0.31 | cum | 4649.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1441.3 | 1441.3 | INR One Thousand Four Hundred & Forty One and Paise Thirty Only | 3.02 | Cement Mortar 1:6 (1 cement : 6 coarse sand). | 0.31 | cum
3.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | [53 empty] | 3.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in :
3.04 | cement mortar 1:4 (1 cement : 4 coarse sand) |  | 1 | sqm | 678.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 678.43 | 678.43 | INR Six Hundred & Seventy Eight and Paise Forty Three Only | 3.04 | cement mortar 1:4 (1 cement : 4 coarse sand) | 1 | sqm
3.05 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 5 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 227.95 | 227.95 | INR Two Hundred & Twenty Seven and Paise Ninety Five Only | 3.05 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 5 | metre
4 | CLADDING WORK | [53 empty] | 4 | CLADDING WORK
4.01 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 46 | sqm | 903.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41555.48 | 41555.48 | INR Forty One Thousand Five Hundred & Fifty Five and Paise Forty Eight Only | 4.01 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 46 | sqm
5 | WOOD AND PVC WORK | [53 empty] | 5 | WOOD AND PVC WORK
5.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | [53 empty] | 5.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).
5.02 | Second class teak wood |  | 0.1 | cum | 114145.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11414.56 | 11414.56 | INR Eleven Thousand Four Hundred & Fourteen and Paise Fifty Six Only | 5.02 | Second class teak wood | 0.1 | cum
5.03 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : | [53 empty] | 5.03 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :
5.04 | Float glass panes | [53 empty] | 5.04 | Float glass panes
5.05 | 4 mm thick glass pane (weight not less than 10kg/sqm). |  | 2 | sqm | 1571.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3143.44 | 3143.44 | INR Three Thousand One Hundred & Forty Three and Paise Forty Four Only | 5.05 | 4 mm thick glass pane (weight not less than 10kg/sqm). | 2 | sqm
5.06 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | [53 empty] | 5.06 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
5.07 | 25 mm thick (for cupboard) including ISI marked nickel plated bright finished M.S. piano hinges with necessary screws |  | 6.8 | sqm | 1562.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10626.9 | 10626.9 | INR Ten Thousand Six Hundred & Twenty Six and Paise Ninety Only | 5.07 | 25 mm thick (for cupboard) including ISI marked nickel plated bright finished M.S. piano hinges with necessary screws | 6.8 | sqm
5.08 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). |  | 6.8 | sqm | 82.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 558.35 | 558.35 | INR Five Hundred & Fifty Eight and Paise Thirty Five Only | 5.08 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | 6.8 | sqm
5.09 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: | [53 empty] | 5.09 | Providing and fixing chromium plated brass handles with necessary screws etc. complete:
5.1 | 125 mm |  | 6 | each | 198.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1189.5 | 1189.5 | INR One Thousand One Hundred & Eighty Nine and Paise Fifty Only | 5.1 | 125 mm | 6 | each
5.11 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | [53 empty] | 5.11 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
5.12 | 250x16 mm |  | 6 | each | 203.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1218.96 | 1218.96 | INR One Thousand Two Hundred & Eighteen and Paise Ninety Six Only | 5.12 | 250x16 mm | 6 | each
5.13 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 5.13 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
5.14 | 250x10 mm |  | 6 | each | 90.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 544.74 | 544.74 | INR Five Hundred & Forty Four and Paise Seventy Four Only | 5.14 | 250x10 mm | 6 | each
5.15 | 200x10 mm |  | 3 | each | 78.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 236.73 | 236.73 | INR Two Hundred & Thirty Six and Paise Seventy Three Only | 5.15 | 200x10 mm | 3 | each
5.16 | 150x10 mm |  | 6 | each | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 394.56 | 394.56 | INR Three Hundred & Ninety Four and Paise Fifty Six Only | 5.16 | 150x10 mm | 6 | each
5.17 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 5.17 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
5.18 | 125 mm |  | 18 | each | 52.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 941.4 | 941.4 | INR Nine Hundred & Forty One and Paise Forty Only | 5.18 | 125 mm | 18 | each
5.19 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | [53 empty] | 5.19 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
5.2 | Twin rubber stopper |  | 3 | each | 54.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 163.23 | 163.23 | INR One Hundred & Sixty Three and Paise Twenty Three Only | 5.2 | Twin rubber stopper | 3 | each
5.21 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete. | [53 empty] | 5.21 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete.
5.22 | Double strip (horizontal type) |  | 6 | each | 27.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 163.32 | 163.32 | INR One Hundred & Sixty Three and Paise Thirty Two Only | 5.22 | Double strip (horizontal type) | 6 | each
5.23 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | [53 empty] | 5.23 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge
5.24 | Extruded section profile size 42x50 mm |  | 15 | metre | 234.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3517.5 | 3517.5 | INR Three Thousand Five Hundred & Seventeen and Paise Fifty Only | 5.24 | Extruded section profile size 42x50 mm | 15 | metre
5.25 | Providing and fixing to existing door frames. | [53 empty] | 5.25 | Providing and fixing to existing door frames.
5.26 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). |  | 4.5 | sqm | 1543.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6947.1 | 6947.1 | INR Six Thousand Nine Hundred & Forty Seven and Paise Ten Only | 5.26 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 4.5 | sqm
5.27 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | [53 empty] | 5.27 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.
5.28 | 1.0 mm thick |  | 6.7 | sqm | 629.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4215.91 | 4215.91 | INR Four Thousand Two Hundred & Fifteen and Paise Ninety One Only | 5.28 | 1.0 mm thick | 6.7 | sqm
6 | FLOORING | [53 empty] | 6 | FLOORING
6.01 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. |  | 11 | sqm | 813.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8949.49 | 8949.49 | INR Eight Thousand Nine Hundred & Forty Nine and Paise Forty Nine Only | 6.01 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 11 | sqm
6.02 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only. Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | [53 empty] | 6.02 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only. Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.
6.03 | Double charge vitrified tile polished finish of size | [53 empty] | 6.03 | Double charge vitrified tile polished finish of size
6.04 | Size of Tile 600 x 600 mm |  | 48 | sqm | 1159.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55644.96 | 55644.96 | INR Fifty Five Thousand Six Hundred & Forty Four and Paise Ninety Six Only | 6.04 | Size of Tile 600 x 600 mm | 48 | sqm
6.05 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | [53 empty] | 6.05 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
6.06 | Size of Tile 600x600 mm |  | 7 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9487.87 | 9487.87 | INR Nine Thousand Four Hundred & Eighty Seven and Paise Eighty Seven Only | 6.06 | Size of Tile 600x600 mm | 7 | sqm
7 | FINISHING | [53 empty] | 7 | FINISHING
7.01 | 12 mm cement plaster of mix : | [53 empty] | 7.01 | 12 mm cement plaster of mix :
7.02 | 1:6 (1 cement: 6 coarse sand) |  | 15 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3466.2 | 3466.2 | INR Three Thousand Four Hundred & Sixty Six and Paise Twenty Only | 7.02 | 1:6 (1 cement: 6 coarse sand) | 15 | sqm
7.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 7.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
7.04 | 1:6 (1 cement: 6 coarse sand) |  | 20 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5329.2 | 5329.2 | INR Five Thousand Three Hundred & Twenty Nine and Paise Twenty Only | 7.04 | 1:6 (1 cement: 6 coarse sand) | 20 | sqm
7.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 7.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
7.06 | Two or more coats on new work |  | 690 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52722.9 | 52722.9 | INR Fifty Two Thousand Seven Hundred & Twenty Two and Paise Ninety Only | 7.06 | Two or more coats on new work | 690 | sqm
7.07 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 400 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40384 | 40384 | INR Forty Thousand Three Hundred & Eighty Four Only | 7.07 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 400 | sqm
7.08 | White washing with lime to give an even shade : | [53 empty] | 7.08 | White washing with lime to give an even shade :
7.09 | Old work (two or more coats) |  | 20 | sqm | 14.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293.8 | 293.8 | INR Two Hundred & Ninety Three and Paise Eighty Only | 7.09 | Old work (two or more coats) | 20 | sqm
7.1 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 400 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6400 | 6400 | INR Six Thousand Four Hundred Only | 7.1 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 400 | sqm
7.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 7.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.12 | One or more coats on old work |  | 263 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18436.3 | 18436.3 | INR Eighteen Thousand Four Hundred & Thirty Six and Paise Thirty Only | 7.12 | One or more coats on old work | 263 | sqm
8 | DISMANTLING AND DEMOLISHING | [53 empty] | 8 | DISMANTLING AND DEMOLISHING
8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
8.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 4.4 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6703 | 6703 | INR Six Thousand Seven Hundred & Three Only | 8.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 4.4 | cum
8.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 0.1 | cum | 2222.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 222.25 | 222.25 | INR Two Hundred & Twenty Two and Paise Twenty Five Only | 8.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 0.1 | cum
8.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 8.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
8.05 | In cement mortar |  | 0.5 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 644.41 | 644.41 | INR Six Hundred & Forty Four and Paise Forty One Only | 8.05 | In cement mortar | 0.5 | cum
8.06 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 8.06 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
8.07 | Of area 3 sq. metres and below |  | 6 | each | 240.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1444.08 | 1444.08 | INR One Thousand Four Hundred & Forty Four and Paise Eight Only | 8.07 | Of area 3 sq. metres and below | 6 | each
8.08 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | [53 empty] | 8.08 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
8.09 | Of area 3 sq. metres and below |  | 6 | each | 93.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 560.52 | 560.52 | INR Five Hundred & Sixty and Paise Fifty Two Only | 8.09 | Of area 3 sq. metres and below | 6 | each
8.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 8.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
8.11 | For thickness of tiles 10 mm to 25 mm |  | 59 | sqm | 48.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2837.31 | 2837.31 | INR Two Thousand Eight Hundred & Thirty Seven and Paise Thirty One Only | 8.11 | For thickness of tiles 10 mm to 25 mm | 59 | sqm
8.12 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. |  | 3 | each | 585.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1757.52 | 1757.52 | INR One Thousand Seven Hundred & Fifty Seven and Paise Fifty Two Only | 8.12 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 3 | each
8.13 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 7 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 852.18 | 852.18 | INR Eight Hundred & Fifty Two and Paise Eighteen Only | 8.13 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 7 | cum
9 | SANITARY INSTALLATIONS | [53 empty] | 9 | SANITARY INSTALLATIONS
9.01 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : | [53 empty] | 9.01 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :
9.02 | W.C. pan with ISI marked white solid plastic seat and lid |  | 3 | each | 5861.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17584.38 | 17584.38 | INR Seventeen Thousand Five Hundred & Eighty Four and Paise Thirty Eight Only | 9.02 | W.C. pan with ISI marked white solid plastic seat and lid | 3 | each
9.03 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | [53 empty] | 9.03 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
9.04 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap |  | 2 | each | 2412.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4824.72 | 4824.72 | INR Four Thousand Eight Hundred & Twenty Four and Paise Seventy Two Only | 9.04 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 2 | each
9.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. |  | 3 | each | 774.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2322.81 | 2322.81 | INR Two Thousand Three Hundred & Twenty Two and Paise Eighty One Only | 9.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 3 | each
9.06 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 9.06 | Providing and fixing soil, waste and vent pipes :
9.07 | 100 mm dia | [53 empty] | 9.07 | 100 mm dia
9.08 | Sand cast iron S&S pipe as per IS: 1729 |  | 28 | metre | 884 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24752 | 24752 | INR Twenty Four Thousand Seven Hundred & Fifty Two Only | 9.08 | Sand cast iron S&S pipe as per IS: 1729 | 28 | metre
9.09 | 75 mm diameter : | [53 empty] | 9.09 | 75 mm diameter :
9.1 | Sand cast iron S&S pipe as per IS: 1729 |  | 10 | metre | 809.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8095.1 | 8095.1 | INR Eight Thousand &Ninety Five and Paise Ten Only | 9.1 | Sand cast iron S&S pipe as per IS: 1729 | 10 | metre
9.11 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 9.11 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
9.12 | 100 mm dia | [53 empty] | 9.12 | 100 mm dia
9.13 | Sand cast iron S&S as per IS - 1729 |  | 3 | each | 404.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1214.34 | 1214.34 | INR One Thousand Two Hundred & Fourteen and Paise Thirty Four Only | 9.13 | Sand cast iron S&S as per IS - 1729 | 3 | each
9.14 | Providing and fixing plain bend of required degree. | [53 empty] | 9.14 | Providing and fixing plain bend of required degree.
9.15 | 100 mm dia | [53 empty] | 9.15 | 100 mm dia
9.16 | Sand cast iron S&S as per IS - 1729 |  | 3 | each | 334.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1003.11 | 1003.11 | INR One Thousand &Three and Paise Eleven Only | 9.16 | Sand cast iron S&S as per IS - 1729 | 3 | each
9.17 | Providing and fixing collar : | [53 empty] | 9.17 | Providing and fixing collar :
9.18 | 100 mm | [53 empty] | 9.18 | 100 mm
9.19 | Sand cast iron S&S as per IS - 1729 |  | 15 | each | 320.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4804.5 | 4804.5 | INR Four Thousand Eight Hundred & Four and Paise Fifty Only | 9.19 | Sand cast iron S&S as per IS - 1729 | 15 | each
9.2 | 75 mm | [53 empty] | 9.2 | 75 mm
9.21 | Sand cast iron S&S as per IS - 1729 |  | 5 | each | 232.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1164.85 | 1164.85 | INR One Thousand One Hundred & Sixty Four and Paise Eighty Five Only | 9.21 | Sand cast iron S&S as per IS - 1729 | 5 | each
9.22 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 9.22 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
9.23 | 100 mm |  | 36 | each | 422.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15197.04 | 15197.04 | INR Fifteen Thousand One Hundred & Ninety Seven and Paise Four Only | 9.23 | 100 mm | 36 | each
9.24 | 75 mm |  | 12 | each | 357.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4291.8 | 4291.8 | INR Four Thousand Two Hundred & Ninety One and Paise Eighty Only | 9.24 | 75 mm | 12 | each
9.25 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 9.25 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
9.26 | 100 mm inlet and 100 mm outlet | [53 empty] | 9.26 | 100 mm inlet and 100 mm outlet
9.27 | Sand Cast Iron S&S as per IS: 1729 |  | 9 | each | 1116.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10045.98 | 10045.98 | INR Ten Thousand &Forty Five and Paise Ninety Eight Only | 9.27 | Sand Cast Iron S&S as per IS: 1729 | 9 | each
9.28 | Cutting chases in brick masonry walls for following diameter sand cast iron/centrifugally cast (spun) iron pipes and making good the same with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6 graded stone aggregate 12.5 mm nominal size), including necessary plaster and pointing in cement mortar 1:4 (1 cement : 4 coarse sand) : | [53 empty] | 9.28 | Cutting chases in brick masonry walls for following diameter sand cast iron/centrifugally cast (spun) iron pipes and making good the same with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6 graded stone aggregate 12.5 mm nominal size), including necessary plaster and pointing in cement mortar 1:4 (1 cement : 4 coarse sand) :
9.29 | 50 mm dia |  | 4 | metre | 227.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 908.6 | 908.6 | INR Nine Hundred & Eight and Paise Sixty Only | 9.29 | 50 mm dia | 4 | metre
10 | WATER SUPPLY | [53 empty] | 10 | WATER SUPPLY
10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
10.02 | 20 mm dia nominal bore |  | 9 | metre | 301.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2715.39 | 2715.39 | INR Two Thousand Seven Hundred & Fifteen and Paise Thirty Nine Only | 10.02 | 20 mm dia nominal bore | 9 | metre
10.03 | 25 mm dia nominal bore |  | 3 | metre | 384.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1152.12 | 1152.12 | INR One Thousand One Hundred & Fifty Two and Paise Twelve Only | 10.03 | 25 mm dia nominal bore | 3 | metre
10.04 | 32 mm dia nominal bore |  | 2 | metre | 464.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 928.9 | 928.9 | INR Nine Hundred & Twenty Eight and Paise Ninety Only | 10.04 | 32 mm dia nominal bore | 2 | metre
10.05 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | [53 empty] | 10.05 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall :
10.06 | 15 mm dia nominal bore |  | 19 | metre | 392.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7456.74 | 7456.74 | INR Seven Thousand Four Hundred & Fifty Six and Paise Seventy Four Only | 10.06 | 15 mm dia nominal bore | 19 | metre
10.07 | 20 mm dia nominal bore |  | 22 | metre | 433.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9531.06 | 9531.06 | INR Nine Thousand Five Hundred & Thirty One and Paise Six Only | 10.07 | 20 mm dia nominal bore | 22 | metre
10.08 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | [53 empty] | 10.08 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
10.09 | 25 to 40 mm nominal bore |  | 3 | each | 590.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1771.47 | 1771.47 | INR One Thousand Seven Hundred & Seventy One and Paise Forty Seven Only | 10.09 | 25 to 40 mm nominal bore | 3 | each
10.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 10.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
10.11 | 25 mm nominal bore |  | 3 | each | 435.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1307.73 | 1307.73 | INR One Thousand Three Hundred & Seven and Paise Seventy Three Only | 10.11 | 25 mm nominal bore | 3 | each
10.12 | 20 mm nominal bore |  | 3 | each | 403.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1210.53 | 1210.53 | INR One Thousand Two Hundred & Ten and Paise Fifty Three Only | 10.12 | 20 mm nominal bore | 3 | each
10.13 | Providing and fixing uplasticised PVC connection pipe with brass unions : | [53 empty] | 10.13 | Providing and fixing uplasticised PVC connection pipe with brass unions :
10.14 | 30 cm length | [53 empty] | 10.14 | 30 cm length
10.15 | 15 mm nominal bore |  | 9 | each | 63.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 574.92 | 574.92 | INR Five Hundred & Seventy Four and Paise Ninety Two Only | 10.15 | 15 mm nominal bore | 9 | each
10.16 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 10.16 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
10.17 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 2 | each | 1387.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2775.02 | 2775.02 | INR Two Thousand Seven Hundred & Seventy Five and Paise Two Only | 10.17 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 2 | each
10.18 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 10.18 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
10.19 | 15 mm nominal bore |  | 6 | each | 206.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1240.26 | 1240.26 | INR One Thousand Two Hundred & Forty and Paise Twenty Six Only | 10.19 | 15 mm nominal bore | 6 | each
10.2 | 20 mm nominal bore |  | 6 | each | 228.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1373.88 | 1373.88 | INR One Thousand Three Hundred & Seventy Three and Paise Eighty Eight Only | 10.2 | 20 mm nominal bore | 6 | each
10.21 | 25 mm nominal bore |  | 6 | each | 298.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1789.2 | 1789.2 | INR One Thousand Seven Hundred & Eighty Nine and Paise Twenty Only | 10.21 | 25 mm nominal bore | 6 | each
10.22 | 32 mm nominal bore |  | 4 | each | 336.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1347.64 | 1347.64 | INR One Thousand Three Hundred & Forty Seven and Paise Sixty Four Only | 10.22 | 32 mm nominal bore | 4 | each
10.23 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 10.23 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
10.24 | 15 mm nominal bore |  | 3 | each | 367.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1102.02 | 1102.02 | INR One Thousand One Hundred & Two and Paise Two Only | 10.24 | 15 mm nominal bore | 3 | each
10.25 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 10.25 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
10.26 | 15 mm nominal bore |  | 6 | each | 484.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2905.86 | 2905.86 | INR Two Thousand Nine Hundred & Five and Paise Eighty Six Only | 10.26 | 15 mm nominal bore | 6 | each
10.27 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | [53 empty] | 10.27 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
10.28 | 15 mm nominal bore |  | 6 | each | 531.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3189.48 | 3189.48 | INR Three Thousand One Hundred & Eighty Nine and Paise Forty Eight Only | 10.28 | 15 mm nominal bore | 6 | each
10.29 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | [53 empty] | 10.29 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
10.3 | 15mm nominal bore |  | 15 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6996.9 | 6996.9 | INR Six Thousand Nine Hundred & Ninety Six and Paise Ninety Only | 10.3 | 15mm nominal bore | 15 | each
10.31 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 25 | each | 53.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1342.5 | 1342.5 | INR One Thousand Three Hundred & Forty Two and Paise Fifty Only | 10.31 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 25 | each
11 | DRAINAGE | [53 empty] | 11 | DRAINAGE
11.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | [53 empty] | 11.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
11.02 | 100 mm diameter |  | 8 | metre | 277.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2223.92 | 2223.92 | INR Two Thousand Two Hundred & Twenty Three and Paise Ninety Two Only | 11.02 | 100 mm diameter | 8 | metre
11.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | [53 empty] | 11.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
11.04 | 100 mm diameter S.W. pipe |  | 8 | metre | 716.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5730.8 | 5730.8 | INR Five Thousand Seven Hundred & Thirty and Paise Eighty Only | 11.04 | 100 mm diameter S.W. pipe | 8 | metre
11.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | [53 empty] | 11.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
11.06 | 100x100 mm size P type | [53 empty] | 11.06 | 100x100 mm size P type
11.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 3 | each | 2022.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6068.4 | 6068.4 | INR Six Thousand &Sixty Eight and Paise Forty Only | 11.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3 | each
12 | WATER PROOFING | [53 empty] | 12 | WATER PROOFING
12.01 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. |  | 160 | sqm | 364.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58312 | 58312 | INR Fifty Eight Thousand Three Hundred & Twelve Only | 12.01 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 160 | sqm
13 | MINOR CIVIL MAINTENANCE WORK. | [53 empty] | 13 | MINOR CIVIL MAINTENANCE WORK.
13.01 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). |  | 1 | Each | 4480.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4480.58 | 4480.58 | INR Four Thousand Four Hundred & Eighty and Paise Fifty Eight Only | 13.01 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). | 1 | Each
13.02 | Providing and fixing C.P brass swan neck pillar cock of L&K or equivalent make. |  | 3 | Each | 1125.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3377.46 | 3377.46 | INR Three Thousand Three Hundred & Seventy Seven and Paise Forty Six Only | 13.02 | Providing and fixing C.P brass swan neck pillar cock of L&K or equivalent make. | 3 | Each
13.03 | P/F C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 9 | Each | 58.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 528.03 | 528.03 | INR Five Hundred & Twenty Eight and Paise Three Only | 13.03 | P/F C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 9 | Each
13.04 | Providing and fixing SS wire mess to using of average width of aperture 1.4 mm with wire of dia 0.63 mm grade 304. |  | 2 | Sqm | 566.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1132.58 | 1132.58 | INR One Thousand One Hundred & Thirty Two and Paise Fifty Eight Only | 13.04 | Providing and fixing SS wire mess to using of average width of aperture 1.4 mm with wire of dia 0.63 mm grade 304. | 2 | Sqm
13.05 | Providing and fixing C.P coat pin hanger. |  | 9 | Each | 117.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1055.88 | 1055.88 | INR One Thousand &Fifty Five and Paise Eighty Eight Only | 13.05 | Providing and fixing C.P coat pin hanger. | 9 | Each
13.06 | Providing and fixing C.P brass pipe 32 mm for bottle trap. |  | 3 | Each | 187.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 561.45 | 561.45 | INR Five Hundred & Sixty One and Paise Forty Five Only | 13.06 | Providing and fixing C.P brass pipe 32 mm for bottle trap. | 3 | Each
13.07 | "Providing and fixing glass shelves Jaguar make. |  | 3 | Each | 1857.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5573.88 | 5573.88 | INR Five Thousand Five Hundred & Seventy Three and Paise Eighty Eight Only | 13.07 | "Providing and fixing glass shelves Jaguar make. | 3 | Each
13.08 | Providing and fixing looking mirror of 5.5 mm thick superior glass of approved quality complete with 6 mm thick asbestos sheet and 12 mm thick of water type ply wood sheet ground 40 mm widex 12 mm thick 1st class teak wood beading frame of half round fixed to wooden cleats with C.P brass scerw and washer complete. teak wood beading finished with sprits polishing copmplete. |  | 2.75 | Sqm | 3042.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8365.86 | 8365.86 | INR Eight Thousand Three Hundred & Sixty Five and Paise Eighty Six Only | 13.08 | Providing and fixing looking mirror of 5.5 mm thick superior glass of approved quality complete with 6 mm thick asbestos sheet and 12 mm thick of water type ply wood sheet ground 40 mm widex 12 mm thick 1st class teak wood beading frame of half round fixed to wooden cleats with C.P brass scerw and washer complete. teak wood beading finished with sprits polishing copmplete. | 2.75 | Sqm
13.09 | P/F C.P Brass flange. |  | 27 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 791.91 | 791.91 | INR Seven Hundred & Ninety One and Paise Ninety One Only | 13.09 | P/F C.P Brass flange. | 27 | Each
13.1 | Dismantling of C.I pipe with fittings and clamps i/c disposal of unserviceable material up to 50 mtr. lead and upto 150 mm dia. pipe. |  | 38 | Mtr | 8.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 333.26 | 333.26 | INR Three Hundred & Thirty Three and Paise Twenty Six Only | 13.1 | Dismantling of C.I pipe with fittings and clamps i/c disposal of unserviceable material up to 50 mtr. lead and upto 150 mm dia. pipe. | 38 | Mtr
13.11 | Dismantling of G.I pipe i/c stacking pipes with in 50 mtr. lead (Internal work). 15 mm to 40 mm dia. |  | 50 | Mtr | 4.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 219 | 219 | INR Two Hundred & Nineteen Only | 13.11 | Dismantling of G.I pipe i/c stacking pipes with in 50 mtr. lead (Internal work). 15 mm to 40 mm dia. | 50 | Mtr
13.12 | Providing and fixing SS end cap for curtain rod. |  | 24 | each | 74.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1798.08 | 1798.08 | INR One Thousand Seven Hundred & Ninety Eight and Paise Eight Only | 13.12 | Providing and fixing SS end cap for curtain rod. | 24 | each
13.13 | "Providing and fixing SS bracket. " |  | 24 | Each | 21.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 513.36 | 513.36 | INR Five Hundred & Thirteen and Paise Thirty Six Only | 13.13 | "Providing and fixing SS bracket. " | 24 | Each
13.14 | Providing and fixing 25 mm dia SS curtain pipe with ss ring. |  | 45 | Per feet | 54.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2446.2 | 2446.2 | INR Two Thousand Four Hundred & Forty Six and Paise Twenty Only | 13.14 | Providing and fixing 25 mm dia SS curtain pipe with ss ring. | 45 | Per feet
13.15 | Providing and fixing c.p. brass Toilet roll holder with flap of (Jaguar make) code no. CAN- 1153 N. |  | 3 | each | 996.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2990.79 | 2990.79 | INR Two Thousand Nine Hundred & Ninety and Paise Seventy Nine Only | 13.15 | Providing and fixing c.p. brass Toilet roll holder with flap of (Jaguar make) code no. CAN- 1153 N. | 3 | each
13.16 | "Providing and fixing plain beading for doors and windows frame with screw plugs etc. complete.(a) II class teak wood. (a.1) 20 x 6 mm. " |  | 24 | Mtr | 21.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 504.96 | 504.96 | INR Five Hundred & Four and Paise Ninety Six Only | 13.16 | "Providing and fixing plain beading for doors and windows frame with screw plugs etc. complete.(a) II class teak wood. (a.1) 20 x 6 mm. " | 24 | Mtr
13.17 | Providing and fixing C.P.. brass wall mixer with provision for Overhead shower with 115 mm long bend pipe on upper side connecting legs and wall Flanges of (Jaguar make) code no. con- 273 knupr |  | 3 | Each | 3024.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9074.97 | 9074.97 | INR Nine Thousand &Seventy Four and Paise Ninety Seven Only | 13.17 | Providing and fixing C.P.. brass wall mixer with provision for Overhead shower with 115 mm long bend pipe on upper side connecting legs and wall Flanges of (Jaguar make) code no. con- 273 knupr | 3 | Each
13.18 | Providing and fixing c.p. brass Towel Ring with round flange of (Jaguar make) code no. CAN-1121BN |  | 3 | Each | 795.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2385.81 | 2385.81 | INR Two Thousand Three Hundred & Eighty Five and Paise Eighty One Only | 13.18 | Providing and fixing c.p. brass Towel Ring with round flange of (Jaguar make) code no. CAN-1121BN | 3 | Each
13.19 | Providing and fixing C.P.waste 32 mm dia for wash basin/Sink. |  | 3 | Each | 289.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 868.05 | 868.05 | INR Eight Hundred & Sixty Eight and Paise Five Only | 13.19 | Providing and fixing C.P.waste 32 mm dia for wash basin/Sink. | 3 | Each
13.2 | Providing and fixing Stainless Steel Grab Bar 450 mm long of (Jaguar make) code no AHS- 1501 |  | 3 | Each | 1185.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3556.32 | 3556.32 | INR Three Thousand Five Hundred & Fifty Six and Paise Thirty Two Only | 13.2 | Providing and fixing Stainless Steel Grab Bar 450 mm long of (Jaguar make) code no AHS- 1501 | 3 | Each
13.21 | Providing and fixing C.P. brass over head shower 120 mm round shape single flow ( ABS body chrome plated with Grey face plate ) with Rubit cleaning System with arm fancy type (Jaguar make ) (a) 120 mm dia code no.OHS-1789, SHA- 483. |  | 3 | Each | 2462.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7388.85 | 7388.85 | INR Seven Thousand Three Hundred & Eighty Eight and Paise Eighty Five Only | 13.21 | Providing and fixing C.P. brass over head shower 120 mm round shape single flow ( ABS body chrome plated with Grey face plate ) with Rubit cleaning System with arm fancy type (Jaguar make ) (a) 120 mm dia code no.OHS-1789, SHA- 483. | 3 | Each
13.22 | Providing and fixing c.p. brass hand shower 100 mm dia round shape single flow ABS body chrome plated with gray face plate with rubit cleaning system with 1.5 Meter long 8 mm dia Flexible tube with nuts in Chrome finish And wall hook of (Jaguar make) code no. HSH-1937, SHA-54908, SHA-555. |  | 3 | Each | 2403.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7209.99 | 7209.99 | INR Seven Thousand Two Hundred & Nine and Paise Ninety Nine Only | 13.22 | Providing and fixing c.p. brass hand shower 100 mm dia round shape single flow ABS body chrome plated with gray face plate with rubit cleaning system with 1.5 Meter long 8 mm dia Flexible tube with nuts in Chrome finish And wall hook of (Jaguar make) code no. HSH-1937, SHA-54908, SHA-555. | 3 | Each
13.23 | Providing and fixing c.p. brass corner Glass Shelf with bracket of (Jaguar make) code no. ACN-1173 page 98. |  | 3 | Each | 996.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2990.82 | 2990.82 | INR Two Thousand Nine Hundred & Ninety and Paise Eighty Two Only | 13.23 | Providing and fixing c.p. brass corner Glass Shelf with bracket of (Jaguar make) code no. ACN-1173 page 98. | 3 | Each
Total in Figures | [51 empty] | 618260.7 | 618260.7 | INR Six Lakh Eighteen Thousand Two Hundred & Sixty and Paise Seventy Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K183: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information