## Annexure-A
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
NIT No. 38/Civil/D2/2019-20/04
Name of Work:-Renovation of Lab No. 105 at G.F of NL-II. .
SCHEDULE OF QUANTITY
Item.No | Description of Items | Qty | Unit | Rate in Figures without GST in Rupees | Amount
1 | CONCRETE WORK
1.1 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing :
1.1.1 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 1 | cum | 7500.65 | 7501
2 | REINFORCED CEMENT CONCRETE
2.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2 | cum | 8560.98 | 17122
2.2 | Centering and shuttering including strutting, propping etc. and removal of form for
2.2.1 | Suspended floors, roofs, landings, balconies and access platform | 17 | sqm | 607.67 | 10330
2.3 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
2.3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 150 | kg | 73.21 | 10982
3 | MASONRY WORK
3.1 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
3.1.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | 15 | sqm | 817.27 | 12259
4 | CLADDING WORK
4.1 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
4.1.1 | Granite of any colour and shade
4.1.1.1 | Area of slab over 0.50 sqm | 17 | sqm | 3513.94 | 59737
4.2 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
4.2.1 | Granite work | 25 | metre | 329.89 | 8247
4.3 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 15 | sqm | 903.37 | 13551
5 | WOOD AND PVC WORK
5.1 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).
5.1.1 | Second class teak wood | 1 | cum | 114145.59 | 114146
5.2 | Providing and fixing wooden moulded beading to door and window frames with iron screws, plugs and priming coat on unexposed surface etc. complete :
5.2.1 | 2nd class teak wood
5.2.1.1 | 50 x 20 mm | 60 | metre | 203.55 | 12213
5.3 | Providing and fixing special quality bright finished brass cupboard or ward robe locks with four levers of approved quality including necessary screws etc. complete.
5.3.1 | 40 mm | 19 | each | 220.25 | 4185
5.4 | Providing and fixing bright finished brass handles with screws etc. complete:
5.4.1 | 100 mm | 38 | each | 166.11 | 6312
5.5 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 3 | each | 879.87 | 2640
5.6 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
5.6.1 | 250x16 mm | 2 | each | 203.15 | 406
5.7 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
5.7.1 | 250x10 mm | 2 | each | 90.79 | 182
5.7.2 | 200x10 mm | 2 | each | 78.91 | 158
5.7.3 | 150x10 mm | 6 | each | 65.76 | 395
5.7.4 | 100x10 mm | 19 | each | 50.98 | 969
5.8 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
5.8.1 | 125 mm | 2 | each | 52.3 | 105
5.9 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
5.9.1 | Twin rubber stopper | 2 | each | 54.4 | 109
5.1 | Providing and fixing 2nd class teak wood lipping/ moulded beading or taj beading of size 18X5 mm fixed with wooden adhesive of approved quality and screws/nails on the edges of the Pre-laminated particle board as per direction of Engineer-in-charge. | 60 | metre | 69.13 | 4148
5.11 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete.
5.11.1 | Double strip (horizontal type) | 38 | each | 27.22 | 1034
5.12 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.
5.12.1 | 1.0 mm thick | 30 | sqm | 629.24 | 18877
6 | STEEL WORK
6.1 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
6.1.1 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 50 | kg | 114.86 | 5743
7 | FLOORING
7.1 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).
7.1.1 | Size of Tile 600x600 mm | 10 | sqm | 1520.38 | 15204
7.2 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).
7.2.1 | Size of Tile 600x600 mm | 90 | sqm | 1411.61 | 127045
8 | ROOFING
8.1 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
8.1.1 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 83 | sqm | 1649.23 | 136886
9 | FINISHING
9.1 | 12 mm cement plaster of mix :
9.1.1 | 1:6 (1 cement: 6 fine sand) | 30 | sqm | 222.92 | 6688
9.2 | 6 mm cement plaster of mix :
9.2.1 | 1:3 (1 cement : 3 fine sand) | 20 | sqm | 199.34 | 3987
9.3 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade :
9.3.1 | New work (two or more coats) over and including water thinnable priming coat with cement primer | 250 | sqm | 134.54 | 33635
9.4 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
9.4.1 | Two or more coats on new work | 220 | sqm | 106.57 | 23445
9.5 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 150 | sqm | 100.96 | 15144
9.6 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 150 | sqm | 12.45 | 1868
10 | REPAIRS TO BUILDING
10.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 30 | sqm | 376.67 | 11300
10.2 | Refixing old glass panes with putty and nails | 10 | sqm | 485.79 | 4858
10.3 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 90 | sqm | 2.19 | 197
11 | DISMANTLING AND DEMOLISHING
11.1 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1 | cum | 2222.44 | 2222
11.2 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
11.2.1 | In cement mortar | 7 | cum | 1288.82 | 9022
11.3 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
11.3.1 | Of area 3 sq. metres and below | 2 | each | 240.68 | 481
11.4 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
11.4.1 | For thickness of tiles 10 mm to 25 mm | 10 | sqm | 48.09 | 481
11.5 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 10 | cum | 121.74 | 1217
12 | SANITARY INSTALLATIONS
12.1 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required :
12.1.1 | Size 600x450x200 mm | 2 | each | 4787.76 | 9576
12.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
12.2.1 | Flexible pipe
12.2.1.1 | 32 mm dia | 2 | each | 88.64 | 177
12.3 | Providing and fixing soil, waste and vent pipes :
12.3.1 | 100 mm dia
12.3.1.1 | Sand cast iron S&S pipe as per IS: 1729 | 5 | metre | 883.99 | 4420
12.4 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
12.4.1 | 100 mm dia
12.4.1.1 | Sand cast iron S&S as per IS - 1729 | 2 | each | 404.77 | 810
12.5 | Providing and fixing collar :
12.5.1 | 100 mm
12.5.1.1 | Sand cast iron S&S as per IS - 1729 | 2 | each | 320.29 | 641
12.6 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
12.6.1 | 100 mm | 4 | each | 422.13 | 1689
13 | WATER SUPPLY
13.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
13.1.1 | 15 mm dia nominal bore | 10 | metre | 249.8 | 2498
13.1.2 | 40 mm dia nominal bore | 10 | metre | 560.8 | 5608
13.2 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
13.2.1 | 25 to 40 mm nominal bore | 2 | each | 590.48 | 1181
13.3 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
13.3.1 | 20 mm nominal bore | 2 | each | 403.5 | 807
13.4 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
13.4.1 | 15 mm nominal bore | 2 | each | 206.7 | 413
13.5 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | 4 | each | 302.14 | 1209
13.6 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 15 | metre | 135.16 | 2027
14 | ALUMINIUM WORK
14.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
14.1.1 | For fixed portion
14.1.1.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 250 | kg | 371.72 | 92930
14.1.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
14.1.2.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 50 | kg | 450.15 | 22508
14.2 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge.
14.2.1 | Pre-laminated particle board with decorative lamination on both sides | 10 | sqm | 917.93 | 9179
14.3 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
14.3.1 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 30 | sqm | 1136.69 | 34101
14.4 | Providing and fixing aluminium tubular handle bar 32 mm outer dia, 3.0 mm thick & 2100 mm long with SS screws etc .complete as per direction of Engineer-in-Charge.
14.4.1 | Anodized (AC 15 ) aluminium tubular handle bar | 4 | each | 449.18 | 1797
14.5 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 1 | each | 402.06 | 402
15 | MINOR CIVIL MAINTENANCE WORK
15.1 | Providing and fixing vertical venition blinds vista make dust guard (classic/select) 100 mm wide on windows | 10 | Sqm | 1935.99 | 19360
15.2 | "Providing and fixing 19mmplywood board fixing with screws etc. complete (Frames, backing or studding to be paid separately): 19 mm thick Plywood Board | 120 | Sqm | 1652.78 | 198334
| Total Estimated Cost without GST |  |  |  | 1114698