## Annexure-A
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
NIT No. 02/Civil/D2/2021-22/02
Name of Work:-Renovation of WL-310 for Microdevices Lab. .
SCHEDULE OF QUANTITY
Item.No | Description of Items | Qty | Unit | Rate in Figures without GST in Rupees | Amount
1 | REINFORCED CEMENT CONCRETE
1.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.1 | cum | 8560.98 | 856
1.2 | Centering and shuttering including strutting, propping etc. and removal of form for
1.2.1 | Shelves (Cast in situ) | 1 | sqm | 607.67 | 608
1.3 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
1.3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5 | kg | 73.21 | 366
2 | CLADDING WORK
2.1 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 2 | sqm | 903.37 | 1807
3 | WOOD AND PVC WORK
3.1 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 3 | each | 879.87 | 2640
3.2 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
3.2.1 | 250x10 mm | 3 | each | 90.79 | 272
3.2.2 | 150x10 mm | 16 | each | 65.76 | 1052
3.3 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
3.3.1 | 125 mm | 6 | each | 52.3 | 314
3.3.2 | 100 mm | 8 | each | 46.33 | 371
3.4 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
3.4.1 | Twin rubber stopper | 3 | each | 54.4 | 163
4 | ROOFING
4.1 | Providing fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Fibre glass wool conforming to IS : 8183, density 24kg / m3, 50mm thick, wrapped in 200 G Virgin Polythene bags, fixed to ceiling with metallic cleats (50x50x3 mm) @ 60 cm and wire mesh of 12.5 mm x 24 gauge wire mesh, for top most ceiling of building. | 67.5 | sqm | 508.76 | 34341
4.2 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
4.2.1 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 4.2 | sqm | 979.96 | 4116
4.3 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
4.3.1 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 203 | sqm | 1649.23 | 334794
5 | FINISHING
5.1 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
5.1.1 | Two or more coats on new work | 215 | sqm | 76.41 | 16428
5.2 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
5.2.1 | Two or more coats on new work | 86 | sqm | 106.57 | 9165
5.3 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 215 | sqm | 100.96 | 21706
5.4 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 215 | sqm | 16 | 3440
6 | REPAIRS TO BUILDING
6.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
6.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 3 | sqm | 376.67 | 1130
7 | DISMANTLING AND DEMOLISHING
7.1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
7.1.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1.5 | cum | 1523.41 | 2285
7.2 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1.53 | cum | 2222.44 | 3400
7.3 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
7.3.1 | In cement mortar | 6.8 | cum | 1288.82 | 8764
7.4 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
7.4.1 | Of area 3 sq. metres and below | 27 | each | 240.68 | 6498
7.4.2 | Of area beyond 3 sq. metres | 1 | each | 329.37 | 329
7.5 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 5.78 | sqm | 166.85 | 964
7.6 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 103 | sqm | 36.82 | 3792
7.7 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 2 | sqm | 34.19 | 68
7.8 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 65 | sqm | 36.82 | 2393
7.9 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 15 | cum | 121.74 | 1826
8 | SANITARY INSTALLATIONS
8.1 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings :
8.1.1 | Size 600x450x200 mm | 1 | each | 3052.95 | 3053
8.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
8.2.1 | Flexible pipe
8.2.1.1 | 32 mm dia | 1 | each | 88.64 | 89
9 | WATER SUPPLY
9.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
9.1.1 | 15 mm dia nominal bore | 10 | metre | 249.8 | 2498
9.1.2 | 20 mm dia nominal bore | 15 | metre | 301.7 | 4526
9.1.3 | 40 mm dia nominal bore | 15 | metre | 560.8 | 8412
9.2 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
9.2.1 | 25 to 40 mm nominal bore | 1 | each | 590.48 | 590
9.3 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
9.3.1 | 20 mm nominal bore | 2 | each | 403.5 | 807
9.4 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
9.4.1 | 15 mm nominal bore | 1 | each | 484.3 | 484
9.5 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
9.5.1 | 15mm nominal bore | 3 | each | 466.46 | 1399
10 | ALUMINIUM WORK
10.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
10.1.1 | For fixed portion
10.1.1.1 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 50 | kg | 407.45 | 20373
10.1.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
10.1.2.1 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 28.5 | kg | 486.58 | 13868
10.2 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
10.2.1 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 12 | sqm | 1136.69 | 13640
10.3 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete.
10.3.1 | Polyester powder coated minimum thickness 50 micron aluminium | 8 | each | 61.59 | 493
11 | MINOR CIVIL MAINTENANCE WORK:
11.1 | P/F homogeneous polyvinyl chloride sheet 2.0 mm thick in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dunlop S-758. Fevicol SR 998 or equuivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer- in - charge in approved color & shade. | 106 | Sqm | 670.75 | 71100
11.2 | Cleaning of PVC flooring by scrapping ,applying thiner and repairing of joints with adhesive all complete | 171 | Sqm | 44.19 | 7556
11.3 | Providing and laying 4mm thick (2mm Under Layment Epoxy Screed + 2mm Epoxy Self leveling top coat) epoxy self leveling floor in desired shade with proper surface preparation using vacuum assisted shot blasting machine / scarifier or any other suitable mechanical means to ensure proper key of the flooring system; priming with ShaliPrime 2E, under layment screed with ShaliFloor SL UL 3ES & Topping of ShaliFloor SL TC 4E complete of STP Limited or equivelent. | 65 | Sqm | 1759.66 | 114378
| Total Estimated Cost without GST |  |  |  | 727154