## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Extension of Flame and Combustion Dynamics Lab at Back side of Kanzhi House Building. .
Contract No: 17/Civil/Div-2/2020-21/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | [53 empty] | 1 | EARTH WORK |  |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.1 | [52 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.1 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All kinds of soil. | item no.2 | 60 | cum | 221.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13273 | 13273 | INR Thirteen Thousand Two Hundred & Seventy Three Only | 1.02 | All kinds of soil. | item no.2 | 60 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.3 | 60 | cum | 192.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11555 | 11555 | INR Eleven Thousand Five Hundred & Fifty Five Only | 1.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.3 | 60 | cum
1.04 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.4 | 50 | cum | 1712.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 85623 | 85623 | INR Eighty Five Thousand Six Hundred & Twenty Three Only | 1.04 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.4 | 50 | cum
1.05 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | item no.5 | 1500 | sqm | 11 | 2695 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16500 | 16500 | INR Sixteen Thousand Five Hundred Only | 1.05 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | item no.5 | 1500 | sqm
1.06 | Supplying chemical emulsion in sealed containers including delivery as specified. | item no.6 | [52 empty] | 1.06 | Supplying chemical emulsion in sealed containers including delivery as specified. | item no.6
1.07 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.7 | 30 | litre | 176.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5283 | 5283 | INR Five Thousand Two Hundred & Eighty Three Only | 1.07 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.7 | 30 | litre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : | item no.8 | [52 empty] | 1.08 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : | item no.8
1.09 | Along external wall where the apron is not provided using chemical emulsion @ 7.5 litres / sqm of the vertical surface of the substructure to a depth of 300mm including excavation channel along the wall & rodding etc. complete: | item no.9 | [52 empty] | 1.09 | Along external wall where the apron is not provided using chemical emulsion @ 7.5 litres / sqm of the vertical surface of the substructure to a depth of 300mm including excavation channel along the wall & rodding etc. complete: | item no.9 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | item no.10 | 175 | metre | 24.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4333 | 4333 | INR Four Thousand Three Hundred & Thirty Three Only | 1.1 | With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | item no.10 | 175 | metre | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc.: | item no.11 | [52 empty] | 1.11 | Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc.: | item no.11
1.12 | With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | item no.12 | 125 | metre | 34.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4324 | 4324 | INR Four Thousand Three Hundred & Twenty Four Only | 1.12 | With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | item no.12 | 125 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CONCRETE WORK | item no.13 | [52 empty] | 2 | CONCRETE WORK | item no.13
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.14 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.14
2.02 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | item no.15 | 120 | cum | 5076.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 609164 | 609164 | INR Six Lakh Nine Thousand One Hundred & Sixty Four Only | 2.02 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | item no.15 | 120 | cum
2.03 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand(zone-III) derived from natural sources: 4 graded stone aggregate 20mm nominal size derived from natural sources). | item no.16 | 30 | sqm | 367.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11019 | 11019 | INR Eleven Thousand &Nineteen Only | 2.03 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand(zone-III) derived from natural sources: 4 graded stone aggregate 20mm nominal size derived from natural sources). | item no.16 | 30 | sqm
2.04 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.17 | 30 | sqm | 96.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2893 | 2893 | INR Two Thousand Eight Hundred & Ninety Three Only | 2.04 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.17 | 30 | sqm
2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.18 | 65 | sqm | 538.4 | 30600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34996 | 34996 | INR Thirty Four Thousand Nine Hundred & Ninety Six Only | 2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.18 | 65 | sqm
3 | REINFORCED CEMENT CONCRETE | item no.19 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.19
3.01 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, ifnishing and reinforcement- All work up to plinth level : | item no.20 | [52 empty] | 3.01 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, ifnishing and reinforcement- All work up to plinth level : | item no.20
3.02 | 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.21 | 25 | cum | 6767.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 169186 | 169186 | INR One Lakh Sixty Nine Thousand One Hundred & Eighty Six Only | 3.02 | 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.21 | 25 | cum
3.03 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.22 | [52 empty] | 3.03 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.22
3.04 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.23 | 25 | cum | 8159.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203989 | 203989 | INR Two Lakh Three Thousand Nine Hundred & Eighty Nine Only | 3.04 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.23 | 25 | cum
3.05 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.24 | [52 empty] | 3.05 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.24
3.06 | Foundations, footings, bases of columns, etc. for mass concrete | item no.25 | 40 | sqm | 249.75 | 7563 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9990 | 9990 | INR Nine Thousand Nine Hundred & Ninety Only | 3.06 | Foundations, footings, bases of columns, etc. for mass concrete | item no.25 | 40 | sqm
3.07 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.26 | 120 | sqm | 484.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58085 | 58085 | INR Fifty Eight Thousand &Eighty Five Only | 3.07 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.26 | 120 | sqm
3.08 | Weather shade, Chajjas, corbels etc., including edges | item no.27 | 20 | sqm | 672.29 | 7563 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13446 | 13446 | INR Thirteen Thousand Four Hundred & Forty Six Only | 3.08 | Weather shade, Chajjas, corbels etc., including edges | item no.27 | 20 | sqm
3.09 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.28 | [52 empty] | 3.09 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.28
3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.29 | 975 | kg | 73.21 | 7563 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71380 | 71380 | INR Seventy One Thousand Three Hundred & Eighty Only | 3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.29 | 975 | kg
3.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.30 | [52 empty] | 3.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.30
3.12 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.31 | 1325 | kg | 73.21 | 1814 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 97003 | 97003 | INR Ninety Seven Thousand &Three Only | 3.12 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.31 | 1325 | kg
4 | MASONRY WORK | item no.32 | [52 empty] | 4 | MASONRY WORK | item no.32
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.33 | [52 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.33
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.34 | 60 | cum | 5398.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 323934 | 323934 | INR Three Lakh Twenty Three Thousand Nine Hundred & Thirty Four Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.34 | 60 | cum
4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.35 | [52 empty] | 4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.35
4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.36 | 180 | cum | 6655.37 | 251680 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1197967 | 1197967 | INR Eleven Lakh Ninety Seven Thousand Nine Hundred & Sixty Seven Only | 4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.36 | 180 | cum
4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.37 | [52 empty] | 4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.37
4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.38 | 10 | sqm | 817.27 | 251680 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8173 | 8173 | INR Eight Thousand One Hundred & Seventy Three Only | 4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.38 | 10 | sqm
4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.39 | 110 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5015 | 5015 | INR Five Thousand &Fifteen Only | 4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.39 | 110 | metre
5 | CLADDING WORK | item no.40 | [52 empty] | 5 | CLADDING WORK | item no.40
5.01 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.41 | 25 | sqm | 903.37 | 8735 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22584 | 22584 | INR Twenty Two Thousand Five Hundred & Eighty Four Only | 5.01 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.41 | 25 | sqm
6 | WOOD AND PVC WORK | item no.42 | [52 empty] | 6 | WOOD AND PVC WORK | item no.42
6.01 | Providing and fixing hard drawn steel wire fabric 75x25 mm mesh of weight not less than 7.75 Kg per sqm to window frames etc. including 62x19 mm beading of second class teak wood and priming coat with approved steel primer all complete. | item no.43 | 20 | sqm | 1269.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25398 | 25398 | INR Twenty Five Thousand Three Hundred & Ninety Eight Only | 6.01 | Providing and fixing hard drawn steel wire fabric 75x25 mm mesh of weight not less than 7.75 Kg per sqm to window frames etc. including 62x19 mm beading of second class teak wood and priming coat with approved steel primer all complete. | item no.43 | 20 | sqm
6.02 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.44 | 20 | each | 879.87 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17597 | 17597 | INR Seventeen Thousand Five Hundred & Ninety Seven Only | 6.02 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.44 | 20 | each
7 | STEEL WORK | item no.45 | [52 empty] | 7 | STEEL WORK | item no.45
7.01 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.46 | [52 empty] | 7.01 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.46
7.02 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.47 | 20 | sqm | 3882.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77653 | 77653 | INR Seventy Seven Thousand Six Hundred & Fifty Three Only | 7.02 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.47 | 20 | sqm
7.03 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. | item no.48 | [52 empty] | 7.03 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. | item no.48
7.04 | 80x1.25 mm M.S. laths with 1.25 mm thick top cover | item no.49 | 15 | sqm | 2581.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38721 | 38721 | INR Thirty Eight Thousand Seven Hundred & Twenty One Only | 7.04 | 80x1.25 mm M.S. laths with 1.25 mm thick top cover | item no.49 | 15 | sqm
7.05 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.50 | [52 empty] | 7.05 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.50
7.06 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.51 | 900 | kg | 145.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 131382 | 131382 | INR One Lakh Thirty One Thousand Three Hundred & Eighty Two Only | 7.06 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.51 | 900 | kg
7.07 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.52 | [52 empty] | 7.07 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.52
7.08 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.53 | 33000 | kg | 114.86 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3790380 | 3790380 | INR Thirty Seven Lakh Ninety Thousand Three Hundred & Eighty Only | 7.08 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.53 | 33000 | kg
7.09 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.54 | [52 empty] | 7.09 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.54
7.1 | M.S. tube | item no.55 | 20 | kg | 127.7 | 20938 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2554 | 2554 | INR Two Thousand Five Hundred & Fifty Four Only | 7.1 | M.S. tube | item no.55 | 20 | kg
7.11 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.56 | [52 empty] | 7.11 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.56
7.12 | 4.0 mm thick glass panes | item no.57 | 20 | sqm | 789.6 | 1455 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15792 | 15792 | INR Fifteen Thousand Seven Hundred & Ninety Two Only | 7.12 | 4.0 mm thick glass panes | item no.57 | 20 | sqm
8 | FLOORING | item no.58 | [52 empty] | 8 | FLOORING | item no.58
8.01 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.59 | 625 | sqm | 749.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 468156 | 468156 | INR Four Lakh Sixty Eight Thousand One Hundred & Fifty Six Only | 8.01 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.59 | 625 | sqm
8.02 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.60 | [52 empty] | 8.02 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.60
8.03 | 18 mm thick | item no.61 | 25 | sqm | 456.94 | 26880 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11424 | 11424 | INR Eleven Thousand Four Hundred & Twenty Four Only | 8.03 | 18 mm thick | item no.61 | 25 | sqm
9 | ROOFING | item no.62 | [52 empty] | 9 | ROOFING | item no.62
9.01 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.63 | [52 empty] | 9.01 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.63
9.02 | 1.00 mm thick with zinc coating not less than 275 gm/m² | item no.64 | 320 | sqm | 1082.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 346304 | 346304 | INR Three Lakh Forty Six Thousand Three Hundred & Four Only | 9.02 | 1.00 mm thick with zinc coating not less than 275 gm/m² | item no.64 | 320 | sqm
9.03 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete. | item no.65 | [52 empty] | 9.03 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete. | item no.65
9.04 | 0.80 mm thick with zinc coating not less than 275 gm/m² | item no.66 | 20 | metre | 685.13 | 434553 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13703 | 13703 | INR Thirteen Thousand Seven Hundred & Three Only | 9.04 | 0.80 mm thick with zinc coating not less than 275 gm/m² | item no.66 | 20 | metre
9.05 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.67 | [52 empty] | 9.05 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.67
9.06 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.68 | 50 | sqm | 1649.23 | 5271 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 82462 | 82462 | INR Eighty Two Thousand Four Hundred & Sixty Two Only | 9.06 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.68 | 50 | sqm
10 | FINISHING | item no.69 | [52 empty] | 10 | FINISHING | item no.69
10.01 | 12 mm cement plaster of mix : | item no.70 | [52 empty] | 10.01 | 12 mm cement plaster of mix : | item no.70
10.02 | 1:6 (1 cement: 6 fine sand) | item no.71 | 200 | sqm | 222.92 | 12714 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44584 | 44584 | INR Forty Four Thousand Five Hundred & Eighty Four Only | 10.02 | 1:6 (1 cement: 6 fine sand) | item no.71 | 200 | sqm
10.03 | 15 mm cement plaster on the rough side of single or half brick wall of mix : | item no.72 | [52 empty] | 10.03 | 15 mm cement plaster on the rough side of single or half brick wall of mix : | item no.72
10.04 | 1:6 (1 cement: 6 fine sand) | item no.73 | 72 | sqm | 256.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18487 | 18487 | INR Eighteen Thousand Four Hundred & Eighty Seven Only | 10.04 | 1:6 (1 cement: 6 fine sand) | item no.73 | 72 | sqm
10.05 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : | item no.74 | [52 empty] | 10.05 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : | item no.74
10.06 | New work (two or more coats) over and including water thinnable priming coat with cement primer | item no.75 | 200 | sqm | 134.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26908 | 26908 | INR Twenty Six Thousand Nine Hundred & Eight Only | 10.06 | New work (two or more coats) over and including water thinnable priming coat with cement primer | item no.75 | 200 | sqm
10.07 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.76 | [52 empty] | 10.07 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.76
10.08 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.77 | 72 | sqm | 144.41 | 434553 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10398 | 10398 | INR Ten Thousand Three Hundred & Ninety Eight Only | 10.08 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.77 | 72 | sqm
10.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.78 | [52 empty] | 10.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.78
10.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.79 | 500 | sqm | 155.32 | 5271 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77660 | 77660 | INR Seventy Seven Thousand Six Hundred & Sixty Only | 10.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.79 | 500 | sqm
10.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.80 | 1100 | sqm | 100.96 | 434553 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 111056 | 111056 | INR One Lakh Eleven Thousand &Fifty Six Only | 10.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.80 | 1100 | sqm
11 | DISMANTLING AND DEMOLISHING | item no.81 | [52 empty] | 11 | DISMANTLING AND DEMOLISHING | item no.81
11.01 | Demolishing R.B. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in- charge. | item no.82 | 10 | cum | 1987.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19879 | 19879 | INR Nineteen Thousand Eight Hundred & Seventy Nine Only | 11.01 | Demolishing R.B. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in- charge. | item no.82 | 10 | cum
12 | ALUMINIUM WORK | item no.83 | [52 empty] | 12 | ALUMINIUM WORK | item no.83
12.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.84 | [52 empty] | 12.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.84
12.02 | For fixed portion | item no.85 | [52 empty] | 12.02 | For fixed portion | item no.85
12.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.86 | 100 | kg | 371.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37172 | 37172 | INR Thirty Seven Thousand One Hundred & Seventy Two Only | 12.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.86 | 100 | kg
12.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.87 | [52 empty] | 12.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.87
12.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.88 | 10 | kg | 450.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4502 | 4502 | INR Four Thousand Five Hundred & Two Only | 12.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.88 | 10 | kg
12.06 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | item no.89 | [52 empty] | 12.06 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | item no.89
12.07 | Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | item no.90 | 75 | sqm | 874.79 | 434553 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65609 | 65609 | INR Sixty Five Thousand Six Hundred & Nine Only | 12.07 | Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | item no.90 | 75 | sqm
12.08 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.91 | [52 empty] | 12.08 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.91
12.09 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.92 | 10 | sqm | 1136.69 | 5271 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11367 | 11367 | INR Eleven Thousand Three Hundred & Sixty Seven Only | 12.09 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.92 | 10 | sqm
12.1 | Providing and fixing aluminium tubular handle bar 32 mm outer dia, 3.0 mm thick & 2100 mm long with SS screws etc .complete as per direction of Engineer-in-Charge. | item no.93 | [52 empty] | 12.1 | Providing and fixing aluminium tubular handle bar 32 mm outer dia, 3.0 mm thick & 2100 mm long with SS screws etc .complete as per direction of Engineer-in-Charge. | item no.93
12.11 | Anodized (AC 15 ) aluminium tubular handle bar | item no.94 | 22 | each | 449.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9882 | 9882 | INR Nine Thousand Eight Hundred & Eighty Two Only | 12.11 | Anodized (AC 15 ) aluminium tubular handle bar | item no.94 | 22 | each
13 | MINOR CIVIL MAINTENANCE WORK | item no.95 | [52 empty] | 13 | MINOR CIVIL MAINTENANCE WORK | item no.95
13.01 | "P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | item no.96 | 30 | Sqm | 524.06 | 26880 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15722 | 15722 | INR Fifteen Thousand Seven Hundred & Twenty Two Only | 13.01 | "P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | item no.96 | 30 | Sqm
13.02 | Providing & fixing temporary barricading all round the construction area, made with 24 gauge G.I. sheet of size 0.90m (before corrugation) x 3.00 m, with vertical ballies and two no. horizontal ballies of 75 mm to 100 mm dia, height upto 2.00 m from ground level necessary excavation in digging holes and refilling earth complete. The Barricading provided shall be retained in position at site continuosly i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work one till its completion. Rate include its maintenance for damages,painting,all incidentals, labour materials, equipments and works required to excute the job. The barricading shall not be removed without prior approval of Engineer-in-charge. (Note: One time Payment shall be made for providing barricading from start of work till completion of work i/c shifting. | item no.98 | 62.5 | Rm | 1565.1 | 12714 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 97819 | 97819 | INR Ninety Seven Thousand Eight Hundred & Nineteen Only | 13.02 | Providing & fixing temporary barricading all round the construction area, made with 24 gauge G.I. sheet of size 0.90m (before corrugation) x 3.00 m, with vertical ballies and two no. horizontal ballies of 75 mm to 100 mm dia, height upto 2.00 m from ground level necessary excavation in digging holes and refilling earth complete. The Barricading provided shall be retained in position at site continuosly i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work one till its completion. Rate include its maintenance for damages,painting,all incidentals, labour materials, equipments and works required to excute the job. The barricading shall not be removed without prior approval of Engineer-in-charge. (Note: One time Payment shall be made for providing barricading from start of work till completion of work i/c shifting. | item no.98 | 62.5 | Rm
Total in Figures | [51 empty] | 8552286 | 8001241 | INR Eighty Lakh One Thousand Two Hundred & Forty One Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information