## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house no 4092 with servant quarter and Garage.
Contract No: 17/Civil/D2/2021-22/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | item no.1 | [52 empty] | 1 | EARTH WORK | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.2 | [52 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All kinds of soil | item no.3 | 2.94 | cum | 159.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 469 | 469 | INR Four Hundred & Sixty Nine Only | 1.02 | All kinds of soil | item no.3 | 2.94 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CONCRETE WORK | item no.4 | [52 empty] | 2 | CONCRETE WORK | item no.4
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 1.65 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9821 | 9821 | INR Nine Thousand Eight Hundred & Twenty One Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 1.65 | cum
2.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.7 | [52 empty] | 2.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.7
2.04 | Foundations, footings, bases for columns | item no.8 | 5.38 | sqm | 249.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1344 | 1344 | INR One Thousand Three Hundred & Forty Four Only | 2.04 | Foundations, footings, bases for columns | item no.8 | 5.38 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.9 | 20.13 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10838 | 10838 | INR Ten Thousand Eight Hundred & Thirty Eight Only | 2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.9 | 20.13 | sqm
3 | REINFORCED CEMENT CONCRETE | item no.10 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.11 | [52 empty] | 3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.12 | 0.1 | cum | 8159.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 816 | 816 | INR Eight Hundred & Sixteen Only | 3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.12 | 0.1 | cum
3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.13 | 2.58 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22087 | 22087 | INR Twenty Two Thousand &Eighty Seven Only | 3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.13 | 2.58 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.04 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.14 | [52 empty] | 3.04 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.14
3.05 | Foundations, footings, bases of columns, etc. for mass concrete | item no.15 | 0.6 | sqm | 249.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 150 | 150 | INR One Hundred & Fifty Only | 3.05 | Foundations, footings, bases of columns, etc. for mass concrete | item no.15 | 0.6 | sqm
3.06 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.16 | 0.9 | sqm | 534.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 481 | 481 | INR Four Hundred & Eighty One Only | 3.06 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.16 | 0.9 | sqm
3.07 | Suspended floors, roofs, landings, balconies and access platform | item no.17 | 2.9 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1762 | 1762 | INR One Thousand Seven Hundred & Sixty Two Only | 3.07 | Suspended floors, roofs, landings, balconies and access platform | item no.17 | 2.9 | sqm
3.08 | Stairs, (excluding landings) except spiral-staircases | item no.18 | 12.7 | sqm | 545.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6930 | 6930 | INR Six Thousand Nine Hundred & Thirty Only | 3.08 | Stairs, (excluding landings) except spiral-staircases | item no.18 | 12.7 | sqm
3.09 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.19 | [52 empty] | 3.09 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.19
3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.20 | 420 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30748 | 30748 | INR Thirty Thousand Seven Hundred & Forty Eight Only | 3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.20 | 420 | kg
3.11 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.21 | 56 | metre | 51.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2892 | 2892 | INR Two Thousand Eight Hundred & Ninety Two Only | 3.11 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.21 | 56 | metre
4 | MASONRY WORK | item no.22 | [52 empty] | 4 | MASONRY WORK | item no.22
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.23 | [52 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.23
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.24 | 0.96 | cum | 5398.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5183 | 5183 | INR Five Thousand One Hundred & Eighty Three Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.24 | 0.96 | cum
4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.25 | [52 empty] | 4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.25
4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.26 | 9 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59898 | 59898 | INR Fifty Nine Thousand Eight Hundred & Ninety Eight Only | 4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.26 | 9 | cum
4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | item no.27 | [52 empty] | 4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | item no.27
4.06 | cement mortar 1:4 (1 cement : 4 coarse sand) | item no.28 | 4.53 | sqm | 678.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3073 | 3073 | INR Three Thousand &Seventy Three Only | 4.06 | cement mortar 1:4 (1 cement : 4 coarse sand) | item no.28 | 4.53 | sqm
4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.29 | 13.65 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 622 | 622 | INR Six Hundred & Twenty Two Only | 4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.29 | 13.65 | metre
5 | WOOD AND PVC WORK | item no.30 | [52 empty] | 5 | WOOD AND PVC WORK | item no.30
5.01 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.31 | [52 empty] | 5.01 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.31
5.02 | Second class teak wood | item no.32 | [52 empty] | 5.02 | Second class teak wood | item no.32
5.03 | 35 mm thick | item no.33 | 4.13 | sqm | 3817.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15766 | 15766 | INR Fifteen Thousand Seven Hundred & Sixty Six Only | 5.03 | 35 mm thick | item no.33 | 4.13 | sqm
5.04 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.34 | [52 empty] | 5.04 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.34
5.05 | 250x16 mm | item no.35 | 2 | each | 149.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298 | 298 | INR Two Hundred & Ninety Eight Only | 5.05 | 250x16 mm | item no.35 | 2 | each
5.06 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.36 | [52 empty] | 5.06 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.36
5.07 | 150x10 mm | item no.37 | 1 | each | 46.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46 | 46 | INR Forty Six Only | 5.07 | 150x10 mm | item no.37 | 1 | each
5.08 | 100x10 mm | item no.38 | 16 | each | 33.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 543 | 543 | INR Five Hundred & Forty Three Only | 5.08 | 100x10 mm | item no.38 | 16 | each
5.09 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.39 | [52 empty] | 5.09 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.39
5.1 | 125 mm | item no.40 | 2 | each | 30.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61 | 61 | INR Sixty One Only | 5.1 | 125 mm | item no.40 | 2 | each
5.11 | 100 mm | item no.41 | 8 | each | 24.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 196 | 196 | INR One Hundred & Ninety Six Only | 5.11 | 100 mm | item no.41 | 8 | each
5.12 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.42 | [52 empty] | 5.12 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.42
5.13 | Twin rubber stopper | item no.43 | 12 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 653 | 653 | INR Six Hundred & Fifty Three Only | 5.13 | Twin rubber stopper | item no.43 | 12 | each
6 | STEEL WORK | item no.44 | [52 empty] | 6 | STEEL WORK | item no.44
6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.45 | 30.1 | kg | 89.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2685 | 2685 | INR Two Thousand Six Hundred & Eighty Five Only | 6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.45 | 30.1 | kg
6.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.46 | [52 empty] | 6.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.46
6.03 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.47 | 2.79 | sqm | 3882.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10833 | 10833 | INR Ten Thousand Eight Hundred & Thirty Three Only | 6.03 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.47 | 2.79 | sqm
6.04 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.48 | [52 empty] | 6.04 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.48
6.05 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.49 | 630 | kg | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72362 | 72362 | INR Seventy Two Thousand Three Hundred & Sixty Two Only | 6.05 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.49 | 630 | kg
6.06 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.50 | [52 empty] | 6.06 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.50
6.07 | M.S. tube | item no.51 | 220 | kg | 127.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28094 | 28094 | INR Twenty Eight Thousand &Ninety Four Only | 6.07 | M.S. tube | item no.51 | 220 | kg
7 | FLOORING | item no.52 | [52 empty] | 7 | FLOORING | item no.52
7.01 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: | item no.53 | [52 empty] | 7.01 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: | item no.53
7.02 | 1:6 (1cement : 6 coarse sand) | item no.54 | 4.04 | sqm | 727.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2938 | 2938 | INR Two Thousand Nine Hundred & Thirty Eight Only | 7.02 | 1:6 (1cement : 6 coarse sand) | item no.54 | 4.04 | sqm
7.03 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.55 | [52 empty] | 7.03 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.55
7.04 | 40 mm thick with 20 mm nominal size stone aggregate | item no.56 | 43 | sqm | 436.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18789 | 18789 | INR Eighteen Thousand Seven Hundred & Eighty Nine Only | 7.04 | 40 mm thick with 20 mm nominal size stone aggregate | item no.56 | 43 | sqm
7.05 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.57 | [52 empty] | 7.05 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.57
7.06 | 18 mm thick | item no.58 | 0.45 | sqm | 456.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 206 | 206 | INR Two Hundred & Six Only | 7.06 | 18 mm thick | item no.58 | 0.45 | sqm
7.07 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.59 | [52 empty] | 7.07 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.59
7.08 | 40 mm wide and 4 mm thick | item no.60 | 90 | metre | 65.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5930 | 5930 | INR Five Thousand Nine Hundred & Thirty Only | 7.08 | 40 mm wide and 4 mm thick | item no.60 | 90 | metre
7.09 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.61 | 12.29 | sqm | 812.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9988 | 9988 | INR Nine Thousand Nine Hundred & Eighty Eight Only | 7.09 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.61 | 12.29 | sqm
8 | ROOFING | item no.62 | [52 empty] | 8 | ROOFING | item no.62
8.01 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.63 | 4 | each | 213.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 856 | 856 | INR Eight Hundred & Fifty Six Only | 8.01 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.63 | 4 | each
8.02 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.64 | [52 empty] | 8.02 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.64
8.03 | 110 mm diameter | item no.65 | 14 | metre | 267.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3745 | 3745 | INR Three Thousand Seven Hundred & Forty Five Only | 8.03 | 110 mm diameter | item no.65 | 14 | metre
8.04 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.66 | [52 empty] | 8.04 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.66
8.05 | Single tee with door | item no.67 | [52 empty] | 8.05 | Single tee with door | item no.67
8.06 | 110x110x110 mm | item no.68 | 4 | each | 178.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 713 | 713 | INR Seven Hundred & Thirteen Only | 8.06 | 110x110x110 mm | item no.68 | 4 | each
8.07 | Shoe (Plain) | item no.69 | [52 empty] | 8.07 | Shoe (Plain) | item no.69
8.08 | 110 mm Shoe | item no.70 | 4 | each | 99.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 399 | 399 | INR Three Hundred & Ninety Nine Only | 8.08 | 110 mm Shoe | item no.70 | 4 | each
9 | FINISHING | item no.71 | [52 empty] | 9 | FINISHING | item no.71
9.01 | 12 mm cement plaster of mix : | item no.72 | [52 empty] | 9.01 | 12 mm cement plaster of mix : | item no.72
9.02 | 1:6 (1 cement: 6 coarse sand) | item no.73 | 33 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7626 | 7626 | INR Seven Thousand Six Hundred & Twenty Six Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | item no.73 | 33 | sqm
9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.74 | [52 empty] | 9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.74
9.04 | 1:6 (1 cement: 6 coarse sand) | item no.75 | 80 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21317 | 21317 | INR Twenty One Thousand Three Hundred & Seventeen Only | 9.04 | 1:6 (1 cement: 6 coarse sand) | item no.75 | 80 | sqm
9.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.76 | [52 empty] | 9.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.76
9.06 | 1:4 (1 cement: 4 fine sand) | item no.77 | 27 | sqm | 323.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8743 | 8743 | INR Eight Thousand Seven Hundred & Forty Three Only | 9.06 | 1:4 (1 cement: 4 fine sand) | item no.77 | 27 | sqm
9.07 | 6 mm cement plaster of mix : | item no.78 | [52 empty] | 9.07 | 6 mm cement plaster of mix : | item no.78
9.08 | 1:3 (1 cement : 3 fine sand) | item no.79 | 10 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1993 | 1993 | INR One Thousand Nine Hundred & Ninety Three Only | 9.08 | 1:3 (1 cement : 3 fine sand) | item no.79 | 10 | sqm
9.09 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.80 | [52 empty] | 9.09 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.80
9.1 | Flush / Ruled/ Struck or weathered pointing | item no.81 | 4.04 | sqm | 167.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 679 | 679 | INR Six Hundred & Seventy Nine Only | 9.1 | Flush / Ruled/ Struck or weathered pointing | item no.81 | 4.04 | sqm
9.11 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.82 | [52 empty] | 9.11 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.82
9.12 | Two or more coats on new work | item no.83 | 39.18 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2994 | 2994 | INR Two Thousand Nine Hundred & Ninety Four Only | 9.12 | Two or more coats on new work | item no.83 | 39.18 | sqm
9.13 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.84 | [52 empty] | 9.13 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.84
9.14 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.85 | 119 | sqm | 141.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16814 | 16814 | INR Sixteen Thousand Eight Hundred & Fourteen Only | 9.14 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.85 | 119 | sqm
9.15 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.86 | [52 empty] | 9.15 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.86
9.16 | Two or more coats on new work | item no.87 | 57.04 | sqm | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6079 | 6079 | INR Six Thousand &Seventy Nine Only | 9.16 | Two or more coats on new work | item no.87 | 57.04 | sqm
9.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.88 | [52 empty] | 9.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.88
9.18 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.89 | 11.15 | sqm | 155.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1732 | 1732 | INR One Thousand Seven Hundred & Thirty Two Only | 9.18 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.89 | 11.15 | sqm
9.19 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.90 | 40 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4038 | 4038 | INR Four Thousand &Thirty Eight Only | 9.19 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.90 | 40 | sqm
9.2 | White washing with lime to give an even shade : | item no.91 | [52 empty] | 9.2 | White washing with lime to give an even shade : | item no.91
9.21 | Old work (two or more coats) | item no.92 | 259 | sqm | 14.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3802 | 3802 | INR Three Thousand Eight Hundred & Two Only | 9.21 | Old work (two or more coats) | item no.92 | 259 | sqm
9.22 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.93 | 259 | sqm | 12.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3225 | 3225 | INR Three Thousand Two Hundred & Twenty Five Only | 9.22 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.93 | 259 | sqm
9.23 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.94 | [52 empty] | 9.23 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.94
9.24 | Old work (one or more coats) | item no.95 | 378 | sqm | 47.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17997 | 17997 | INR Seventeen Thousand Nine Hundred & Ninety Seven Only | 9.24 | Old work (one or more coats) | item no.95 | 378 | sqm
9.25 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.96 | 40 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 640 | 640 | INR Six Hundred & Forty Only | 9.25 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.96 | 40 | sqm
9.26 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.97 | [52 empty] | 9.26 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.97
9.27 | One or more coats on old work | item no.98 | 207 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14511 | 14511 | INR Fourteen Thousand Five Hundred & Eleven Only | 9.27 | One or more coats on old work | item no.98 | 207 | sqm
10 | REPAIRS TO BUILDING | item no.99 | [52 empty] | 10 | REPAIRS TO BUILDING | item no.99
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.100 | [52 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.100
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.101 | 5.26 | sqm | 376.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1981 | 1981 | INR One Thousand Nine Hundred & Eighty One Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.101 | 5.26 | sqm
10.03 | Renewing glass panes, with wooden fillets wherever necessary: | item no.102 | [52 empty] | 10.03 | Renewing glass panes, with wooden fillets wherever necessary: | item no.102
10.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.103 | 1.91 | sqm | 1107.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2115 | 2115 | INR Two Thousand One Hundred & Fifteen Only | 10.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.103 | 1.91 | sqm
11 | DISMANTLING AND DEMOLISHING | item no.104 | [52 empty] | 11 | DISMANTLING AND DEMOLISHING | item no.104
11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.105 | [52 empty] | 11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.105
11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.106 | 6.93 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10557 | 10557 | INR Ten Thousand Five Hundred & Fifty Seven Only | 11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.106 | 6.93 | cum
11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.107 | 13.29 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12501 | 12501 | INR Twelve Thousand Five Hundred & One Only | 11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.107 | 13.29 | cum
11.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.108 | 1.3 | cum | 2222.44 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2889 | 2889 | INR Two Thousand Eight Hundred & Eighty Nine Only | 11.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.108 | 1.3 | cum
11.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.109 | [52 empty] | 11.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.109
11.06 | In cement mortar | item no.110 | 7.9 | cum | 1288.82 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10182 | 10182 | INR Ten Thousand One Hundred & Eighty Two Only | 11.06 | In cement mortar | item no.110 | 7.9 | cum
11.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.111 | [52 empty] | 11.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.111
11.08 | Of area 3 sq. metres and below | item no.112 | 1 | each | 240.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 241 | 241 | INR Two Hundred & Forty One Only | 11.08 | Of area 3 sq. metres and below | item no.112 | 1 | each
11.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.113 | [52 empty] | 11.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.113
11.1 | Of area 3 sq. metres and below | item no.114 | 6 | each | 93.42 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 561 | 561 | INR Five Hundred & Sixty One Only | 11.1 | Of area 3 sq. metres and below | item no.114 | 6 | each
11.11 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.115 | [52 empty] | 11.11 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.115
11.12 | For thickness of tiles 10 mm to 25 mm | item no.116 | 162 | sqm | 48.09 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7791 | 7791 | INR Seven Thousand Seven Hundred & Ninety One Only | 11.12 | For thickness of tiles 10 mm to 25 mm | item no.116 | 162 | sqm
11.13 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead. | item no.117 | 8.06 | cum | 571.94 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4610 | 4610 | INR Four Thousand Six Hundred & Ten Only | 11.13 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead. | item no.117 | 8.06 | cum
11.14 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.118 | 11.1 | sqm | 34.19 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 380 | 380 | INR Three Hundred & Eighty Only | 11.14 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.118 | 11.1 | sqm
11.15 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.119 | 43 | cum | 121.74 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5235 | 5235 | INR Five Thousand Two Hundred & Thirty Five Only | 11.15 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.119 | 43 | cum
12 | SANITARY INSTALLATIONS | item no.120 | [52 empty] | 12 | SANITARY INSTALLATIONS | item no.120
12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.121 | [52 empty] | 12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.121
12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.122 | 1 | each | 4753.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4754 | 4754 | INR Four Thousand Seven Hundred & Fifty Four Only | 12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.122 | 1 | each
12.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.123 | [52 empty] | 12.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.123
12.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.124 | 1 | each | 4612.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4613 | 4613 | INR Four Thousand Six Hundred & Thirteen Only | 12.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.124 | 1 | each
12.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.125 | 2 | each | 774.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1549 | 1549 | INR One Thousand Five Hundred & Forty Nine Only | 12.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.125 | 2 | each
12.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.126 | 2 | each | 5360.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10721 | 10721 | INR Ten Thousand Seven Hundred & Twenty One Only | 12.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.126 | 2 | each
12.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.127 | [52 empty] | 12.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.127
12.08 | Flat back wash basin of size 550x400 mm | item no.128 | 2 | each | 787.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1576 | 1576 | INR One Thousand Five Hundred & Seventy Six Only | 12.08 | Flat back wash basin of size 550x400 mm | item no.128 | 2 | each
12.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.129 | 2 | each | 1124.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2250 | 2250 | INR Two Thousand Two Hundred & Fifty Only | 12.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.129 | 2 | each
13 | WATER SUPPLY | item no.130 | [52 empty] | 13 | WATER SUPPLY | item no.130
13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.131 | [52 empty] | 13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.131
13.02 | 15 mm dia nominal bore | item no.132 | 0.95 | metre | 249.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 237 | 237 | INR Two Hundred & Thirty Seven Only | 13.02 | 15 mm dia nominal bore | item no.132 | 0.95 | metre
13.03 | 20 mm dia nominal bore | item no.133 | 41.15 | metre | 301.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12415 | 12415 | INR Twelve Thousand Four Hundred & Fifteen Only | 13.03 | 20 mm dia nominal bore | item no.133 | 41.15 | metre
13.04 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.134 | [52 empty] | 13.04 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.134
13.05 | 15 mm dia nominal bore | item no.135 | 11.3 | metre | 214.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2419 | 2419 | INR Two Thousand Four Hundred & Nineteen Only | 13.05 | 15 mm dia nominal bore | item no.135 | 11.3 | metre
13.06 | 20 mm dia nominal bore | item no.136 | 55.75 | metre | 248.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13872 | 13872 | INR Thirteen Thousand Eight Hundred & Seventy Two Only | 13.06 | 20 mm dia nominal bore | item no.136 | 55.75 | metre
13.07 | 25 mm dia nominal bore | item no.137 | 19.7 | metre | 319.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6297 | 6297 | INR Six Thousand Two Hundred & Ninety Seven Only | 13.07 | 25 mm dia nominal bore | item no.137 | 19.7 | metre
13.08 | 32 mm dia nominal bore | item no.138 | 1.75 | metre | 372.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 652 | 652 | INR Six Hundred & Fifty Two Only | 13.08 | 32 mm dia nominal bore | item no.138 | 1.75 | metre
13.09 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.139 | [52 empty] | 13.09 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.139
13.1 | 25 mm nominal bore | item no.140 | 1 | each | 435.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 436 | 436 | INR Four Hundred & Thirty Six Only | 13.1 | 25 mm nominal bore | item no.140 | 1 | each
13.11 | 20 mm nominal bore | item no.141 | 6 | each | 403.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2421 | 2421 | INR Two Thousand Four Hundred & Twenty One Only | 13.11 | 20 mm nominal bore | item no.141 | 6 | each
13.12 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | item no.142 | [52 empty] | 13.12 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | item no.142
13.13 | 20 mm nominal bore | item no.143 | 1 | each | 338.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 339 | 339 | INR Three Hundred & Thirty Nine Only | 13.13 | 20 mm nominal bore | item no.143 | 1 | each
13.14 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.144 | [52 empty] | 13.14 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.144
13.15 | 45 cm length | item no.145 | [52 empty] | 13.15 | 45 cm length | item no.145
13.16 | 15 mm nominal bore | item no.146 | 8 | each | 72.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 582 | 582 | INR Five Hundred & Eighty Two Only | 13.16 | 15 mm nominal bore | item no.146 | 8 | each
13.17 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.147 | [52 empty] | 13.17 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.147
13.18 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.148 | 3 | each | 1387.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4163 | 4163 | INR Four Thousand One Hundred & Sixty Three Only | 13.18 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.148 | 3 | each
13.19 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | item no.149 | [52 empty] | 13.19 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | item no.149
13.2 | 15 mm diameter pipe | item no.150 | 12.25 | metre | 8.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100 | 100 | INR One Hundred Only | 13.2 | 15 mm diameter pipe | item no.150 | 12.25 | metre
13.21 | 20 mm diameter pipe | item no.151 | 98 | metre | 9.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 954 | 954 | INR Nine Hundred & Fifty Four Only | 13.21 | 20 mm diameter pipe | item no.151 | 98 | metre
13.22 | 25 mm diameter pipe | item no.152 | 19.8 | metre | 12.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 246 | 246 | INR Two Hundred & Forty Six Only | 13.22 | 25 mm diameter pipe | item no.152 | 19.8 | metre
13.23 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | item no.153 | [52 empty] | 13.23 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | item no.153
13.24 | 15 mm diameter pipe | item no.154 | 11.3 | metre | 125.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1413 | 1413 | INR One Thousand Four Hundred & Thirteen Only | 13.24 | 15 mm diameter pipe | item no.154 | 11.3 | metre
13.25 | 20 mm diameter pipe | item no.155 | 55.75 | metre | 126.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7066 | 7066 | INR Seven Thousand &Sixty Six Only | 13.25 | 20 mm diameter pipe | item no.155 | 55.75 | metre
13.26 | 25 mm diameter pipe | item no.156 | 19.8 | metre | 130.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2576 | 2576 | INR Two Thousand Five Hundred & Seventy Six Only | 13.26 | 25 mm diameter pipe | item no.156 | 19.8 | metre
13.27 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.157 | [52 empty] | 13.27 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.157
13.28 | 15 mm nominal bore | item no.158 | 1 | each | 206.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 207 | 207 | INR Two Hundred & Seven Only | 13.28 | 15 mm nominal bore | item no.158 | 1 | each
13.29 | 20 mm nominal bore | item no.159 | 6 | each | 228.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1374 | 1374 | INR One Thousand Three Hundred & Seventy Four Only | 13.29 | 20 mm nominal bore | item no.159 | 6 | each
13.3 | 25 mm nominal bore | item no.160 | 1 | each | 298.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298 | 298 | INR Two Hundred & Ninety Eight Only | 13.3 | 25 mm nominal bore | item no.160 | 1 | each
13.31 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | item no.161 | 750 | per litre | 7.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5783 | 5783 | INR Five Thousand Seven Hundred & Eighty Three Only | 13.31 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | item no.161 | 750 | per litre
13.32 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.162 | [52 empty] | 13.32 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.162
13.33 | 15 mm nominal bore | item no.163 | 3 | each | 367.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1102 | 1102 | INR One Thousand One Hundred & Two Only | 13.33 | 15 mm nominal bore | item no.163 | 3 | each
13.34 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.164 | [52 empty] | 13.34 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.164
13.35 | 15 mm nominal bore | item no.165 | 1 | each | 484.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 484 | 484 | INR Four Hundred & Eighty Four Only | 13.35 | 15 mm nominal bore | item no.165 | 1 | each
13.36 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.166 | [52 empty] | 13.36 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.166
13.37 | 15mm nominal bore | item no.167 | 12 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5598 | 5598 | INR Five Thousand Five Hundred & Ninety Eight Only | 13.37 | 15mm nominal bore | item no.167 | 12 | each
13.38 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.168 | 10 | each | 53.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 537 | 537 | INR Five Hundred & Thirty Seven Only | 13.38 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.168 | 10 | each
13.39 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.169 | [52 empty] | 13.39 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.169
13.4 | With common burnt clay F.P.S. (non modular) bricks | item no.170 | 3 | each | 286.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 861 | 861 | INR Eight Hundred & Sixty One Only | 13.4 | With common burnt clay F.P.S. (non modular) bricks | item no.170 | 3 | each
14 | WATER PROOFING | item no.171 | [52 empty] | 14 | WATER PROOFING | item no.171
14.01 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.172 | [52 empty] | 14.01 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.172
14.02 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.173 | 178 | sqm | 1226.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 218265 | 218265 | INR Two Lakh Eighteen Thousand Two Hundred & Sixty Five Only | 14.02 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.173 | 178 | sqm
14.03 | Grading roof for water proofing treatment with | item no.174 | [52 empty] | 14.03 | Grading roof for water proofing treatment with | item no.174
14.04 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | item no.175 | 2.4 | cum | 6071.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14572 | 14572 | INR Fourteen Thousand Five Hundred & Seventy Two Only | 14.04 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | item no.175 | 2.4 | cum
14.05 | R.C.C Surface cleaning with wire brush and water. | item no.176 | 167.6 | Sqm | 11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1844 | 1844 | INR One Thousand Eight Hundred & Forty Four Only | 14.05 | R.C.C Surface cleaning with wire brush and water. | item no.176 | 167.6 | Sqm
15 | Minor Civil Maintenance work | item no.177 | [52 empty] | 15 | Minor Civil Maintenance work | item no.177
15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.178 | 1.43 | Cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7067 | 7067 | INR Seven Thousand &Sixty Seven Only | 15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.178 | 1.43 | Cum
15.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.179 | 2 | Each | 422.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 845 | 845 | INR Eight Hundred & Forty Five Only | 15.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.179 | 2 | Each
15.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.180 | 8 | Each | 58.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 469 | 469 | INR Four Hundred & Sixty Nine Only | 15.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.180 | 8 | Each
15.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.181 | 17 | Each | 29.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 498 | 498 | INR Four Hundred & Ninety Eight Only | 15.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.181 | 17 | Each
15.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.182 | 2 | Each | 504.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1009 | 1009 | INR One Thousand &Nine Only | 15.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.182 | 2 | Each
15.06 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | item no.183 | 1.89 | Sqm | 1945.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3677 | 3677 | INR Three Thousand Six Hundred & Seventy Seven Only | 15.06 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | item no.183 | 1.89 | Sqm
15.07 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.184 | 1 | Each | 293.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293 | 293 | INR Two Hundred & Ninety Three Only | 15.07 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.184 | 1 | Each
15.08 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.185 | 2 | Each | 2053.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4106 | 4106 | INR Four Thousand One Hundred & Six Only | 15.08 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.185 | 2 | Each
15.09 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.186 | 2 | Each | 1483.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2968 | 2968 | INR Two Thousand Nine Hundred & Sixty Eight Only | 15.09 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.186 | 2 | Each
15.1 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.187 | 4 | metre | 181.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 727 | 727 | INR Seven Hundred & Twenty Seven Only | 15.1 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.187 | 4 | metre
15.11 | Providing and fixing of "I hook" of with ISI marked M.S. pressed butt hinges bright finished of required size. | item no.188 | 15 | each | 32.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 492 | 492 | INR Four Hundred & Ninety Two Only | 15.11 | Providing and fixing of "I hook" of with ISI marked M.S. pressed butt hinges bright finished of required size. | item no.188 | 15 | each
15.12 | Providing and fixing brass water meter of approved quality . 25 mm nominal bore (Detail of cost of one nos.) | item no.189 | 1 | each | 2495.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2495 | 2495 | INR Two Thousand Four Hundred & Ninety Five Only | 15.12 | Providing and fixing brass water meter of approved quality . 25 mm nominal bore (Detail of cost of one nos.) | item no.189 | 1 | each
Total in Figures | [51 empty] | 860670 | 860670 | Eight Lakh Sixty Thousand Six Hundred & Seventy Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K190: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K191: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K192: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K193: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K194: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K195: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K196: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K197: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K198: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K199: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K200: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K201: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information