## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house no 355.
Contract No: 17/Civil/D2/2021-22/04
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CARRIAGE OF MATERIALS | item no.1 | [52 empty] | 1 | CARRIAGE OF MATERIALS | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 12.2 | cum | 104.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1279 | 1279 | INR One Thousand Two Hundred & Seventy Nine Only | 1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 12.2 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | EARTH WORK | item no.4 | [52 empty] | 2 | EARTH WORK | item no.4
2.01 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.5 | 3.48 | cum | 1712.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5959 | 5959 | INR Five Thousand Nine Hundred & Fifty Nine Only | 2.01 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.5 | 3.48 | cum
2.02 | Supplying chemical emulsion in sealed containers including delivery as specified. | item no.6 | [52 empty] | 2.02 | Supplying chemical emulsion in sealed containers including delivery as specified. | item no.6
2.03 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.7 | 20 | litre | 176.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3522 | 3522 | INR Three Thousand Five Hundred & Twenty Two Only | 2.03 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.7 | 20 | litre
3 | CONCRETE WORK | item no.8 | [52 empty] | 3 | CONCRETE WORK | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.9 | [52 empty] | 3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.9
3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.10 | 0.26 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1548 | 1548 | INR One Thousand Five Hundred & Forty Eight Only | 3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.10 | 0.26 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.11 | [52 empty] | 3.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.04 | Foundations, footings, bases for columns | item no.12 | 0.75 | sqm | 249.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 187 | 187 | INR One Hundred & Eighty Seven Only | 3.04 | Foundations, footings, bases for columns | item no.12 | 0.75 | sqm
3.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.13 | 0.54 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 291 | 291 | INR Two Hundred & Ninety One Only | 3.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.13 | 0.54 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | REINFORCED CEMENT CONCRETE | item no.14 | [52 empty] | 4 | REINFORCED CEMENT CONCRETE | item no.14
4.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.15 | 0.2 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1712 | 1712 | INR One Thousand Seven Hundred & Twelve Only | 4.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.15 | 0.2 | cum
4.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.16 | [52 empty] | 4.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.16
4.03 | Shelves (Cast in situ) | item no.17 | 3.78 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2297 | 2297 | INR Two Thousand Two Hundred & Ninety Seven Only | 4.03 | Shelves (Cast in situ) | item no.17 | 3.78 | sqm
4.04 | Steel reinforcement for R.C.C. work ready to use "cut and bend" rebars of approved make from factory/workshop to construction site including placing in position and binding all complete upto plinth level. | item no.18 | [52 empty] | 4.04 | Steel reinforcement for R.C.C. work ready to use "cut and bend" rebars of approved make from factory/workshop to construction site including placing in position and binding all complete upto plinth level. | item no.18
4.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.19 | 33 | kg | 68.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2247 | 2247 | INR Two Thousand Two Hundred & Forty Seven Only | 4.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.19 | 33 | kg
5 | MASONRY WORK | item no.20 | [52 empty] | 5 | MASONRY WORK | item no.20
5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.21 | [52 empty] | 5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.21
5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.22 | 0.14 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 932 | 932 | INR Nine Hundred & Thirty Two Only | 5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.22 | 0.14 | cum
5.03 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.23 | 0.95 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43 | 43 | INR Forty Three Only | 5.03 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.23 | 0.95 | metre
6 | CLADDING WORK | item no.24 | [52 empty] | 6 | CLADDING WORK | item no.24
6.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.25 | [52 empty] | 6.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.25
6.02 | Granite of any colour and shade | item no.26 | [52 empty] | 6.02 | Granite of any colour and shade | item no.26
6.03 | Area of slab over 0.50 sqm | item no.27 | 2.95 | sqm | 3513.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10366 | 10366 | INR Ten Thousand Three Hundred & Sixty Six Only | 6.03 | Area of slab over 0.50 sqm | item no.27 | 2.95 | sqm
6.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.28 | 45 | sqm | 903.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40652 | 40652 | INR Forty Thousand Six Hundred & Fifty Two Only | 6.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.28 | 45 | sqm
7 | WOOD AND PVC WORK | item no.29 | [52 empty] | 7 | WOOD AND PVC WORK | item no.29
7.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.30 | [52 empty] | 7.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.30
7.02 | Sal wood | item no.31 | 0.25 | cum | 92351.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23088 | 23088 | INR Twenty Three Thousand &Eighty Eight Only | 7.02 | Sal wood | item no.31 | 0.25 | cum
7.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.32 | [52 empty] | 7.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.32
7.04 | Second class teak wood | item no.33 | [52 empty] | 7.04 | Second class teak wood | item no.33
7.05 | 35 mm thick | item no.34 | 4 | sqm | 3817.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15270 | 15270 | INR Fifteen Thousand Two Hundred & Seventy Only | 7.05 | 35 mm thick | item no.34 | 4 | sqm
7.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.35 | [52 empty] | 7.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.35
7.07 | 250x16 mm | item no.36 | 2 | each | 149.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298 | 298 | INR Two Hundred & Ninety Eight Only | 7.07 | 250x16 mm | item no.36 | 2 | each
7.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.37 | [52 empty] | 7.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.37
7.09 | 200x10 mm | item no.38 | 1 | each | 53.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53 | 53 | INR Fifty Three Only | 7.09 | 200x10 mm | item no.38 | 1 | each
7.1 | 150x10 mm | item no.39 | 1 | each | 46.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46 | 46 | INR Forty Six Only | 7.1 | 150x10 mm | item no.39 | 1 | each
7.11 | 100x10 mm | item no.40 | 16 | each | 33.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 543 | 543 | INR Five Hundred & Forty Three Only | 7.11 | 100x10 mm | item no.40 | 16 | each
7.12 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.41 | [52 empty] | 7.12 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.41
7.13 | 125 mm | item no.42 | 2 | each | 30.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61 | 61 | INR Sixty One Only | 7.13 | 125 mm | item no.42 | 2 | each
7.14 | 100 mm | item no.43 | 10 | each | 24.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 245 | 245 | INR Two Hundred & Forty Five Only | 7.14 | 100 mm | item no.43 | 10 | each
7.15 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.44 | [52 empty] | 7.15 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.44
7.16 | 250x16 mm | item no.45 | 2 | each | 203.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 406 | 406 | INR Four Hundred & Six Only | 7.16 | 250x16 mm | item no.45 | 2 | each
7.17 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.46 | [52 empty] | 7.17 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.46
7.18 | 200x10 mm | item no.47 | 6 | each | 78.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 473 | 473 | INR Four Hundred & Seventy Three Only | 7.18 | 200x10 mm | item no.47 | 6 | each
7.19 | 150x10 mm | item no.48 | 21 | each | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1381 | 1381 | INR One Thousand Three Hundred & Eighty One Only | 7.19 | 150x10 mm | item no.48 | 21 | each
7.2 | 100x10 mm | item no.49 | 29 | each | 50.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1478 | 1478 | INR One Thousand Four Hundred & Seventy Eight Only | 7.2 | 100x10 mm | item no.49 | 29 | each
7.21 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.50 | [52 empty] | 7.21 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.50
7.22 | 100 mm | item no.51 | 33 | each | 46.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1529 | 1529 | INR One Thousand Five Hundred & Twenty Nine Only | 7.22 | 100 mm | item no.51 | 33 | each
7.23 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.52 | [52 empty] | 7.23 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.52
7.24 | Twin rubber stopper | item no.53 | 7 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 381 | 381 | INR Three Hundred & Eighty One Only | 7.24 | Twin rubber stopper | item no.53 | 7 | each
7.25 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | item no.54 | [52 empty] | 7.25 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | item no.54
7.26 | Extruded section profile size 48x40 mm | item no.55 | 10 | metre | 194.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1943 | 1943 | INR One Thousand Nine Hundred & Forty Three Only | 7.26 | Extruded section profile size 48x40 mm | item no.55 | 10 | metre
7.27 | Providing and fixing to existing door frames. | item no.56 | [52 empty] | 7.27 | Providing and fixing to existing door frames. | item no.56
7.28 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | item no.57 | 3.2 | sqm | 1543.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4940 | 4940 | INR Four Thousand Nine Hundred & Forty Only | 7.28 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | item no.57 | 3.2 | sqm
7.29 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | item no.58 | [52 empty] | 7.29 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | item no.58
7.3 | 35 mm thick shutters | item no.59 | [52 empty] | 7.3 | 35 mm thick shutters | item no.59
7.31 | with ISI marked M.S. pressed butt hinges bright finished of required size | item no.60 | [52 empty] | 7.31 | with ISI marked M.S. pressed butt hinges bright finished of required size | item no.60
7.32 | Second class teak wood | item no.61 | 13.7 | sqm | 3816.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52280 | 52280 | INR Fifty Two Thousand Two Hundred & Eighty Only | 7.32 | Second class teak wood | item no.61 | 13.7 | sqm
8 | STEEL WORK | item no.62 | [52 empty] | 8 | STEEL WORK | item no.62
8.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.63 | 19 | kg | 89.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1695 | 1695 | INR One Thousand Six Hundred & Ninety Five Only | 8.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.63 | 19 | kg
9 | FLOORING | item no.64 | [52 empty] | 9 | FLOORING | item no.64
9.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.65 | [52 empty] | 9.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.65
9.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.66 | 41 | sqm | 436.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17915 | 17915 | INR Seventeen Thousand Nine Hundred & Fifteen Only | 9.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.66 | 41 | sqm
9.03 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.67 | 10.33 | sqm | 954.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9858 | 9858 | INR Nine Thousand Eight Hundred & Fifty Eight Only | 9.03 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.67 | 10.33 | sqm
9.04 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.68 | [52 empty] | 9.04 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.68
9.05 | Size of Tile 600x600 mm | item no.69 | 87.5 | sqm | 1315.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 115123 | 115123 | INR One Lakh Fifteen Thousand One Hundred & Twenty Three Only | 9.05 | Size of Tile 600x600 mm | item no.69 | 87.5 | sqm
9.06 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.70 | [52 empty] | 9.06 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.70
9.07 | Size of Tile 600x600 mm | item no.71 | 8.5 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11521 | 11521 | INR Eleven Thousand Five Hundred & Twenty One Only | 9.07 | Size of Tile 600x600 mm | item no.71 | 8.5 | sqm
10 | FINISHING | item no.72 | [52 empty] | 10 | FINISHING | item no.72
10.01 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.73 | [52 empty] | 10.01 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.73
10.02 | 1:6 (1 cement: 6 coarse sand) | item no.74 | 5 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1332 | 1332 | INR One Thousand Three Hundred & Thirty Two Only | 10.02 | 1:6 (1 cement: 6 coarse sand) | item no.74 | 5 | sqm
10.03 | 6 mm cement plaster of mix : | item no.75 | [52 empty] | 10.03 | 6 mm cement plaster of mix : | item no.75
10.04 | 1:3 (1 cement : 3 fine sand) | item no.76 | 3 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 598 | 598 | INR Five Hundred & Ninety Eight Only | 10.04 | 1:3 (1 cement : 3 fine sand) | item no.76 | 3 | sqm
10.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.77 | [52 empty] | 10.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.77
10.06 | Two or more coats on new work | item no.78 | 143 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10927 | 10927 | INR Ten Thousand Nine Hundred & Twenty Seven Only | 10.06 | Two or more coats on new work | item no.78 | 143 | sqm
10.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.79 | [52 empty] | 10.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.79
10.08 | Two or more coats on new work | item no.80 | 1 | sqm | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 107 | 107 | INR One Hundred & Seven Only | 10.08 | Two or more coats on new work | item no.80 | 1 | sqm
10.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.81 | [52 empty] | 10.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.81
10.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.82 | 33.1 | sqm | 155.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5141 | 5141 | INR Five Thousand One Hundred & Forty One Only | 10.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.82 | 33.1 | sqm
10.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.83 | 143 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14437 | 14437 | INR Fourteen Thousand Four Hundred & Thirty Seven Only | 10.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.83 | 143 | sqm
10.12 | White washing with lime to give an even shade : | item no.84 | [52 empty] | 10.12 | White washing with lime to give an even shade : | item no.84
10.13 | Old work (two or more coats) | item no.85 | 97 | sqm | 14.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1424 | 1424 | INR One Thousand Four Hundred & Twenty Four Only | 10.13 | Old work (two or more coats) | item no.85 | 97 | sqm
10.14 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.86 | 97 | sqm | 12.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1208 | 1208 | INR One Thousand Two Hundred & Eight Only | 10.14 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.86 | 97 | sqm
10.15 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.87 | [52 empty] | 10.15 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.87
10.16 | Old work (one or more coats) | item no.88 | 138 | sqm | 47.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6570 | 6570 | INR Six Thousand Five Hundred & Seventy Only | 10.16 | Old work (one or more coats) | item no.88 | 138 | sqm
10.17 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.89 | 143 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2288 | 2288 | INR Two Thousand Two Hundred & Eighty Eight Only | 10.17 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.89 | 143 | sqm
10.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.90 | [52 empty] | 10.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.90
10.19 | One or more coats on old work | item no.91 | 65 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4557 | 4557 | INR Four Thousand Five Hundred & Fifty Seven Only | 10.19 | One or more coats on old work | item no.91 | 65 | sqm
11 | REPAIRS TO BUILDING | item no.92 | [52 empty] | 11 | REPAIRS TO BUILDING | item no.92
11.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.93 | [52 empty] | 11.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.93
11.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.94 | 13 | sqm | 376.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4897 | 4897 | INR Four Thousand Eight Hundred & Ninety Seven Only | 11.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.94 | 13 | sqm
11.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.95 | [52 empty] | 11.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.95
11.04 | Window chowkhats | item no.96 | 4 | each | 753.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3012 | 3012 | INR Three Thousand &Twelve Only | 11.04 | Window chowkhats | item no.96 | 4 | each
11.05 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.97 | 40 | sqm | 2.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88 | 88 | INR Eighty Eight Only | 11.05 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.97 | 40 | sqm
11.06 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.98 | 7 | each | 261.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1828 | 1828 | INR One Thousand Eight Hundred & Twenty Eight Only | 11.06 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.98 | 7 | each
12 | DISMANTLING AND DEMOLISHING | item no.99 | [52 empty] | 12 | DISMANTLING AND DEMOLISHING | item no.99
12.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.100 | [52 empty] | 12.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.100
12.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.101 | 3.9 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5941 | 5941 | INR Five Thousand Nine Hundred & Forty One Only | 12.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.101 | 3.9 | cum
12.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.102 | 9.7 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9124 | 9124 | INR Nine Thousand One Hundred & Twenty Four Only | 12.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.102 | 9.7 | cum
12.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.103 | 0.4 | cum | 2222.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 889 | 889 | INR Eight Hundred & Eighty Nine Only | 12.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.103 | 0.4 | cum
12.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.104 | [52 empty] | 12.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.104
12.06 | In cement mortar | item no.105 | 0.15 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 193 | 193 | INR One Hundred & Ninety Three Only | 12.06 | In cement mortar | item no.105 | 0.15 | cum
12.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.106 | [52 empty] | 12.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.106
12.08 | Of area 3 sq. metres and below | item no.107 | 7 | each | 240.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1685 | 1685 | INR One Thousand Six Hundred & Eighty Five Only | 12.08 | Of area 3 sq. metres and below | item no.107 | 7 | each
12.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.108 | [52 empty] | 12.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.108
12.1 | Of area 3 sq. metres and below | item no.109 | 4 | each | 93.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 374 | 374 | INR Three Hundred & Seventy Four Only | 12.1 | Of area 3 sq. metres and below | item no.109 | 4 | each
12.11 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.110 | 61 | sqm | 34.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2086 | 2086 | INR Two Thousand &Eighty Six Only | 12.11 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.110 | 61 | sqm
13 | SANITARY INSTALLATIONS | item no.111 | [52 empty] | 13 | SANITARY INSTALLATIONS | item no.111
13.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.112 | [52 empty] | 13.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.112
13.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.113 | 1 | each | 4753.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4754 | 4754 | INR Four Thousand Seven Hundred & Fifty Four Only | 13.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.113 | 1 | each
13.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.114 | [52 empty] | 13.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.114
13.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.115 | 1 | each | 4612.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4613 | 4613 | INR Four Thousand Six Hundred & Thirteen Only | 13.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.115 | 1 | each
13.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.116 | 2 | each | 774.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1549 | 1549 | INR One Thousand Five Hundred & Forty Nine Only | 13.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.116 | 2 | each
13.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.117 | 2 | each | 5360.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10721 | 10721 | INR Ten Thousand Seven Hundred & Twenty One Only | 13.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.117 | 2 | each
13.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.118 | [52 empty] | 13.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.118
13.08 | Flat back wash basin of size 550x400 mm | item no.119 | 2 | each | 787.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1576 | 1576 | INR One Thousand Five Hundred & Seventy Six Only | 13.08 | Flat back wash basin of size 550x400 mm | item no.119 | 2 | each
13.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.120 | 2 | each | 1124.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2250 | 2250 | INR Two Thousand Two Hundred & Fifty Only | 13.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.120 | 2 | each
13.1 | Providing and fixing soil, waste and vent pipes : | item no.121 | [52 empty] | 13.1 | Providing and fixing soil, waste and vent pipes : | item no.121
13.11 | 100 mm dia | item no.122 | [52 empty] | 13.11 | 100 mm dia | item no.122
13.12 | Sand cast iron S&S pipe as per IS: 1729 | item no.123 | 5 | metre | 883.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4420 | 4420 | INR Four Thousand Four Hundred & Twenty Only | 13.12 | Sand cast iron S&S pipe as per IS: 1729 | item no.123 | 5 | metre
13.13 | 75 mm diameter : | item no.124 | [52 empty] | 13.13 | 75 mm diameter : | item no.124
13.14 | Sand cast iron S&S pipe as per IS: 1729 | item no.125 | 3 | metre | 809.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2429 | 2429 | INR Two Thousand Four Hundred & Twenty Nine Only | 13.14 | Sand cast iron S&S pipe as per IS: 1729 | item no.125 | 3 | metre
13.15 | Providing and fixing plain bend of required degree. | item no.126 | [52 empty] | 13.15 | Providing and fixing plain bend of required degree. | item no.126
13.16 | 100 mm dia | item no.127 | [52 empty] | 13.16 | 100 mm dia | item no.127
13.17 | Sand cast iron S&S as per IS - 1729 | item no.128 | 3 | each | 334.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1003 | 1003 | INR One Thousand &Three Only | 13.17 | Sand cast iron S&S as per IS - 1729 | item no.128 | 3 | each
13.18 | Providing and fixing collar : | item no.129 | [52 empty] | 13.18 | Providing and fixing collar : | item no.129
13.19 | 100 mm | item no.130 | [52 empty] | 13.19 | 100 mm | item no.130
13.2 | Sand cast iron S&S as per IS - 1729 | item no.131 | 2 | each | 320.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 641 | 641 | INR Six Hundred & Forty One Only | 13.2 | Sand cast iron S&S as per IS - 1729 | item no.131 | 2 | each
13.21 | 75 mm | item no.132 | [52 empty] | 13.21 | 75 mm | item no.132
13.22 | Sand cast iron S&S as per IS - 1729 | item no.133 | 2 | each | 232.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 466 | 466 | INR Four Hundred & Sixty Six Only | 13.22 | Sand cast iron S&S as per IS - 1729 | item no.133 | 2 | each
13.23 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.134 | [52 empty] | 13.23 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.134
13.24 | 100 mm | item no.135 | 6 | each | 422.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2533 | 2533 | INR Two Thousand Five Hundred & Thirty Three Only | 13.24 | 100 mm | item no.135 | 6 | each
13.25 | 75 mm | item no.136 | 4 | each | 357.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1431 | 1431 | INR One Thousand Four Hundred & Thirty One Only | 13.25 | 75 mm | item no.136 | 4 | each
13.26 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.137 | [52 empty] | 13.26 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.137
13.27 | 100 mm inlet and 100 mm outlet | item no.138 | [52 empty] | 13.27 | 100 mm inlet and 100 mm outlet | item no.138
13.28 | Sand Cast Iron S&S as per IS: 1729 | item no.139 | 1 | each | 1116.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1116 | 1116 | INR One Thousand One Hundred & Sixteen Only | 13.28 | Sand Cast Iron S&S as per IS: 1729 | item no.139 | 1 | each
13.29 | 100 mm inlet and 75 mm outlet | item no.140 | [52 empty] | 13.29 | 100 mm inlet and 75 mm outlet | item no.140
13.3 | Sand Cast Iron S&S as per IS- 1729 | item no.141 | 3 | each | 1054.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3162 | 3162 | INR Three Thousand One Hundred & Sixty Two Only | 13.3 | Sand Cast Iron S&S as per IS- 1729 | item no.141 | 3 | each
14 | WATER SUPPLY | item no.142 | [52 empty] | 14 | WATER SUPPLY | item no.142
14.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.143 | [52 empty] | 14.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.143
14.02 | 20 mm dia nominal bore | item no.144 | 1 | metre | 301.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 302 | 302 | INR Three Hundred & Two Only | 14.02 | 20 mm dia nominal bore | item no.144 | 1 | metre
14.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.145 | [52 empty] | 14.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.145
14.04 | 15 mm dia nominal bore | item no.146 | 30 | metre | 392.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11774 | 11774 | INR Eleven Thousand Seven Hundred & Seventy Four Only | 14.04 | 15 mm dia nominal bore | item no.146 | 30 | metre
14.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.147 | [52 empty] | 14.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.147
14.06 | 32 mm dia nominal bore | item no.148 | 2.1 | metre | 372.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 782 | 782 | INR Seven Hundred & Eighty Two Only | 14.06 | 32 mm dia nominal bore | item no.148 | 2.1 | metre
14.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.149 | [52 empty] | 14.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.149
14.08 | 20 mm nominal bore | item no.150 | 1 | each | 403.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 404 | 404 | INR Four Hundred & Four Only | 14.08 | 20 mm nominal bore | item no.150 | 1 | each
14.09 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.151 | [52 empty] | 14.09 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.151
14.1 | 45 cm length | item no.152 | [52 empty] | 14.1 | 45 cm length | item no.152
14.11 | 15 mm nominal bore | item no.153 | 8 | each | 72.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 582 | 582 | INR Five Hundred & Eighty Two Only | 14.11 | 15 mm nominal bore | item no.153 | 8 | each
14.12 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.154 | [52 empty] | 14.12 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.154
14.13 | 15 mm nominal bore | item no.155 | 2 | each | 206.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 413 | 413 | INR Four Hundred & Thirteen Only | 14.13 | 15 mm nominal bore | item no.155 | 2 | each
14.14 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.156 | [52 empty] | 14.14 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.156
14.15 | 15 mm nominal bore | item no.157 | 3 | each | 367.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1102 | 1102 | INR One Thousand One Hundred & Two Only | 14.15 | 15 mm nominal bore | item no.157 | 3 | each
14.16 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.158 | [52 empty] | 14.16 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.158
14.17 | 15 mm nominal bore | item no.159 | 1 | each | 484.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 484 | 484 | INR Four Hundred & Eighty Four Only | 14.17 | 15 mm nominal bore | item no.159 | 1 | each
14.18 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.160 | [52 empty] | 14.18 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.160
14.19 | 15 mm nominal bore | item no.161 | 4 | each | 531.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2126 | 2126 | INR Two Thousand One Hundred & Twenty Six Only | 14.19 | 15 mm nominal bore | item no.161 | 4 | each
14.2 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.162 | [52 empty] | 14.2 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.162
14.21 | 15mm nominal bore | item no.163 | 12 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5598 | 5598 | INR Five Thousand Five Hundred & Ninety Eight Only | 14.21 | 15mm nominal bore | item no.163 | 12 | each
14.22 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.164 | [52 empty] | 14.22 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.164
14.23 | With common burnt clay F.P.S. (non modular) bricks | item no.165 | 2 | each | 286.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 574 | 574 | INR Five Hundred & Seventy Four Only | 14.23 | With common burnt clay F.P.S. (non modular) bricks | item no.165 | 2 | each
14.24 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.166 | 8.66 | metre | 135.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1170 | 1170 | INR One Thousand One Hundred & Seventy Only | 14.24 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.166 | 8.66 | metre
15 | NEW TECHNOLOGIES AND MATERIALS | item no.167 | [52 empty] | 15 | NEW TECHNOLOGIES AND MATERIALS | item no.167
15.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.168 | [52 empty] | 15.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.168
15.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.169 | 7.08 | sqm | 340.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2412 | 2412 | INR Two Thousand Four Hundred & Twelve Only | 15.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.169 | 7.08 | sqm
16 | MINOR CIVIL MAINTENANCE WORK: | item no.170 | [52 empty] | 16 | MINOR CIVIL MAINTENANCE WORK: | item no.170
16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.171 | 7.5 | Cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37065 | 37065 | INR Thirty Seven Thousand &Sixty Five Only | 16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.171 | 7.5 | Cum
16.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.172 | 2 | Each | 422.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 845 | 845 | INR Eight Hundred & Forty Five Only | 16.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.172 | 2 | Each
16.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.173 | 5 | Each | 58.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293 | 293 | INR Two Hundred & Ninety Three Only | 16.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.173 | 5 | Each
16.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.174 | 17 | Each | 29.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 498 | 498 | INR Four Hundred & Ninety Eight Only | 16.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.174 | 17 | Each
16.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.175 | 2 | Each | 504.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1009 | 1009 | INR One Thousand &Nine Only | 16.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.175 | 2 | Each
16.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | item no.176 | 2 | Each | 281.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 563 | 563 | INR Five Hundred & Sixty Three Only | 16.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | item no.176 | 2 | Each
16.07 | """Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. "" " | item no.177 | 2.02 | sqm | 1945.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3930 | 3930 | INR Three Thousand Nine Hundred & Thirty Only | 16.07 | """Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. "" " | item no.177 | 2.02 | sqm
16.08 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.178 | 45 | sqm | 155.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7011 | 7011 | INR Seven Thousand &Eleven Only | 16.08 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.178 | 45 | sqm
16.09 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.179 | 2 | Each | 2053.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4106 | 4106 | INR Four Thousand One Hundred & Six Only | 16.09 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.179 | 2 | Each
16.1 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.180 | 2 | Each | 1483.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2968 | 2968 | INR Two Thousand Nine Hundred & Sixty Eight Only | 16.1 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.180 | 2 | Each
16.11 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.181 | 2 | metre | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 370 | 370 | INR Three Hundred & Seventy Only | 16.11 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.181 | 2 | metre
16.12 | Providing and fixing of "I hook" of with ISI marked M.S. pressed butt hinges bright finished of required size. | item no.182 | 16 | each | 26.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 417 | 417 | INR Four Hundred & Seventeen Only | 16.12 | Providing and fixing of "I hook" of with ISI marked M.S. pressed butt hinges bright finished of required size. | item no.182 | 16 | each
16.13 | Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. | item no.183 | 1 | One JOb | 99931.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 99932 | 99932 | INR Ninety Nine Thousand Nine Hundred & Thirty Two Only | 16.13 | Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. | item no.183 | 1 | One JOb
Total in Figures | [51 empty] | 639662 | 639662 | Six Lakh Thirty Nine Thousand Six Hundred & Sixty Two Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K183: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K189: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K190: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K191: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K192: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K193: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K194: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K195: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information