## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house no 3010.
Contract No: 19/Civil/D2/2021-22/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CARRIAGE OF MATERIALS | item no.1 | [52 empty] | 1 | CARRIAGE OF MATERIALS | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 2.26 | cum | 104.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 237 | 237 | INR Two Hundred & Thirty Seven Only | 1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 2.26 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CONCRETE WORK | item no.4 | [52 empty] | 2 | CONCRETE WORK | item no.4
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 0.22 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1310 | 1310 | INR One Thousand Three Hundred & Ten Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 0.22 | cum
2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.7 | 0.9 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 485 | 485 | INR Four Hundred & Eighty Five Only | 2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.7 | 0.9 | sqm
3 | REINFORCED CEMENT CONCRETE | item no.8 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.9 | 0.22 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1883 | 1883 | INR One Thousand Eight Hundred & Eighty Three Only | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.9 | 0.22 | cum
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.10 | [52 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | Shelves (Cast in situ) | item no.11 | 3.32 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2017 | 2017 | INR Two Thousand &Seventeen Only | 3.03 | Shelves (Cast in situ) | item no.11 | 3.32 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.04 | Edges of slabs and breaks in floors and walls | item no.12 | [52 empty] | 3.04 | Edges of slabs and breaks in floors and walls | item no.12
3.05 | Under 20 cm wide | item no.13 | 1 | metre | 151.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 152 | 152 | INR One Hundred & Fifty Two Only | 3.05 | Under 20 cm wide | item no.13 | 1 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.14 | [52 empty] | 3.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.14
3.07 | Cold twisted bars | item no.15 | 34.1 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2496 | 2496 | INR Two Thousand Four Hundred & Ninety Six Only | 3.07 | Cold twisted bars | item no.15 | 34.1 | kg
4 | MASONRY WORK | item no.16 | [52 empty] | 4 | MASONRY WORK | item no.16
4.01 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.17 | 2 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91 | 91 | INR Ninety One Only | 4.01 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.17 | 2 | metre
5 | CLADDING WORK | item no.18 | [52 empty] | 5 | CLADDING WORK | item no.18
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19 | [52 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19
5.02 | Granite of any colour and shade | item no.20 | [52 empty] | 5.02 | Granite of any colour and shade | item no.20
5.03 | Area of slab over 0.50 sqm | item no.21 | 2.57 | sqm | 3513.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9031 | 9031 | INR Nine Thousand &Thirty One Only | 5.03 | Area of slab over 0.50 sqm | item no.21 | 2.57 | sqm
5.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.22 | [52 empty] | 5.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.22
5.05 | Granite work | item no.23 | 4.33 | metre | 329.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1428 | 1428 | INR One Thousand Four Hundred & Twenty Eight Only | 5.05 | Granite work | item no.23 | 4.33 | metre
5.06 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.24 | 12.04 | sqm | 903.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10877 | 10877 | INR Ten Thousand Eight Hundred & Seventy Seven Only | 5.06 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.24 | 12.04 | sqm
6 | WOOD AND PVC WORK | item no.25 | [52 empty] | 6 | WOOD AND PVC WORK | item no.25
6.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.26 | [52 empty] | 6.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.26
6.02 | Sal wood | item no.27 | 0.01 | cum | 92351.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 924 | 924 | INR Nine Hundred & Twenty Four Only | 6.02 | Sal wood | item no.27 | 0.01 | cum
6.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.28 | [52 empty] | 6.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.28
6.04 | Second class teak wood | item no.29 | [52 empty] | 6.04 | Second class teak wood | item no.29
6.05 | 35 mm thick | item no.30 | 0.72 | sqm | 3817.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2749 | 2749 | INR Two Thousand Seven Hundred & Forty Nine Only | 6.05 | 35 mm thick | item no.30 | 0.72 | sqm
6.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.31 | [52 empty] | 6.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.31
6.07 | 250x16 mm | item no.32 | 2 | each | 149.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298 | 298 | INR Two Hundred & Ninety Eight Only | 6.07 | 250x16 mm | item no.32 | 2 | each
6.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.33 | [52 empty] | 6.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.33
6.09 | 100x10 mm | item no.34 | 2 | each | 33.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 68 | 68 | INR Sixty Eight Only | 6.09 | 100x10 mm | item no.34 | 2 | each
6.1 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.35 | [52 empty] | 6.1 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.35
6.11 | 100 mm | item no.36 | 4 | each | 24.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 98 | 98 | INR Ninety Eight Only | 6.11 | 100 mm | item no.36 | 4 | each
6.12 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.37 | [52 empty] | 6.12 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.37
6.13 | 250x16 mm | item no.38 | 2 | each | 203.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 406 | 406 | INR Four Hundred & Six Only | 6.13 | 250x16 mm | item no.38 | 2 | each
6.14 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.39 | [52 empty] | 6.14 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.39
6.15 | 150x10 mm | item no.40 | 4 | each | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 263 | 263 | INR Two Hundred & Sixty Three Only | 6.15 | 150x10 mm | item no.40 | 4 | each
6.16 | 100x10 mm | item no.41 | 4 | each | 50.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 204 | 204 | INR Two Hundred & Four Only | 6.16 | 100x10 mm | item no.41 | 4 | each
6.17 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.42 | [52 empty] | 6.17 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.42
6.18 | 125 mm | item no.43 | 2 | each | 52.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 105 | 105 | INR One Hundred & Five Only | 6.18 | 125 mm | item no.43 | 2 | each
6.19 | 100 mm | item no.44 | 2 | each | 46.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93 | 93 | INR Ninety Three Only | 6.19 | 100 mm | item no.44 | 2 | each
6.2 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.45 | [52 empty] | 6.2 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.45
6.21 | Twin rubber stopper | item no.46 | 10 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 544 | 544 | INR Five Hundred & Forty Four Only | 6.21 | Twin rubber stopper | item no.46 | 10 | each
6.22 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | item no.47 | [52 empty] | 6.22 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | item no.47
6.23 | 35 mm thick shutters | item no.48 | [52 empty] | 6.23 | 35 mm thick shutters | item no.48
6.24 | with ISI marked M.S. pressed butt hinges bright finished of required size | item no.49 | [52 empty] | 6.24 | with ISI marked M.S. pressed butt hinges bright finished of required size | item no.49
6.25 | Second class teak wood | item no.50 | 2.72 | sqm | 3816.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10380 | 10380 | INR Ten Thousand Three Hundred & Eighty Only | 6.25 | Second class teak wood | item no.50 | 2.72 | sqm
6.26 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.51 | [52 empty] | 6.26 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.51
6.27 | With 2nd class teak wood beading 62X19 mm | item no.52 | 0.99 | sqm | 1186.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1175 | 1175 | INR One Thousand One Hundred & Seventy Five Only | 6.27 | With 2nd class teak wood beading 62X19 mm | item no.52 | 0.99 | sqm
7 | STEEL WORK | item no.53 | [52 empty] | 7 | STEEL WORK | item no.53
7.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.54 | 220.64 | kg | 89.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19683 | 19683 | INR Nineteen Thousand Six Hundred & Eighty Three Only | 7.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.54 | 220.64 | kg
7.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.55 | [52 empty] | 7.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | item no.55
7.03 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.56 | 1.87 | sqm | 3882.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7261 | 7261 | INR Seven Thousand Two Hundred & Sixty One Only | 7.03 | Using M.S. angels 40x40x6 mm for diagonal braces | item no.56 | 1.87 | sqm
8 | FLOORING | item no.57 | [52 empty] | 8 | FLOORING | item no.57
8.01 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.58 | 10.2 | sqm | 954.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9734 | 9734 | INR Nine Thousand Seven Hundred & Thirty Four Only | 8.01 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.58 | 10.2 | sqm
8.02 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.59 | [52 empty] | 8.02 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.59
8.03 | Size of Tile 600x600 mm | item no.60 | 83.79 | sqm | 1315.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110242 | 110242 | INR One Lakh Ten Thousand Two Hundred & Forty Two Only | 8.03 | Size of Tile 600x600 mm | item no.60 | 83.79 | sqm
8.04 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.61 | [52 empty] | 8.04 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.61
8.05 | Size of Tile 600x600 mm | item no.62 | 12 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16265 | 16265 | INR Sixteen Thousand Two Hundred & Sixty Five Only | 8.05 | Size of Tile 600x600 mm | item no.62 | 12 | sqm
9 | FINISHING | item no.63 | [52 empty] | 9 | FINISHING | item no.63
9.01 | 12 mm cement plaster of mix : | item no.64 | [52 empty] | 9.01 | 12 mm cement plaster of mix : | item no.64
9.02 | 1:6 (1 cement: 6 coarse sand) | item no.65 | 8.21 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1897 | 1897 | INR One Thousand Eight Hundred & Ninety Seven Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | item no.65 | 8.21 | sqm
9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.66 | [52 empty] | 9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.66
9.04 | 1:6 (1 cement: 6 coarse sand) | item no.67 | 3.99 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1063 | 1063 | INR One Thousand &Sixty Three Only | 9.04 | 1:6 (1 cement: 6 coarse sand) | item no.67 | 3.99 | sqm
9.05 | 6 mm cement plaster of mix : | item no.68 | [52 empty] | 9.05 | 6 mm cement plaster of mix : | item no.68
9.06 | 1:3 (1 cement : 3 fine sand) | item no.69 | 3.28 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 654 | 654 | INR Six Hundred & Fifty Four Only | 9.06 | 1:3 (1 cement : 3 fine sand) | item no.69 | 3.28 | sqm
9.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.70 | [52 empty] | 9.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.70
9.08 | Two or more coats on new work | item no.71 | 49.55 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3786 | 3786 | INR Three Thousand Seven Hundred & Eighty Six Only | 9.08 | Two or more coats on new work | item no.71 | 49.55 | sqm
9.09 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.72 | [52 empty] | 9.09 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.72
9.1 | Two or more coats on new work | item no.73 | 3.74 | sqm | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 399 | 399 | INR Three Hundred & Ninety Nine Only | 9.1 | Two or more coats on new work | item no.73 | 3.74 | sqm
9.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.74 | [52 empty] | 9.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.74
9.12 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.75 | 9.4 | sqm | 155.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1460 | 1460 | INR One Thousand Four Hundred & Sixty Only | 9.12 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.75 | 9.4 | sqm
9.13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.76 | 50 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5048 | 5048 | INR Five Thousand &Forty Eight Only | 9.13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.76 | 50 | sqm
9.14 | White washing with lime to give an even shade : | item no.77 | [52 empty] | 9.14 | White washing with lime to give an even shade : | item no.77
9.15 | Old work (two or more coats) | item no.78 | 92 | sqm | 14.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1351 | 1351 | INR One Thousand Three Hundred & Fifty One Only | 9.15 | Old work (two or more coats) | item no.78 | 92 | sqm
9.16 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.79 | 92 | sqm | 12.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1145 | 1145 | INR One Thousand One Hundred & Forty Five Only | 9.16 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.79 | 92 | sqm
9.17 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.80 | [52 empty] | 9.17 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.80
9.18 | Old work (one or more coats) | item no.81 | 218 | sqm | 47.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10379 | 10379 | INR Ten Thousand Three Hundred & Seventy Nine Only | 9.18 | Old work (one or more coats) | item no.81 | 218 | sqm
9.19 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.82 | 50 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 800 | 800 | INR Eight Hundred Only | 9.19 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.82 | 50 | sqm
9.2 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.83 | [52 empty] | 9.2 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.83
9.21 | One or more coats on old work | item no.84 | 87 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6099 | 6099 | INR Six Thousand &Ninety Nine Only | 9.21 | One or more coats on old work | item no.84 | 87 | sqm
9.22 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.85 | [52 empty] | 9.22 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.85
9.23 | Old work (One or more coat applied @ 0.90 ltr/10 sqm). | item no.86 | 17 | sqm | 59.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1004 | 1004 | INR One Thousand &Four Only | 9.23 | Old work (One or more coat applied @ 0.90 ltr/10 sqm). | item no.86 | 17 | sqm
10 | REPAIRS TO BUILDING | item no.87 | [52 empty] | 10 | REPAIRS TO BUILDING | item no.87
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.88 | [52 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.88
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.89 | 12 | sqm | 376.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4520 | 4520 | INR Four Thousand Five Hundred & Twenty Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.89 | 12 | sqm
10.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.90 | [52 empty] | 10.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.90
10.04 | Door chowkhats | item no.91 | 7 | each | 1198.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8389 | 8389 | INR Eight Thousand Three Hundred & Eighty Nine Only | 10.04 | Door chowkhats | item no.91 | 7 | each
10.05 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.92 | [52 empty] | 10.05 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.92
10.06 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.93 | 1.49 | sqm | 780.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1163 | 1163 | INR One Thousand One Hundred & Sixty Three Only | 10.06 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.93 | 1.49 | sqm
10.07 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.94 | 83.79 | sqm | 2.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 184 | 184 | INR One Hundred & Eighty Four Only | 10.07 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.94 | 83.79 | sqm
11 | DISMANTLING AND DEMOLISHING | item no.95 | [52 empty] | 11 | DISMANTLING AND DEMOLISHING | item no.95
11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.96 | [52 empty] | 11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.96
11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.97 | 0.41 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 625 | 625 | INR Six Hundred & Twenty Five Only | 11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.97 | 0.41 | cum
11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.98 | 1.09 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1025 | 1025 | INR One Thousand &Twenty Five Only | 11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.98 | 1.09 | cum
11.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.99 | 0.55 | cum | 2222.44 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1222 | 1222 | INR One Thousand Two Hundred & Twenty Two Only | 11.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.99 | 0.55 | cum
11.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.100 | [52 empty] | 11.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.100
11.06 | In cement mortar | item no.101 | 0.17 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 219 | 219 | INR Two Hundred & Nineteen Only | 11.06 | In cement mortar | item no.101 | 0.17 | cum
11.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.102 | [52 empty] | 11.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.102
11.08 | Of area 3 sq. metres and below | item no.103 | 9 | each | 240.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2166 | 2166 | INR Two Thousand One Hundred & Sixty Six Only | 11.08 | Of area 3 sq. metres and below | item no.103 | 9 | each
11.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.104 | [52 empty] | 11.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.104
11.1 | Of area 3 sq. metres and below | item no.105 | 1 | each | 93.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93 | 93 | INR Ninety Three Only | 11.1 | Of area 3 sq. metres and below | item no.105 | 1 | each
11.11 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.106 | 25.65 | sqm | 34.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 877 | 877 | INR Eight Hundred & Seventy Seven Only | 11.11 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.106 | 25.65 | sqm
12 | SANITARY INSTALLATIONS | item no.107 | [52 empty] | 12 | SANITARY INSTALLATIONS | item no.107
12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.108 | [52 empty] | 12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.108
12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.109 | 1 | each | 4753.61 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4754 | 4754 | INR Four Thousand Seven Hundred & Fifty Four Only | 12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.109 | 1 | each
12.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.110 | [52 empty] | 12.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.110
12.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.111 | 1 | each | 4612.84 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4613 | 4613 | INR Four Thousand Six Hundred & Thirteen Only | 12.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.111 | 1 | each
12.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.112 | 2 | each | 774.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1549 | 1549 | INR One Thousand Five Hundred & Forty Nine Only | 12.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.112 | 2 | each
12.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.113 | 2 | each | 5360.45 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10721 | 10721 | INR Ten Thousand Seven Hundred & Twenty One Only | 12.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.113 | 2 | each
12.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.114 | [52 empty] | 12.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.114
12.08 | Flat back wash basin of size 550x400 mm | item no.115 | 2 | each | 787.9 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1576 | 1576 | INR One Thousand Five Hundred & Seventy Six Only | 12.08 | Flat back wash basin of size 550x400 mm | item no.115 | 2 | each
12.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.116 | 2 | each | 1124.98 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2250 | 2250 | INR Two Thousand Two Hundred & Fifty Only | 12.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.116 | 2 | each
12.1 | Providing and fixing soil, waste and vent pipes : | item no.117 | [52 empty] | 12.1 | Providing and fixing soil, waste and vent pipes : | item no.117
12.11 | 100 mm dia | item no.118 | [52 empty] | 12.11 | 100 mm dia | item no.118
12.12 | Sand cast iron S&S pipe as per IS: 1729 | item no.119 | 0.5 | metre | 883.99 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 442 | 442 | INR Four Hundred & Forty Two Only | 12.12 | Sand cast iron S&S pipe as per IS: 1729 | item no.119 | 0.5 | metre
12.13 | 75 mm diameter : | item no.120 | [52 empty] | 12.13 | 75 mm diameter : | item no.120
12.14 | Sand cast iron S&S pipe as per IS: 1729 | item no.121 | 1 | metre | 809.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 810 | 810 | INR Eight Hundred & Ten Only | 12.14 | Sand cast iron S&S pipe as per IS: 1729 | item no.121 | 1 | metre
12.15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.122 | [52 empty] | 12.15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.122
12.16 | 100 mm dia | item no.123 | [52 empty] | 12.16 | 100 mm dia | item no.123
12.17 | Sand cast iron S&S as per IS - 1729 | item no.124 | 1 | each | 404.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 405 | 405 | INR Four Hundred & Five Only | 12.17 | Sand cast iron S&S as per IS - 1729 | item no.124 | 1 | each
12.18 | 75 mm dia | item no.125 | [52 empty] | 12.18 | 75 mm dia | item no.125
12.19 | Sand cast iron S&S as per IS - 1729 | item no.126 | 1 | each | 325.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 326 | 326 | INR Three Hundred & Twenty Six Only | 12.19 | Sand cast iron S&S as per IS - 1729 | item no.126 | 1 | each
12.2 | Providing and fixing plain bend of required degree. | item no.127 | [52 empty] | 12.2 | Providing and fixing plain bend of required degree. | item no.127
12.21 | 100 mm dia | item no.128 | [52 empty] | 12.21 | 100 mm dia | item no.128
12.22 | Sand cast iron S&S as per IS - 1729 | item no.129 | 1 | each | 334.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 334 | 334 | INR Three Hundred & Thirty Four Only | 12.22 | Sand cast iron S&S as per IS - 1729 | item no.129 | 1 | each
12.23 | Providing and fixing terminal guard : | item no.130 | [52 empty] | 12.23 | Providing and fixing terminal guard : | item no.130
12.24 | 100 mm | item no.131 | [52 empty] | 12.24 | 100 mm | item no.131
12.25 | Sand cast iron S&S as per IS - 1729 | item no.132 | 2 | each | 312.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 624 | 624 | INR Six Hundred & Twenty Four Only | 12.25 | Sand cast iron S&S as per IS - 1729 | item no.132 | 2 | each
12.26 | Providing and fixing collar : | item no.133 | [52 empty] | 12.26 | Providing and fixing collar : | item no.133
12.27 | 100 mm | item no.134 | [52 empty] | 12.27 | 100 mm | item no.134
12.28 | Sand cast iron S&S as per IS - 1729 | item no.135 | 1 | each | 320.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 320 | 320 | INR Three Hundred & Twenty Only | 12.28 | Sand cast iron S&S as per IS - 1729 | item no.135 | 1 | each
12.29 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.136 | [52 empty] | 12.29 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.136
12.3 | 100 mm | item no.137 | 2 | each | 422.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 844 | 844 | INR Eight Hundred & Forty Four Only | 12.3 | 100 mm | item no.137 | 2 | each
12.31 | 75 mm | item no.138 | 1 | each | 357.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 358 | 358 | INR Three Hundred & Fifty Eight Only | 12.31 | 75 mm | item no.138 | 1 | each
12.32 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.139 | [52 empty] | 12.32 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.139
12.33 | 100 mm inlet and 100 mm outlet | item no.140 | [52 empty] | 12.33 | 100 mm inlet and 100 mm outlet | item no.140
12.34 | Sand Cast Iron S&S as per IS: 1729 | item no.141 | 1 | each | 1116.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1116 | 1116 | INR One Thousand One Hundred & Sixteen Only | 12.34 | Sand Cast Iron S&S as per IS: 1729 | item no.141 | 1 | each
12.35 | 100 mm inlet and 75 mm outlet | item no.142 | [52 empty] | 12.35 | 100 mm inlet and 75 mm outlet | item no.142
12.36 | Sand Cast Iron S&S as per IS- 1729 | item no.143 | 1 | each | 1054.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1054 | 1054 | INR One Thousand &Fifty Four Only | 12.36 | Sand Cast Iron S&S as per IS- 1729 | item no.143 | 1 | each
13 | WATER SUPPLY | item no.144 | [52 empty] | 13 | WATER SUPPLY | item no.144
13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.145 | [52 empty] | 13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.145
13.02 | 15 mm dia nominal bore | item no.146 | 2.5 | metre | 249.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 625 | 625 | INR Six Hundred & Twenty Five Only | 13.02 | 15 mm dia nominal bore | item no.146 | 2.5 | metre
13.03 | 20 mm dia nominal bore | item no.147 | 1 | metre | 301.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 302 | 302 | INR Three Hundred & Two Only | 13.03 | 20 mm dia nominal bore | item no.147 | 1 | metre
13.04 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.148 | [52 empty] | 13.04 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.148
13.05 | 15 mm dia nominal bore | item no.149 | 2 | metre | 392.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 785 | 785 | INR Seven Hundred & Eighty Five Only | 13.05 | 15 mm dia nominal bore | item no.149 | 2 | metre
13.06 | 20 mm dia nominal bore | item no.150 | 1 | metre | 433.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 433 | 433 | INR Four Hundred & Thirty Three Only | 13.06 | 20 mm dia nominal bore | item no.150 | 1 | metre
13.07 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.151 | [52 empty] | 13.07 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.151
13.08 | 20 mm dia nominal bore | item no.152 | 5 | metre | 248.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1244 | 1244 | INR One Thousand Two Hundred & Forty Four Only | 13.08 | 20 mm dia nominal bore | item no.152 | 5 | metre
13.09 | 32 mm dia nominal bore | item no.153 | 0.7 | metre | 372.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 261 | 261 | INR Two Hundred & Sixty One Only | 13.09 | 32 mm dia nominal bore | item no.153 | 0.7 | metre
13.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.154 | [52 empty] | 13.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.154
13.11 | 20 mm nominal bore | item no.155 | 1 | each | 403.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 404 | 404 | INR Four Hundred & Four Only | 13.11 | 20 mm nominal bore | item no.155 | 1 | each
13.12 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.156 | [52 empty] | 13.12 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.156
13.13 | 30 cm length | item no.157 | [52 empty] | 13.13 | 30 cm length | item no.157
13.14 | 15 mm nominal bore | item no.158 | 1 | each | 63.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64 | 64 | INR Sixty Four Only | 13.14 | 15 mm nominal bore | item no.158 | 1 | each
13.15 | 45 cm length | item no.159 | [52 empty] | 13.15 | 45 cm length | item no.159
13.16 | 15 mm nominal bore | item no.160 | 7 | each | 72.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 509 | 509 | INR Five Hundred & Nine Only | 13.16 | 15 mm nominal bore | item no.160 | 7 | each
13.17 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.161 | [52 empty] | 13.17 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.161
13.18 | 15 mm nominal bore | item no.162 | 3 | each | 367.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1102 | 1102 | INR One Thousand One Hundred & Two Only | 13.18 | 15 mm nominal bore | item no.162 | 3 | each
13.19 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.163 | [52 empty] | 13.19 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.163
13.2 | 15 mm nominal bore | item no.164 | 1 | each | 542.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 543 | 543 | INR Five Hundred & Forty Three Only | 13.2 | 15 mm nominal bore | item no.164 | 1 | each
13.21 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.165 | [52 empty] | 13.21 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.165
13.22 | 15 mm nominal bore | item no.166 | 1 | each | 484.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 484 | 484 | INR Four Hundred & Eighty Four Only | 13.22 | 15 mm nominal bore | item no.166 | 1 | each
13.23 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.167 | [52 empty] | 13.23 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.167
13.24 | 15mm nominal bore | item no.168 | 12 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5598 | 5598 | INR Five Thousand Five Hundred & Ninety Eight Only | 13.24 | 15mm nominal bore | item no.168 | 12 | each
13.25 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.169 | 1 | each | 302.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 302 | 302 | INR Three Hundred & Two Only | 13.25 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.169 | 1 | each
13.26 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.170 | 6.95 | metre | 135.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 939 | 939 | INR Nine Hundred & Thirty Nine Only | 13.26 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.170 | 6.95 | metre
14 | Minor Civil Maintenance work | item no.171 | [52 empty] | 14 | Minor Civil Maintenance work | item no.171
14.01 | """Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). "" " | item no.172 | 0.994 | cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4912 | 4912 | INR Four Thousand Nine Hundred & Twelve Only | 14.01 | """Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). "" " | item no.172 | 0.994 | cum
14.02 | """P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm."" " | item no.173 | 2 | each | 422.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 845 | 845 | INR Eight Hundred & Forty Five Only | 14.02 | """P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm."" " | item no.173 | 2 | each
14.03 | """Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams."" " | item no.174 | 5 | each | 58.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293 | 293 | INR Two Hundred & Ninety Three Only | 14.03 | """Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams."" " | item no.174 | 5 | each
14.04 | """Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. "" " | item no.175 | 14 | each | 29.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 410 | 410 | INR Four Hundred & Ten Only | 14.04 | """Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. "" " | item no.175 | 14 | each
14.05 | """Providing and fixing C.P Brass shower rose with 15 mm or 20 mm inlet (a) 75 mm dia fancy type. "" " | item no.176 | 2 | each | 504.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1009 | 1009 | INR One Thousand &Nine Only | 14.05 | """Providing and fixing C.P Brass shower rose with 15 mm or 20 mm inlet (a) 75 mm dia fancy type. "" " | item no.176 | 2 | each
14.06 | """Providing and fixing C.P. waste 32 mm dia for wash basin / sink. "" " | item no.177 | 2 | each | 281.45 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 563 | 563 | INR Five Hundred & Sixty Three Only | 14.06 | """Providing and fixing C.P. waste 32 mm dia for wash basin / sink. "" " | item no.177 | 2 | each
14.07 | """Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. "" " | item no.178 | 2 | sqm | 1965.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3931 | 3931 | INR Three Thousand Nine Hundred & Thirty One Only | 14.07 | """Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. "" " | item no.178 | 2 | sqm
14.08 | """Providing and Fixing M.S handle for steel window. "" " | item no.179 | 2 | each | 12.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24 | 24 | INR Twenty Four Only | 14.08 | """Providing and Fixing M.S handle for steel window. "" " | item no.179 | 2 | each
14.09 | "Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. " | item no.180 | 2 | each | 844.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1688 | 1688 | INR One Thousand Six Hundred & Eighty Eight Only | 14.09 | "Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. " | item no.180 | 2 | each
14.1 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.181 | 12 | sqm | 155.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1870 | 1870 | INR One Thousand Eight Hundred & Seventy Only | 14.1 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.181 | 12 | sqm
14.11 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.182 | 2 | Each | 2053.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4106 | 4106 | INR Four Thousand One Hundred & Six Only | 14.11 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.182 | 2 | Each
14.12 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.183 | 2 | each | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 370 | 370 | INR Three Hundred & Seventy Only | 14.12 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.183 | 2 | each
14.13 | Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. With Below Specifications (1)"Everyday/Hettich/Steel Art" Brand Baskets of AISI 304(18/8) in combination of 6mm, 3mm thick wires with bended and raised base wire base in Chrome/Nickel Stainless Steel with Test Certificate for salt spray, resistance to corrosion, stain, scratch and loading capability, Rust Free, Non Magnetic, Extremely Durable (2) Baskets to be used with full extension ball bearing sliding "Hettich/Hafele" Brand telescopic 45 kg capacity. (3) Shutters to be mounted on "Hettich/Hafele" Brand Auto Closing Concealed Hinges . (4) "DMS/ Dynasty/ Indoline" Brand Shutters of 19 mm Mica based Marine Ply Post Form Finished with German Qtr Round Edge and PVC Tape at top and bottom. | item no.184 | 1 | One JOb | 119382.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119383 | 119383 | INR One Lakh Nineteen Thousand Three Hundred & Eighty Three Only | 14.13 | Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. With Below Specifications (1)"Everyday/Hettich/Steel Art" Brand Baskets of AISI 304(18/8) in combination of 6mm, 3mm thick wires with bended and raised base wire base in Chrome/Nickel Stainless Steel with Test Certificate for salt spray, resistance to corrosion, stain, scratch and loading capability, Rust Free, Non Magnetic, Extremely Durable (2) Baskets to be used with full extension ball bearing sliding "Hettich/Hafele" Brand telescopic 45 kg capacity. (3) Shutters to be mounted on "Hettich/Hafele" Brand Auto Closing Concealed Hinges . (4) "DMS/ Dynasty/ Indoline" Brand Shutters of 19 mm Mica based Marine Ply Post Form Finished with German Qtr Round Edge and PVC Tape at top and bottom. | item no.184 | 1 | One JOb
Total in Figures | [51 empty] | 451162 | 451162 | Four Lakh Fifty One Thousand One Hundred & Sixty Two Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K189: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K190: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K191: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K192: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K193: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K194: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K195: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K196: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information