## Sheet1
Bill of Qty
N/W | Repairing of wall tiles and floor, grating, windows and painting of mess and kitchen of Hall-9 (except dining hall-ceiling)
SLNo | Description | Qty | Unit | Rate | Amount | Rate without GST | Amount without GST
1 | CONCRETE WORK
1.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
1.1.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.1 | cum | 6788.6 | 679 | 5952.3016 | 595.2302
2 | MASONRY WORK
2.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
2.1.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 0.1 | cum | 7590.45 | 759 | 6655.3705 | 665.537
3 | CLADDING WORK
3.1 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
3.1.1 | Marble work | 10.8 | metre | 220.35 | 2380 | 193.2047 | 2086.6111
3.2 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 28.24 | sqm | 1030.3 | 29096 | 903.3757 | 25511.3301
4 | WOOD AND PVC WORK
4.1 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :
4.1.1 | Float glass panes
4.1.1.1 | 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). | 5.4 | sqm | 2116.9 | 11431 | 1856.1157 | 10023.025
4.1.2 | Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading | 3.75 | sqm | 1458.6 | 5470 | 1278.9128 | 4795.9228
4.2 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.2.1 | 150x10 mm | 8 | each | 75 | 600 | 65.7606 | 526.0851
4.3 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.3.1 | 125 mm | 8 | each | 59.65 | 477 | 52.3016 | 418.413
5 | STEEL WORK
5.1 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
5.1.1 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 325 | kg | 131 | 42575 | 114.8619 | 37330.1184
6 | FLOORING
6.1 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) :
6.1.1 | 25 mm thick | 30.34 | sqm | 1531.85 | 46476 | 1343.139 | 40750.8365
6.2 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 11.23 | sqm | 1810.05 | 20327 | 1587.0671 | 17822.7633
6.3 | Extra for Kota stone/ sand stone in treads of steps and risers using single length up to 1.05 metre. | 11.23 | sqm | 33.1 | 372 | 29.0224 | 325.9211
7 | FINISHING
7.1 | 15 mm cement plaster on rough side of single or half brick wall of mix:
7.1.1 | 1:6 (1 cement: 6 coarse sand) | 5 | sqm | 303.9 | 1520 | 266.4621 | 1332.3104
7.2 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
7.2.1 | Two or more coats on new work | 950 | sqm | 87.15 | 82793 | 76.4139 | 72593.1609
7.3 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.3.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 8 | sqm | 177.15 | 1417 | 155.3266 | 1242.6129
7.4 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 40 | sqm | 115.15 | 4606 | 100.9645 | 4038.5796
7.5 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.5.1 | One or more coats on old work | 166 | sqm | 79.95 | 13272 | 70.1008 | 11636.7383
7.6 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
7.6.1 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | 340 | sqm | 66.95 | 22763 | 58.7023 | 19958.79
8 | REPAIRS TO BUILDING
8.1 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
8.1.1 | Window chowkhats | 2 | each | 858.9 | 1718 | 753.0907 | 1506.1815
9 | DISMANTLING AND DEMOLISHING
9.1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
9.1.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.1 | cum | 1737.45 | 174 | 1523.4108 | 152.3411
9.2 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
9.2.1 | Of area beyond 3 sq. metres | 2 | each | 375.65 | 751 | 329.3731 | 658.7462
9.3 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 325 | kg | 4.15 | 1349 | 3.6388 | 1182.5954
9.4 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
9.4.1 | For thickness of tiles 10 mm to 25 mm | 70 | sqm | 54.85 | 3840 | 48.0929 | 3366.5059
9.5 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 5 | cum | 138.85 | 694 | 121.7448 | 608.7242
10 | ALUMINIUM WORK
10.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
10.1.1 | For fixed portion
10.1.1.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 44 | kg | 423.95 | 18654 | 371.7229 | 16355.8089
10.1.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
10.1.2.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 47 | kg | 513.4 | 24130 | 450.1534 | 21157.2117
11 | MINOR CIVIL MAINTENANCE WORK.
11.1 | P/F C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 22 | Each | 66.9 | 1472 | 58.6585 | 1290.4866
11.2 | Cutting rubbing and polishing on old mosaic,kota,marble flooring marble work/Granite work/stone work where ever required and skirting for rubbing and removal of rubbish including of one coat of cement slurry in joints before final rubbing and polishing complete. | 414.95 | Sqm | 75.6 | 31370 | 66.2867 | 27505.673
| Total |  |  |  | 371165 |  | 325438.26