## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Extension of C.I. water line near under construction A.C. Plant Building
Contract No: 22/C/D3/2021-22/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CARRIAGE OF MATERIALS | [53 empty] | 1 | CARRIAGE OF MATERIALS
1.01 | By Mechanical Transport including loading,unloading and stacking | [53 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking
1.02 | Earth Lead - 1 km |  | 10 | cum | 144.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1440.9 | 1440.9 | INR One Thousand Four Hundred & Forty and Paise Ninety Only | 1.02 | Earth Lead - 1 km | 10 | cum
1.03 | R.C.C. pipe, A.C. pipes, steel cylinder, R.C. pipes, S.C.I. pipes, C.I. pipes and unreinforced cement pipes | [53 empty] | 1.03 | R.C.C. pipe, A.C. pipes, steel cylinder, R.C. pipes, S.C.I. pipes, C.I. pipes and unreinforced cement pipes
1.04 | 150 mm dia Lead - 1 km |  | 60 | 100 m | 419.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 251.96 | 251.96 | INR Two Hundred & Fifty One and Paise Ninety Six Only | 1.04 | 150 mm dia Lead - 1 km | 60 | 100 m
2 | EARTH WORK | [53 empty] | 2 | EARTH WORK
2.01 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 2.01 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
2.02 | All kinds of soil | [53 empty] | 2.02 | All kinds of soil
2.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia |  | 115 | metre | 319.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36722.95 | 36722.95 | INR Thirty Six Thousand Seven Hundred & Twenty Two and Paise Ninety Five Only | 2.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 115 | metre
3 | CONCRETE WORK | [53 empty] | 3 | CONCRETE WORK
3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.3 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1785.69 | 1785.69 | INR One Thousand Seven Hundred & Eighty Five and Paise Sixty Nine Only | 3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.3 | cum
4 | WATER SUPPLY | [53 empty] | 4 | WATER SUPPLY
4.01 | Providing and laying S&S C.I. standard specials such as tees, bends, collars, tapers, caps etc. (Heavy class): | [53 empty] | 4.01 | Providing and laying S&S C.I. standard specials such as tees, bends, collars, tapers, caps etc. (Heavy class):
4.02 | Up to 300 mm dia |  | 0.8 | quintal | 4664.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3731.98 | 3731.98 | INR Three Thousand Seven Hundred & Thirty One and Paise Ninety Eight Only | 4.02 | Up to 300 mm dia | 0.8 | quintal
4.03 | Providing and laying flanged C.I. standard specials such as tees, bends, collars, tapers, caps etc., suitable for flanged jointing as per IS : 1538 : | [53 empty] | 4.03 | Providing and laying flanged C.I. standard specials such as tees, bends, collars, tapers, caps etc., suitable for flanged jointing as per IS : 1538 :
4.04 | Up to 300 mm dia |  | 1.9 | quintal | 6893.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13098.43 | 13098.43 | INR Thirteen Thousand &Ninety Eight and Paise Forty Three Only | 4.04 | Up to 300 mm dia | 1.9 | quintal
4.05 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 : | [53 empty] | 4.05 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 :
4.06 | 150 mm dia pipe |  | 55 | metre | 1587.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 87322.4 | 87322.4 | INR Eighty Seven Thousand Three Hundred & Twenty Two and Paise Forty Only | 4.06 | 150 mm dia pipe | 55 | metre
4.07 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead : | [53 empty] | 4.07 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
4.08 | 150 mm diameter pipe |  | 17 | each | 493.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8387.46 | 8387.46 | INR Eight Thousand Three Hundred & Eighty Seven and Paise Forty Six Only | 4.08 | 150 mm diameter pipe | 17 | each
4.09 | Supplying pig lead at site of work. |  | 0.6 | quintal | 20657.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12394.61 | 12394.61 | INR Twelve Thousand Three Hundred & Ninety Four and Paise Sixty One Only | 4.09 | Supplying pig lead at site of work. | 0.6 | quintal
4.1 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) : | [53 empty] | 4.1 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) :
4.11 | 150 mm diameter | [53 empty] | 4.11 | 150 mm diameter
4.12 | Class II |  | 2 | each | 5648.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11297.42 | 11297.42 | INR Eleven Thousand Two Hundred & Ninety Seven and Paise Forty Two Only | 4.12 | Class II | 2 | each
4.13 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 4.13 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design :
4.14 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 2 | each | 19608.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39216.48 | 39216.48 | INR Thirty Nine Thousand Two Hundred & Sixteen and Paise Forty Eight Only | 4.14 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 2 | each
4.15 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket : | [53 empty] | 4.15 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket :
4.16 | 150 mm dia pipes |  | 10 | joint | 131.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1313.9 | 1313.9 | INR One Thousand Three Hundred & Thirteen and Paise Ninety Only | 4.16 | 150 mm dia pipes | 10 | joint
5 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 5 | MINOR CIVIL MAINTENANCE WORK:
5.01 | Laying old available S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 : 150 mm dia pipe |  | 60 | Meter | 89.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5355.6 | 5355.6 | INR Five Thousand Three Hundred & Fifty Five and Paise Sixty Only | 5.01 | Laying old available S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 : 150 mm dia pipe | 60 | Meter
Total in Figures | [51 empty] | 222319.78 | 222319.78 | INR Two Lakh Twenty Two Thousand Three Hundred & Nineteen and Paise Seventy Eight Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information