## Sheet1
Original Estimate
N/W | Renovation of kitchen including intternal & external painting of house no.507 (F.F) Type V
SLNo | Description | Qty | Unit | Rate | Amount | DSR No.
1 | CONCRETE WORK |  |  |  |  | 4
1.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  |  |  | 4.1
1.1.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.2 | cum | 6788.6 | 1358 | 4.1.3 | SR
| Sub-Total |  |  |  | 1358
2 | REINFORCED CEMENT CONCRETE |  |  |  |  | 5
2.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.55 | cum | 9763.8 | 5370 | 5.3 | SR
2.2 | Centering and shuttering including strutting, propping etc. and removal of form for |  |  |  |  | 5.9
2.2.1 | Shelves (Cast in situ) | 7.25 | sqm | 693.05 | 5025 | 5.9.4 | SR
2.3 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. |  |  |  |  | 5.22A
2.3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 50 | kg | 83.5 | 4175 | 5.22A.6 | SR
| Sub-Total |  |  |  | 14570
3 | MASONRY WORK |  |  |  |  | 6
3.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : |  |  |  |  | 6.4
3.1.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 0.75 | cum | 7590.45 | 5693 | 6.4.2 | SR
| Sub-Total |  |  |  | 5693
4 | CLADDING WORK |  |  |  |  | 8
4.1 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. |  |  |  |  | 8.2
4.1.1 | Granite of any colour and shade |  |  |  |  | 8.2.2
4.1.1.1 | Area of slab over 0.50 sqm | 3.5 | sqm | 4007.65 | 14027 | 8.2.2.2 | SR
4.2 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1 | each | 734.55 | 735 | 8.5 | SR
4.3 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 4.75 | sqm | 1030.3 | 4894 | 8.31 | SR
| Sub-Total |  |  |  | 19656
5 | WOOD AND PVC WORK |  |  |  |  | 9
5.1 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : |  |  |  |  | 9.96
5.1.1 | 250x16 mm | 2 | each | 231.7 | 463 | 9.96.2 | SR
5.2 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  |  |  | 9.97
5.2.1 | 200x10 mm | 2 | each | 90 | 180 | 9.97.3 | SR
5.2.2 | 150x10 mm | 2 | each | 75 | 150 | 9.97.4 | SR
5.3 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  |  |  | 9.1
5.3.1 | 125 mm | 4 | each | 59.65 | 239 | 9.100.1 | SR
| Sub-Total |  |  |  | 1032
6 | STEEL WORK |  |  |  |  | 10
6.1 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 35 | kg | 101.75 | 3561 | 10.2 | SR
| Sub-Total |  |  |  | 3561
7 | FINISHING |  |  |  |  | 13
7.1 | 12 mm cement plaster of mix : |  |  |  |  | 13.4
7.1.1 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm | 263.55 | 2636 | 13.4.2 | SR
7.2 | 15 mm cement plaster on rough side of single or half brick wall of mix: |  |  |  |  | 13.5
7.2.1 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm | 303.9 | 3039 | 13.5.2 | SR
7.3 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. |  |  |  |  | 13.42
7.3.1 | Two or more coats on new work | 310 | sqm | 87.15 | 27017 | 13.42.1 | SR
7.4 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 75 | sqm | 115.15 | 8636 | 13.8 | SR
7.5 | White washing with lime to give an even shade : |  |  |  |  | 13.87
7.5.1 | Old work (two or more coats) | 145 | sqm | 16.75 | 2429 | 13.87.1 | SR
7.6 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 75 | sqm | 18.25 | 1369 | 13.91 | SR
7.7 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : |  |  |  |  | 13.99
7.7.1 | One or more coats on old work | 125 | sqm | 79.95 | 9994 | 13.99.1 | SR
7.8 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade |  |  |  |  | 13.112
7.8.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 530 | sqm | 97.75 | 51808 | 13.112.1 | SR
| Sub-Total |  |  |  | 106928
8 | REPAIRS TO BUILDING |  |  |  |  | 14
8.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. |  |  |  |  | 14.1
8.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm | 429.6 | 4296 | 14.1.2 | SR
8.2 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 120 | sqm | 257.95 | 30954 | 14.72 | SR
| Sub-Total |  |  |  | 35250
9 | DISMANTLING AND DEMOLISHING |  |  |  |  | 15
9.1 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 0.5 | cum | 2534.7 | 1267 | 15.3 | SR
9.2 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : |  |  |  |  | 15.12
9.2.1 | Of area 3 sq. metres and below | 1 | each | 274.5 | 275 | 15.12.1 | SR
9.3 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : |  |  |  |  | 15.13
9.3.1 | Of area 3 sq. metres and below | 2 | each | 106.55 | 213 | 15.13.1 | SR
9.4 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 10 | sqm | 39 | 390 | 15.56 | SR
9.5 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 1 | cum | 138.85 | 139 | 15.6 | SR
| Sub-Total |  |  |  | 2284
10 | SANITARY INSTALLATIONS |  |  |  |  | 17
10.1 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : |  |  |  |  | 17.1
10.1.1 | Kitchen sink with drain board |  |  |  |  | 17.10.1
10.1.1.1 | 510x1040 mm bowl depth 250 mm | 1 | each | 5155.95 | 5156 | 17.10.1.1 | SR
10.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. |  |  |  |  | 17.28
10.2.1 | Flexible pipe |  |  |  |  | 17.28.2
10.2.1.1 | 32 mm dia | 1 | each | 101.1 | 101 | 17.28.2.1 | SR
| Sub-Total |  |  |  | 5257
11 | WATER SUPPLY |  |  |  |  | 18
11.1 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. |  |  |  |  | 18.51
11.1.1 | 15 mm nominal bore | 2 | each | 552.35 | 1105 | 18.51.1 | SR
11.2 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 2 | each | 61.25 | 123 | 18.53A | SR
11.3 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 15 | metre | 154.15 | 2312 | 18.78 | SR
| Sub-Total |  |  |  | 3540
12 | NEW TECHNOLOGIES AND MATERIALS |  |  |  |  | 26
12.1 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. |  |  |  |  | 26.31
12.1.1 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 3 | sqm | 388.5 | 1166 | 26.31.2 | SR
12.2 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. |  |  |  |  | 26.32
12.2.1 | 25 mm average thickness in 2 layers. | 3 | sqm | 471 | 1413 | 26.32.2 | SR
| Sub-Total |  |  |  | 2579
13 | MINOR CIVIL MAINTENANCE WORK: |  |  |  |  | 50
13.1 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 2 | Each | 33.45 | 67 | 50.7 | MR
13.2 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | 3 | Sqm | 2218.65 | 6656 | 50.1 | MR
| Sub-Total |  |  |  | 6723
| Total |  |  |  | 208431
| Add Contingencies @3% on 208,431.00 |  |  |  | 6252.93
| Grand Total |  |  |  | 214683.93
| Say |  |  |  | 214684

## BOQ
Bill of Qty
N/W | Renovation of kitchen including intternal & external painting of house no.507 (F.F) Type V
SLNo | Description | Qty | Unit | Rate without GST | Amount
1 | CONCRETE WORK
1.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
1.1.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.2 | cum | 5952.3 | 1190.46
Sub-Total
2 | REINFORCED CEMENT CONCRETE
2.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.55 | cum | 8560.98 | 4708.539
2.2 | Centering and shuttering including strutting, propping etc. and removal of form for
2.2.1 | Shelves (Cast in situ) | 7.25 | sqm | 607.67 | 4405.6075
2.3 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
2.3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 50 | kg | 73.21 | 3660.5
Sub-Total
3 | MASONRY WORK
3.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
3.1.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 0.75 | cum | 6655.37 | 4991.5275
Sub-Total
4 | CLADDING WORK
4.1 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
4.1.1 | Granite of any colour and shade
4.1.1.1 | Area of slab over 0.50 sqm | 3.5 | sqm | 3513.94 | 12298.79
4.2 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 1 | each | 644.06 | 644.06
4.3 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 4.75 | sqm | 903.38 | 4291.055
Sub-Total
5 | WOOD AND PVC WORK
5.1 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
5.1.1 | 250x16 mm | 2 | each | 203.16 | 406.32
5.2 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
5.2.1 | 200x10 mm | 2 | each | 78.91 | 157.82
5.2.2 | 150x10 mm | 2 | each | 65.76 | 131.52
5.3 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
5.3.1 | 125 mm | 4 | each | 52.3 | 209.2
Sub-Total
6 | STEEL WORK
6.1 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 35 | kg | 89.22 | 3122.7
Sub-Total
7 | FINISHING
7.1 | 12 mm cement plaster of mix :
7.1.1 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm | 231.08 | 2310.8
7.2 | 15 mm cement plaster on rough side of single or half brick wall of mix:
7.2.1 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm | 266.46 | 2664.6
7.3 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
7.3.1 | Two or more coats on new work | 310 | sqm | 76.41 | 23687.1
7.4 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 75 | sqm | 100.96 | 7572
7.5 | White washing with lime to give an even shade :
7.5.1 | Old work (two or more coats) | 145 | sqm | 14.69 | 2130.05
7.6 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 75 | sqm | 16 | 1200
7.7 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.7.1 | One or more coats on old work | 125 | sqm | 70.1 | 8762.5
7.8 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
7.8.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 530 | sqm | 85.71 | 45426.3
Sub-Total
8 | REPAIRS TO BUILDING
8.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
8.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm | 376.68 | 3766.8
8.2 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 120 | sqm | 226.17 | 27140.4
Sub-Total
9 | DISMANTLING AND DEMOLISHING
9.1 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 0.5 | cum | 2222.45 | 1111.225
9.2 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
9.2.1 | Of area 3 sq. metres and below | 1 | each | 240.68 | 240.68
9.3 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
9.3.1 | Of area 3 sq. metres and below | 2 | each | 93.42 | 186.84
9.4 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 10 | sqm | 34.2 | 342
9.5 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 1 | cum | 121.74 | 121.74
Sub-Total
10 | SANITARY INSTALLATIONS
10.1 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :
10.1.1 | Kitchen sink with drain board
10.1.1.1 | 510x1040 mm bowl depth 250 mm | 1 | each | 4520.78 | 4520.78
10.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
10.2.1 | Flexible pipe
10.2.1.1 | 32 mm dia | 1 | each | 88.65 | 88.65
Sub-Total
11 | WATER SUPPLY
11.1 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
11.1.1 | 15 mm nominal bore | 2 | each | 484.31 | 968.62
11.2 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 2 | each | 53.7 | 107.4
11.3 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 15 | metre | 135.16 | 2027.4
Sub-Total
12 | NEW TECHNOLOGIES AND MATERIALS
12.1 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
12.1.1 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 3 | sqm | 340.64 | 1021.92
12.2 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge.
12.2.1 | 25 mm average thickness in 2 layers. | 3 | sqm | 412.98 | 1238.94
Sub-Total
13 | MINOR CIVIL MAINTENANCE WORK:
13.1 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 2 | Each | 29.33 | 58.66
13.2 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | 3 | Sqm | 1945.33 | 5835.99
| Total |  |  |  | 182749.494