## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer
Name of Work: Providing main power supply from substation No. 2 to New Type-III Apartment (Block-1 & Block-2 ) and providing telephone cable from Telephone Exchange to New Type-III Apartment ( Block-1 & Block-2) at IIT Kanpur.
Contract No: 82/Elect/2021/599 Dated: 13.12.2021
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Laying of one no. PVC insulated and PVC sheathed /XLPE power cable of 1.1kV grade direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 35 sqmm to 95 sqmm | item2 | 1300 | Mtr. | 296.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 385268 | 385268 | INR Three Lakh Eighty Five Thousand Two Hundred & Sixty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.2 | 185 sqmm to 400 sqmm | item3 | 1500 | Mtr. | 347.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 520830 | 520830 | INR Five Lakh Twenty Thousand Eight Hundred & Thirty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item4 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | 185 sq. mm and upto 400 sq. mm | item5 | 2000 | Mtr. | 257.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 515560 | 515560 | INR Five Lakh Fifteen Thousand Five Hundred & Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Laying of one no. PVC insulated and PVC sheathed /XLPE power cable of 1.1kV grade in the existing RCC / Hume / Stoneware/Metal pipe as reqd. | item6 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | 35 sqmm to 95 sqmm | item7 | 1500 | Mtr. | 41.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61815 | 61815 | INR Sixty One Thousand Eight Hundred & Fifteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | 185 sqmm to 400 sqmm | item8 | 200 | Mtr. | 98.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19640 | 19640 | INR Nineteen Thousand Six Hundred & Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Laying of one no. PVC insulated and PVC sheathed /XLPE power cable of 1.1kV grade in the existing masonry open duct as reqd. | item9 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.1 | 35 sqmm to 95 sqmm | item10 | 200 | Mtr. | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6664 | 6664 | INR Six Thousand Six Hundred & Sixty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.2 | 185 sqmm to 400 sqmm | item11 | 200 | Mtr. | 84.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16834 | 16834 | INR Sixteen Thousand Eight Hundred & Thirty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item12 | 40 | Each | 335.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13432.8 | 13432.8 | INR Thirteen Thousand Four Hundred & Thirty Two and Paise Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item13 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.1 | 3½ X 185 sq. mm (57mm) | item14 | 10 | Nos | 615.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6155.2 | 6155.2 | INR Six Thousand One Hundred & Fifty Five and Paise Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.2 | 3½ X 400 sq. mm (82mm) | item15 | 10 | Nos | 1060.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10600.6 | 10600.6 | INR Ten Thousand Six Hundred and Paise Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 metres. | item16 | 10 | Cum | 478.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4787.4 | 4787.4 | INR Four Thousand Seven Hundred & Eighty Seven and Paise Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Providing and laying in position reinforced cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required (excluding reinforcement). | item17 | 2 | Cum | 7039.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14079.78 | 14079.78 | INR Fourteen Thousand &Seventy Nine and Paise Seventy Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | item18 | 5 | Cum | 5578.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27891.3 | 27891.3 | INR Twenty Seven Thousand Eight Hundred & Ninety One and Paise Thirty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item19 | 10 | Sqm | 268.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2683 | 2683 | INR Two Thousand Six Hundred & Eighty Three Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required. | item20 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.1 | 50 mm | item21 | 100 | Mtr. | 469.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46997 | 46997 | INR Forty Six Thousand Nine Hundred & Ninety Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.2 | 80 mm | item22 | 100 | Mtr. | 704.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70408 | 70408 | INR Seventy Thousand Four Hundred & Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Supplying of one No. PVC insulated & PVC sheathed / XLPE power cables size 3½ X 400 sq. mm (heavy duty) aluminium conductor, steel armoured cable of 1.1kV grade as per IS:7098 (Part-I) as reqd complete in following manners. | item23 | 2100 | Mtr | 1766.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3710217 | 3710217 | INR Thirty Seven Lakh Ten Thousand Two Hundred & Seventeen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Supplying of one No. PVC insulated & PVC sheathed / XLPE power cables size 3½ X 185 sq. mm (heavy duty) aluminium conductor, steel armoured cable of 1.1kV grade as per IS:7098 (Part-I) as reqd complete in following manners. | item24 | 1400 | Mtr | 900.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1260672 | 1260672 | INR Twelve Lakh Sixty Thousand Six Hundred & Seventy Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Supply of HDPE pipe ISI mark of IS 4984 OD 63 mm (6Kg / cm²) outer dia, I/c cartage loading & unloading etc. as reqd. | item25 | 50 | Mtr. | 138.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6927 | 6927 | INR Six Thousand Nine Hundred & Twenty Seven Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15 | Providing and making telephone cable joints with all jointing material I/c locating fault of sizes. | item26 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15.1 | For 200 pair cable (SLT-7) | item27 | 2 | Nos. | 10355.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20711.96 | 20711.96 | INR Twenty Thousand Seven Hundred & Eleven and Paise Ninety Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Supply of following size telephone armoured cable PVC insulated and PVC sheathed annealed tinned copper conductor 0.5mm thick complete as required. | item28 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.1 | 100 pairs | item29 | 280 | Mtr. | 893.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 250171.6 | 250171.6 | INR Two Lakh Fifty Thousand One Hundred & Seventy One and Paise Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16.2 | 200 pairs | item30 | 460 | Mtr. | 1665.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 765927.6 | 765927.6 | INR Seven Lakh Sixty Five Thousand Nine Hundred & Twenty Seven and Paise Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16.3 | 400 pairs | item31 | 820 | Mtr. | 3270.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2681810 | 2681810 | INR Twenty Six Lakh Eighty One Thousand Eight Hundred & Ten Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17 | Fixing of telephone DP suitable upto 400 pair on wall / floor with sutiable brick foundation on bolts and nut etc. as required. | item32 | 4 | Nos. | 195.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 782.12 | 782.12 | INR Seven Hundred & Eighty Two and Paise Twelve Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18 | Digging trench for taking out cable and refilling , watering ,ramming the sameafter taking out cable as reqd complete.cable size up to 400Sq.mm | item33 | 50 | Mtrs. | 207.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10390 | 10390 | INR Ten Thousand Three Hundred & Ninety Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | S/F, copper cable lug teminal heavy duty ling berrel suitable for following size of conductor. | item34 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.1 | 150 sq.mm. | item35 | 30 | Nos. | 305.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9153.9 | 9153.9 | INR Nine Thousand One Hundred & Fifty Three and Paise Ninety Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20 | Supplying and drawing of following sizes of FR-LSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item36 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20.1 | 1x150 sq.mm. | item37 | 12 | Mtr. | 1691.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20296.32 | 20296.32 | INR Twenty Thousand Two Hundred & Ninety Six and Paise Thirty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21 | S & F, connecting and commissioning of Change Over Switch 4 pole 250Amp On load Changeover switch with sheet steel Enclosure load break switch with handle assembly having Door Interlock and Padlocking arrangement etc. as reqd. | item38 | 4 | Nos. | 21312.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 85250.32 | 85250.32 | INR Eighty Five Thousand Two Hundred & Fifty and Paise Thirty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item39 | 25 | Kg | 89.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2230.5 | 2230.5 | INR Two Thousand Two Hundred & Thirty and Paise Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
23 | Fabrication, supplying & fixing of box of required size made out of 2mm thick CRCA sheet duly powder coated & openable from top-bottom or front required & fixing the same complete as required. | item40 | 25 | Kg | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5611.5 | 5611.5 | INR Five Thousand Six Hundred & Eleven and Paise Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Shifting, Fixing,Testing, commissioning of existing LT Panel complete as instruction by Engineer In-charge etc. complete as required. | item41 | 1 | Nos | 2755.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2755.81 | 2755.81 | INR Two Thousand Seven Hundred & Fifty Five and Paise Eighty One Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | S&F connecting and commissioning MCCB unit of following ratings 400A, 4 pole 415V, 50KA with, rotory drive, Spreader link strips I/c providing connecting copper/Al. Strip between bus bar and MCCB tapping make C&S etc. as reqd | item42 | 2 | Each | 42810.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 85621.6 | 85621.6 | INR Eighty Five Thousand Six Hundred & Twenty One and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 10642175.31 | 10642175.31 | INR One Crore Six Lakh Forty Two Thousand One Hundred & Seventy Five and Paise Thirty One Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information