## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house no. 1049, Type-I
Contract No: 08/C/D1/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CEMENT CONCRETE (CAST IN SITU) | [53 empty] | 1 | CEMENT CONCRETE (CAST IN SITU)
1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
1.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.4 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2583.13 | 2583.13 | INR Two Thousand Five Hundred & Eighty Three and Paise Thirteen Only | 1.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 0.4 | cum
2 | REINFORCED CEMENT CONCRETE | [53 empty] | 2 | REINFORCED CEMENT CONCRETE
2.01 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 2.01 | Centering and shuttering including strutting, propping etc. and removal of form for
2.02 | Shelves (Cast in situ) |  | 1.2 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 806.54 | 806.54 | INR Eight Hundred & Six and Paise Fifty Four Only | 2.02 | Shelves (Cast in situ) | 1.2 | sqm
2.03 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | [53 empty] | 2.03 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
2.04 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 7.5 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 589.58 | 589.58 | INR Five Hundred & Eighty Nine and Paise Fifty Eight Only | 2.04 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 7.5 | kg
3 | MASONRY WORK | [53 empty] | 3 | MASONRY WORK
3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
3.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 0.8 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5813.84 | 5813.84 | INR Five Thousand Eight Hundred & Thirteen and Paise Eighty Four Only | 3.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 0.8 | cum
4 | WOOD AND P. V. C. WORK | [53 empty] | 4 | WOOD AND P. V. C. WORK
4.01 | Extra for providing frosted glass panes 4 mm thick instead of ordinary float glass panes 4 mm thick in doors, windows and clerestory window shutters. (Area of opening for glass panes excluding portion inside rebate shall be measured). |  | 0.5 | sqm | 130.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65.11 | 65.11 | INR Sixty Five and Paise Eleven Only | 4.01 | Extra for providing frosted glass panes 4 mm thick instead of ordinary float glass panes 4 mm thick in doors, windows and clerestory window shutters. (Area of opening for glass panes excluding portion inside rebate shall be measured). | 0.5 | sqm
4.02 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | [53 empty] | 4.02 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.
4.03 | Fixed to openings /wooden frames with rawl plugs screws etc. |  | 45 | kg | 173.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7800.75 | 7800.75 | INR Seven Thousand Eight Hundred and Paise Seventy Five Only | 4.03 | Fixed to openings /wooden frames with rawl plugs screws etc. | 45 | kg
4.04 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | [53 empty] | 4.04 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
4.05 | 250x16 mm |  | 3 | each | 145.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 436.38 | 436.38 | INR Four Hundred & Thirty Six and Paise Thirty Eight Only | 4.05 | 250x16 mm | 3 | each
4.06 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | [53 empty] | 4.06 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete :
4.07 | 200x10 mm |  | 2 | each | 53.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 107.06 | 107.06 | INR One Hundred & Seven and Paise Six Only | 4.07 | 200x10 mm | 2 | each
4.08 | 150x10 mm |  | 2 | each | 46.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93.02 | 93.02 | INR Ninety Three and Paise Two Only | 4.08 | 150x10 mm | 2 | each
4.09 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | [53 empty] | 4.09 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
4.1 | 125 mm |  | 2 | each | 30.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61.72 | 61.72 | INR Sixty One and Paise Seventy Two Only | 4.1 | 125 mm | 2 | each
4.11 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. |  | 2 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1798.6 | 1798.6 | INR One Thousand Seven Hundred & Ninety Eight and Paise Sixty Only | 4.11 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 2 | each
4.12 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | [53 empty] | 4.12 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
4.13 | 250x16 mm |  | 2 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 411.92 | 411.92 | INR Four Hundred & Eleven and Paise Ninety Two Only | 4.13 | 250x16 mm | 2 | each
4.14 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 4.14 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.15 | 200x10 mm |  | 2 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 159.22 | 159.22 | INR One Hundred & Fifty Nine and Paise Twenty Two Only | 4.15 | 200x10 mm | 2 | each
4.16 | 150x10 mm |  | 6 | each | 66.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 397.44 | 397.44 | INR Three Hundred & Ninety Seven and Paise Forty Four Only | 4.16 | 150x10 mm | 6 | each
4.17 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 4.17 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.18 | 125 mm |  | 4 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 210.6 | 210.6 | INR Two Hundred & Ten and Paise Sixty Only | 4.18 | 125 mm | 4 | each
4.19 | 100 mm |  | 4 | each | 46.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 186.76 | 186.76 | INR One Hundred & Eighty Six and Paise Seventy Six Only | 4.19 | 100 mm | 4 | each
4.2 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | [53 empty] | 4.2 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
4.21 | Twin rubber stopper |  | 8 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 436.64 | 436.64 | INR Four Hundred & Thirty Six and Paise Sixty Four Only | 4.21 | Twin rubber stopper | 8 | each
4.22 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | [53 empty] | 4.22 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge
4.23 | Extruded section profile size 48x40 mm |  | 10 | metre | 203.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2039 | 2039 | INR Two Thousand &Thirty Nine Only | 4.23 | Extruded section profile size 48x40 mm | 10 | metre
4.24 | Providing and fixing to existing door frames. | [53 empty] | 4.24 | Providing and fixing to existing door frames.
4.25 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). |  | 3 | sqm | 1570.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4710.18 | 4710.18 | INR Four Thousand Seven Hundred & Ten and Paise Eighteen Only | 4.25 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 3 | sqm
5 | STEEL WORK | [53 empty] | 5 | STEEL WORK
5.01 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | [53 empty] | 5.01 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
5.02 | Using M.S. angels 40x40x6 mm for diagonal braces |  | 1 | sqm | 4192.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4192.15 | 4192.15 | INR Four Thousand One Hundred & Ninety Two and Paise Fifteen Only | 5.02 | Using M.S. angels 40x40x6 mm for diagonal braces | 1 | sqm
5.03 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | [53 empty] | 5.03 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
5.04 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works |  | 55 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6862.35 | 6862.35 | INR Six Thousand Eight Hundred & Sixty Two and Paise Thirty Five Only | 5.04 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 55 | kg
5.05 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. | [53 empty] | 5.05 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete.
5.06 | Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides |  | 8.5 | sqm | 851.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7240.81 | 7240.81 | INR Seven Thousand Two Hundred & Forty and Paise Eighty One Only | 5.06 | Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | 8.5 | sqm
6 | FLOORING | [53 empty] | 6 | FLOORING
6.01 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | [53 empty] | 6.01 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
6.02 | Size of Tile 600x600 mm |  | 5 | sqm | 1285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6429.2 | 6429.2 | INR Six Thousand Four Hundred & Twenty Nine and Paise Twenty Only | 6.02 | Size of Tile 600x600 mm | 5 | sqm
6.03 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | [53 empty] | 6.03 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).
6.04 | Size of Tile 600x600 mm |  | 40 | sqm | 1348.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53920.4 | 53920.4 | INR Fifty Three Thousand Nine Hundred & Twenty and Paise Forty Only | 6.04 | Size of Tile 600x600 mm | 40 | sqm
7 | FINISHING | [53 empty] | 7 | FINISHING
7.01 | 12 mm cement plaster of mix : | [53 empty] | 7.01 | 12 mm cement plaster of mix :
7.02 | 1:6 (1 cement: 6 coarse sand) |  | 10 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2580.9 | 2580.9 | INR Two Thousand Five Hundred & Eighty and Paise Ninety Only | 7.02 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm
7.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 7.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
7.04 | 1:6 (1 cement: 6 coarse sand) |  | 8 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2378.64 | 2378.64 | INR Two Thousand Three Hundred & Seventy Eight and Paise Sixty Four Only | 7.04 | 1:6 (1 cement: 6 coarse sand) | 8 | sqm
7.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 7.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
7.06 | Two or more coats on new work |  | 60 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4879.2 | 4879.2 | INR Four Thousand Eight Hundred & Seventy Nine and Paise Twenty Only | 7.06 | Two or more coats on new work | 60 | sqm
7.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 7.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
7.08 | Two or more coats on new work |  | 10 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1152.6 | 1152.6 | INR One Thousand One Hundred & Fifty Two and Paise Sixty Only | 7.08 | Two or more coats on new work | 10 | sqm
7.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 7.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture |  | 5 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 839.1 | 839.1 | INR Eight Hundred & Thirty Nine and Paise Ten Only | 7.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 5 | sqm
7.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 60 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6515.4 | 6515.4 | INR Six Thousand Five Hundred & Fifteen and Paise Forty Only | 7.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 60 | sqm
7.12 | White washing with lime to give an even shade : | [53 empty] | 7.12 | White washing with lime to give an even shade :
7.13 | Old work (two or more coats) |  | 45 | sqm | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 749.7 | 749.7 | INR Seven Hundred & Forty Nine and Paise Seventy Only | 7.13 | Old work (two or more coats) | 45 | sqm
7.14 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | [53 empty] | 7.14 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade :
7.15 | Old work (one or more coats) |  | 115 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5727 | 5727 | INR Five Thousand Seven Hundred & Twenty Seven Only | 7.15 | Old work (one or more coats) | 115 | sqm
7.16 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 25 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 457 | 457 | INR Four Hundred & Fifty Seven Only | 7.16 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 25 | sqm
7.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 7.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.18 | One or more coats on old work |  | 25 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1897.25 | 1897.25 | INR One Thousand Eight Hundred & Ninety Seven and Paise Twenty Five Only | 7.18 | One or more coats on old work | 25 | sqm
7.19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 7.19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
7.2 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 80 | sqm | 95.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7617.6 | 7617.6 | INR Seven Thousand Six Hundred & Seventeen and Paise Sixty Only | 7.2 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 80 | sqm
8 | REPAIRS TO BUILDING | [53 empty] | 8 | REPAIRS TO BUILDING
8.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 8.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
8.02 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 10 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4191.1 | 4191.1 | INR Four Thousand One Hundred & Ninety One and Paise Ten Only | 8.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm
8.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 45 | sqm | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 112.5 | 112.5 | INR One Hundred & Twelve and Paise Fifty Only | 8.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 45 | sqm
8.04 | Dismantling and Demolishing | [53 empty] | 8.04 | Dismantling and Demolishing
8.05 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 8.05 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
8.06 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 0.5 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 879.92 | 879.92 | INR Eight Hundred & Seventy Nine and Paise Ninety Two Only | 8.06 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.5 | cum
8.07 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 0.1 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 256.74 | 256.74 | INR Two Hundred & Fifty Six and Paise Seventy Four Only | 8.07 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 0.1 | cum
8.08 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 8.08 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
8.09 | In cement mortar |  | 1.5 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2233.83 | 2233.83 | INR Two Thousand Two Hundred & Thirty Three and Paise Eighty Three Only | 8.09 | In cement mortar | 1.5 | cum
8.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 8.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
8.11 | Of area 3 sq. metres and below |  | 7 | each | 265.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1857.87 | 1857.87 | INR One Thousand Eight Hundred & Fifty Seven and Paise Eighty Seven Only | 8.11 | Of area 3 sq. metres and below | 7 | each
8.12 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | [53 empty] | 8.12 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
8.13 | Of area 3 sq. metres and below |  | 1 | each | 103.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 103.73 | 103.73 | INR One Hundred & Three and Paise Seventy Three Only | 8.13 | Of area 3 sq. metres and below | 1 | each
8.14 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. |  | 5 | kg | 26.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 133.05 | 133.05 | INR One Hundred & Thirty Three and Paise Five Only | 8.14 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | 5 | kg
8.15 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 5 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 197.5 | 197.5 | INR One Hundred & Ninety Seven and Paise Fifty Only | 8.15 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 5 | sqm
8.16 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 1 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 192.33 | 192.33 | INR One Hundred & Ninety Two and Paise Thirty Three Only | 8.16 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 1 | cum
9 | ROAD WORK | [53 empty] | 9 | ROAD WORK
9.01 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used. | [53 empty] | 9.01 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used.
9.02 | With G.I. barbed wire |  | 90 | metre | 17.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1547.1 | 1547.1 | INR One Thousand Five Hundred & Forty Seven and Paise Ten Only | 9.02 | With G.I. barbed wire | 90 | metre
9.03 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for 10 cm length and drilling holes upto 10 mm dia. etc. complete. |  | 20 | kg | 87.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1752.8 | 1752.8 | INR One Thousand Seven Hundred & Fifty Two and Paise Eighty Only | 9.03 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for 10 cm length and drilling holes upto 10 mm dia. etc. complete. | 20 | kg
10 | SANITARY INSTALLATIONS | [53 empty] | 10 | SANITARY INSTALLATIONS
10.01 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | [53 empty] | 10.01 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
10.02 | Flexible pipe | [53 empty] | 10.02 | Flexible pipe
10.03 | 32 mm dia |  | 2 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 182.98 | 182.98 | INR One Hundred & Eighty Two and Paise Ninety Eight Only | 10.03 | 32 mm dia | 2 | each
10.04 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 1 | each | 1237.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1237.31 | 1237.31 | INR One Thousand Two Hundred & Thirty Seven and Paise Thirty One Only | 10.04 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1 | each
11 | WATER SUPPLY | [53 empty] | 11 | WATER SUPPLY
11.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 11.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
11.02 | 15 mm dia nominal bore |  | 5 | metre | 266.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1333.4 | 1333.4 | INR One Thousand Three Hundred & Thirty Three and Paise Forty Only | 11.02 | 15 mm dia nominal bore | 5 | metre
11.03 | Providing and fixing uplasticised PVC connection pipe with brass unions : | [53 empty] | 11.03 | Providing and fixing uplasticised PVC connection pipe with brass unions :
11.04 | 45 cm length | [53 empty] | 11.04 | 45 cm length
11.05 | 15 mm nominal bore |  | 2 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149.4 | 149.4 | INR One Hundred & Forty Nine and Paise Forty Only | 11.05 | 15 mm nominal bore | 2 | each
11.06 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 11.06 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
11.07 | 15 mm nominal bore |  | 2 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 459.98 | 459.98 | INR Four Hundred & Fifty Nine and Paise Ninety Eight Only | 11.07 | 15 mm nominal bore | 2 | each
11.08 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. |  | 3 | metre | 150.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 451.92 | 451.92 | INR Four Hundred & Fifty One and Paise Ninety Two Only | 11.08 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 3 | metre
12 | ALUMINIUM WORK | [53 empty] | 12 | ALUMINIUM WORK
12.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | [53 empty] | 12.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
12.02 | For fixed portion | [53 empty] | 12.02 | For fixed portion
12.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) |  | 88 | kg | 380.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33483.12 | 33483.12 | INR Thirty Three Thousand Four Hundred & Eighty Three and Paise Twelve Only | 12.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 88 | kg
12.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | [53 empty] | 12.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
12.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) |  | 105 | kg | 466.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48960.45 | 48960.45 | INR Forty Eight Thousand Nine Hundred & Sixty and Paise Forty Five Only | 12.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 105 | kg
12.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | [53 empty] | 12.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
12.07 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) |  | 6 | sqm | 894.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5365.02 | 5365.02 | INR Five Thousand Three Hundred & Sixty Five and Paise Two Only | 12.07 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 6 | sqm
12.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | [53 empty] | 12.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete.
12.09 | 255 X 19 mm |  | 48 | each | 288.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13855.2 | 13855.2 | INR Thirteen Thousand Eight Hundred & Fifty Five and Paise Twenty Only | 12.09 | 255 X 19 mm | 48 | each
12.1 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). |  | 5.5 | kg | 491.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2704.68 | 2704.68 | INR Two Thousand Seven Hundred & Four and Paise Sixty Eight Only | 12.1 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 5.5 | kg
13 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 13 | NEW TECHNOLOGIES AND MATERIALS
13.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | [53 empty] | 13.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
13.02 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer |  | 8 | sqm | 103.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 825.92 | 825.92 | INR Eight Hundred & Twenty Five and Paise Ninety Two Only | 13.02 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 8 | sqm
13.03 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | [53 empty] | 13.03 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge.
13.04 | 25 mm average thickness in 2 layers. |  | 8 | sqm | 447.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3580.88 | 3580.88 | INR Three Thousand Five Hundred & Eighty and Paise Eighty Eight Only | 13.04 | 25 mm average thickness in 2 layers. | 8 | sqm
14 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 14 | MINOR CIVIL MAINTENANCE WORK:
14.01 | "Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : (a) 15mm nominal bore. |  | 1 | Each | 574.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 574.83 | 574.83 | INR Five Hundred & Seventy Four and Paise Eighty Three Only | 14.01 | "Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : (a) 15mm nominal bore. | 1 | Each
14.02 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 3 | Each | 51.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 154.86 | 154.86 | INR One Hundred & Fifty Four and Paise Eighty Six Only | 14.02 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 3 | Each
14.03 | Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. |  | 4 | Sqm | 1954.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7819.36 | 7819.36 | INR Seven Thousand Eight Hundred & Nineteen and Paise Thirty Six Only | 14.03 | Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | 4 | Sqm
14.04 | Providing & fiixing Ebco male Aluminium Hanlde and hook for window etc. power coated in required colour with necessary stainless steel screws etc. to the side hung window as per directions of the Engineer-ib-charge complete. |  | 20 | Each | 131.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2627.8 | 2627.8 | INR Two Thousand Six Hundred & Twenty Seven and Paise Eighty Only | 14.04 | Providing & fiixing Ebco male Aluminium Hanlde and hook for window etc. power coated in required colour with necessary stainless steel screws etc. to the side hung window as per directions of the Engineer-ib-charge complete. | 20 | Each
Total in Figures | [51 empty] | 279372.37 | 279372.37 | INR Two Lakh Seventy Nine Thousand Three Hundred & Seventy Two and Paise Thirty Seven Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information