## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house no 3011.
Contract No: 08/C/D2/2022-23/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | item no.1 | [52 empty] | 1 | Carriage of Materials | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 3.1 | cum | 143.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 444 | 444 | INR Four Hundred & Forty Four Only | 1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 3.1 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CEMENT CONCRETE (CAST IN SITU) | item no.4 | [52 empty] | 2 | CEMENT CONCRETE (CAST IN SITU) | item no.4
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 0.54 | cum | 6457.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3487 | 3487 | INR Three Thousand Four Hundred & Eighty Seven Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 0.54 | cum
3 | REINFORCED CEMENT CONCRETE | item no.7 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.7
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.8 | 0.2 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1880 | 1880 | INR One Thousand Eight Hundred & Eighty Only | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.8 | 0.2 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.9 | [52 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.9
3.03 | Shelves (Cast in situ) | item no.10 | 4 | sqm | 672.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2688 | 2688 | INR Two Thousand Six Hundred & Eighty Eight Only | 3.03 | Shelves (Cast in situ) | item no.10 | 4 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.11 | [52 empty] | 3.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.12 | 30 | kg | 78.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2358 | 2358 | INR Two Thousand Three Hundred & Fifty Eight Only | 3.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.12 | 30 | kg
4 | MASONRY WORK | item no.13 | [52 empty] | 4 | MASONRY WORK | item no.13 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.14 | [52 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.14
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.15 | 0.1 | cum | 7267.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 727 | 727 | INR Seven Hundred & Twenty Seven Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.15 | 0.1 | cum
4.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.16 | [52 empty] | 4.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.16
4.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.17 | 0.5 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 446 | 446 | INR Four Hundred & Forty Six Only | 4.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.17 | 0.5 | sqm
5 | CLADDING WORK | item no.18 | [52 empty] | 5 | CLADDING WORK | item no.18
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19 | [52 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19
5.02 | Granite stone slab colour black, Cherry/Ruby red | item no.20 | [52 empty] | 5.02 | Granite stone slab colour black, Cherry/Ruby red | item no.20
5.03 | Area of slab over 0.50 sqm | item no.21 | 3.2 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12417 | 12417 | INR Twelve Thousand Four Hundred & Seventeen Only | 5.03 | Area of slab over 0.50 sqm | item no.21 | 3.2 | sqm
5.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 35 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32635 | 32635 | INR Thirty Two Thousand Six Hundred & Thirty Five Only | 5.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 35 | sqm
6 | WOOD AND P. V. C. WORK | item no.23 | [52 empty] | 6 | WOOD AND P. V. C. WORK | item no.23
6.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.24 | [52 empty] | 6.01 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.24
6.02 | 250x16 mm | item no.25 | 1 | each | 145.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 145 | 145 | INR One Hundred & Forty Five Only | 6.02 | 250x16 mm | item no.25 | 1 | each
6.03 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.26 | [52 empty] | 6.03 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.26
6.04 | 200x10 mm | item no.27 | 1 | each | 53.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54 | 54 | INR Fifty Four Only | 6.04 | 200x10 mm | item no.27 | 1 | each
6.05 | 150x10 mm | item no.28 | 1 | each | 46.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47 | 47 | INR Forty Seven Only | 6.05 | 150x10 mm | item no.28 | 1 | each
6.06 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.29 | [52 empty] | 6.06 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.29
6.07 | 125 mm | item no.30 | 2 | each | 30.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62 | 62 | INR Sixty Two Only | 6.07 | 125 mm | item no.30 | 2 | each
6.08 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.31 | [52 empty] | 6.08 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.31
6.09 | 250x16 mm | item no.32 | 4 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 824 | 824 | INR Eight Hundred & Twenty Four Only | 6.09 | 250x16 mm | item no.32 | 4 | each
6.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.33 | [52 empty] | 6.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.33
6.11 | 200x10 mm | item no.34 | 2 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 159 | 159 | INR One Hundred & Fifty Nine Only | 6.11 | 200x10 mm | item no.34 | 2 | each
6.12 | 150x10 mm | item no.35 | 2 | each | 66.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132 | 132 | INR One Hundred & Thirty Two Only | 6.12 | 150x10 mm | item no.35 | 2 | each
6.13 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.36 | [52 empty] | 6.13 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.36
6.14 | 100 mm | item no.37 | 4 | each | 46.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 187 | 187 | INR One Hundred & Eighty Seven Only | 6.14 | 100 mm | item no.37 | 4 | each
6.15 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.38 | [52 empty] | 6.15 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.38
6.16 | Twin rubber stopper | item no.39 | 6 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 327 | 327 | INR Three Hundred & Twenty Seven Only | 6.16 | Twin rubber stopper | item no.39 | 6 | each
6.17 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | item no.40 | [52 empty] | 6.17 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | item no.40
6.18 | Extruded section profile size 48x40 mm | item no.41 | 10 | metre | 203.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2039 | 2039 | INR Two Thousand &Thirty Nine Only | 6.18 | Extruded section profile size 48x40 mm | item no.41 | 10 | metre
6.19 | Providing and fixing to existing door frames. | item no.42 | [52 empty] | 6.19 | Providing and fixing to existing door frames. | item no.42
6.2 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | item no.43 | 3.2 | sqm | 1570.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5024 | 5024 | INR Five Thousand &Twenty Four Only | 6.2 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | item no.43 | 3.2 | sqm
6.21 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.44 | [52 empty] | 6.21 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.44
6.22 | With 2nd class teak wood beading 62X19 mm | item no.45 | 0.5 | sqm | 1231.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 616 | 616 | INR Six Hundred & Sixteen Only | 6.22 | With 2nd class teak wood beading 62X19 mm | item no.45 | 0.5 | sqm
7 | STEEL WORK | item no.46 | [52 empty] | 7 | STEEL WORK | item no.46
7.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.47 | [52 empty] | 7.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.47
7.02 | In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | item no.48 | 10 | kg | 89.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 897 | 897 | INR Eight Hundred & Ninety Seven Only | 7.02 | In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | item no.48 | 10 | kg
8 | FLOORING | item no.49 | [52 empty] | 8 | FLOORING | item no.49
8.01 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.50 | 13 | sqm | 822.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10697 | 10697 | INR Ten Thousand Six Hundred & Ninety Seven Only | 8.01 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.50 | 13 | sqm
8.02 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.51 | [52 empty] | 8.02 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.51
8.03 | Double charge vitrified tile polished finish of size | item no.52 | [52 empty] | 8.03 | Double charge vitrified tile polished finish of size | item no.52
8.04 | Size of Tile 600 x 600 mm | item no.53 | 1 | sqm | 1128.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1128 | 1128 | INR One Thousand One Hundred & Twenty Eight Only | 8.04 | Size of Tile 600 x 600 mm | item no.53 | 1 | sqm
8.05 | Glazed Vitrified tiles Matt/Antiskid finish of size | item no.54 | [52 empty] | 8.05 | Glazed Vitrified tiles Matt/Antiskid finish of size | item no.54
8.06 | Size of Tile 600 x 600 mm | item no.55 | 7.1 | sqm | 1149.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8162 | 8162 | INR Eight Thousand One Hundred & Sixty Two Only | 8.06 | Size of Tile 600 x 600 mm | item no.55 | 7.1 | sqm
8.07 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.56 | [52 empty] | 8.07 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.56
8.08 | Size of Tile 600x600 mm | item no.57 | 1 | sqm | 1285.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1286 | 1286 | INR One Thousand Two Hundred & Eighty Six Only | 8.08 | Size of Tile 600x600 mm | item no.57 | 1 | sqm
9 | FINISHING | item no.58 | [52 empty] | 9 | FINISHING | item no.58
9.01 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.59 | [52 empty] | 9.01 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.59
9.02 | 1:6 (1 cement: 6 coarse sand) | item no.60 | 4 | sqm | 297.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1189 | 1189 | INR One Thousand One Hundred & Eighty Nine Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | item no.60 | 4 | sqm
9.03 | 6 mm cement plaster of mix : | item no.61 | [52 empty] | 9.03 | 6 mm cement plaster of mix : | item no.61
9.04 | 1:3 (1 cement : 3 fine sand) | item no.62 | 3 | sqm | 221.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 666 | 666 | INR Six Hundred & Sixty Six Only | 9.04 | 1:3 (1 cement : 3 fine sand) | item no.62 | 3 | sqm
9.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.63 | [52 empty] | 9.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.63
9.06 | Two or more coats on new work | item no.64 | 60 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4879 | 4879 | INR Four Thousand Eight Hundred & Seventy Nine Only | 9.06 | Two or more coats on new work | item no.64 | 60 | sqm
9.07 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.65 | [52 empty] | 9.07 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.65
9.08 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.66 | 5.5 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 923 | 923 | INR Nine Hundred & Twenty Three Only | 9.08 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.66 | 5.5 | sqm
9.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.67 | 60 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6515 | 6515 | INR Six Thousand Five Hundred & Fifteen Only | 9.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.67 | 60 | sqm
9.1 | White washing with lime to give an even shade : | item no.68 | [52 empty] | 9.1 | White washing with lime to give an even shade : | item no.68
9.11 | Old work (two or more coats) | item no.69 | 92 | sqm | 16.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1532 | 1532 | INR One Thousand Five Hundred & Thirty Two Only | 9.11 | Old work (two or more coats) | item no.69 | 92 | sqm
9.12 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.70 | 92 | sqm | 14.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1318 | 1318 | INR One Thousand Three Hundred & Eighteen Only | 9.12 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.70 | 92 | sqm
9.13 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.71 | [52 empty] | 9.13 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.71
9.14 | Old work (one or more coats) | item no.72 | 210 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10458 | 10458 | INR Ten Thousand Four Hundred & Fifty Eight Only | 9.14 | Old work (one or more coats) | item no.72 | 210 | sqm
9.15 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.73 | 60 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1097 | 1097 | INR One Thousand &Ninety Seven Only | 9.15 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.73 | 60 | sqm
9.16 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.74 | [52 empty] | 9.16 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.74
9.17 | One or more coats on old work | item no.75 | 96 | sqm | 75.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7284 | 7284 | INR Seven Thousand Two Hundred & Eighty Four Only | 9.17 | One or more coats on old work | item no.75 | 96 | sqm
9.18 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.76 | [52 empty] | 9.18 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.76
9.19 | Old work (One or more coat applied @ 0.90 ltr/10 sqm). | item no.77 | 17 | sqm | 65.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1114 | 1114 | INR One Thousand One Hundred & Fourteen Only | 9.19 | Old work (One or more coat applied @ 0.90 ltr/10 sqm). | item no.77 | 17 | sqm
10 | REPAIRS TO BUILDING | item no.78 | [52 empty] | 10 | REPAIRS TO BUILDING | item no.78
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.79 | [52 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.79
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.80 | 3.5 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1467 | 1467 | INR One Thousand Four Hundred & Sixty Seven Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.80 | 3.5 | sqm
10.03 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.81 | [52 empty] | 10.03 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.81
10.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.82 | 0.45 | sqm | 825.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 372 | 372 | INR Three Hundred & Seventy Two Only | 10.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.82 | 0.45 | sqm
10.05 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.83 | 1 | each | 285.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 286 | 286 | INR Two Hundred & Eighty Six Only | 10.05 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.83 | 1 | each
11 | Dismantling and Demolishing | item no.84 | [52 empty] | 11 | Dismantling and Demolishing | item no.84
11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.85 | [52 empty] | 11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.85
11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.86 | 0.5 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 880 | 880 | INR Eight Hundred & Eighty Only | 11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.86 | 0.5 | cum
11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.87 | 1.3 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1413 | 1413 | INR One Thousand Four Hundred & Thirteen Only | 11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.87 | 1.3 | cum
11.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.88 | 0.5 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1284 | 1284 | INR One Thousand Two Hundred & Eighty Four Only | 11.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.88 | 0.5 | cum
11.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.89 | [52 empty] | 11.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.89
11.06 | In cement mortar | item no.90 | 0.6 | cum | 1489.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 894 | 894 | INR Eight Hundred & Ninety Four Only | 11.06 | In cement mortar | item no.90 | 0.6 | cum
11.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.91 | [52 empty] | 11.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.91
11.08 | Of area 3 sq. metres and below | item no.92 | 2 | each | 265.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 531 | 531 | INR Five Hundred & Thirty One Only | 11.08 | Of area 3 sq. metres and below | item no.92 | 2 | each
11.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.93 | [52 empty] | 11.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.93
11.1 | Of area 3 sq. metres and below | item no.94 | 1 | each | 103.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 104 | 104 | INR One Hundred & Four Only | 11.1 | Of area 3 sq. metres and below | item no.94 | 1 | each
11.11 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.95 | 41 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1620 | 1620 | INR One Thousand Six Hundred & Twenty Only | 11.11 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.95 | 41 | sqm
12 | SANITARY INSTALLATIONS | item no.96 | [52 empty] | 12 | SANITARY INSTALLATIONS | item no.96
12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.97 | [52 empty] | 12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.97
12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.98 | 1 | each | 5069.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5069 | 5069 | INR Five Thousand &Sixty Nine Only | 12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.98 | 1 | each
12.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.99 | [52 empty] | 12.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.99
12.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.100 | 1 | each | 4858 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4858 | 4858 | INR Four Thousand Eight Hundred & Fifty Eight Only | 12.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.100 | 1 | each
12.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.101 | 2 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1554 | 1554 | INR One Thousand Five Hundred & Fifty Four Only | 12.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.101 | 2 | each
12.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.102 | 2 | each | 5365.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10731 | 10731 | INR Ten Thousand Seven Hundred & Thirty One Only | 12.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.102 | 2 | each
12.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.103 | [52 empty] | 12.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.103
12.08 | Flat back wash basin of size 550x400 mm | item no.104 | 2 | each | 802.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1605 | 1605 | INR One Thousand Six Hundred & Five Only | 12.08 | Flat back wash basin of size 550x400 mm | item no.104 | 2 | each
12.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.105 | 2 | each | 1237.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2475 | 2475 | INR Two Thousand Four Hundred & Seventy Five Only | 12.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.105 | 2 | each
12.1 | Providing and fixing soil, waste and vent pipes : | item no.106 | [52 empty] | 12.1 | Providing and fixing soil, waste and vent pipes : | item no.106
12.11 | 100 mm dia | item no.107 | [52 empty] | 12.11 | 100 mm dia | item no.107
12.12 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item no.108 | 16 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15115 | 15115 | INR Fifteen Thousand One Hundred & Fifteen Only | 12.12 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item no.108 | 16 | metre
12.13 | 75 mm diameter : | item no.109 | [52 empty] | 12.13 | 75 mm diameter : | item no.109
12.14 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item no.110 | 3.6 | metre | 913.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3289 | 3289 | INR Three Thousand Two Hundred & Eighty Nine Only | 12.14 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item no.110 | 3.6 | metre
12.15 | Providing and fixing plain bend of required degree. | item no.111 | [52 empty] | 12.15 | Providing and fixing plain bend of required degree. | item no.111
12.16 | 100 mm dia | item no.112 | [52 empty] | 12.16 | 100 mm dia | item no.112
12.17 | Sand cast iron S&S as per IS : 3989 | item no.113 | 3 | each | 385.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1157 | 1157 | INR One Thousand One Hundred & Fifty Seven Only | 12.17 | Sand cast iron S&S as per IS : 3989 | item no.113 | 3 | each
12.18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.114 | [52 empty] | 12.18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.114
12.19 | 100x100x100 mm | item no.115 | [52 empty] | 12.19 | 100x100x100 mm | item no.115
12.2 | Sand cast iron S&S as per IS - 1729 | item no.116 | 2 | each | 588.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1177 | 1177 | INR One Thousand One Hundred & Seventy Seven Only | 12.2 | Sand cast iron S&S as per IS - 1729 | item no.116 | 2 | each
12.21 | Providing and fixing collar : | item no.117 | [52 empty] | 12.21 | Providing and fixing collar : | item no.117
12.22 | 100 mm | item no.118 | [52 empty] | 12.22 | 100 mm | item no.118
12.23 | Sand cast iron S&S as per IS - 3989 | item no.119 | 2 | each | 385.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 771 | 771 | INR Seven Hundred & Seventy One Only | 12.23 | Sand cast iron S&S as per IS - 3989 | item no.119 | 2 | each
12.24 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.120 | [52 empty] | 12.24 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.120
12.25 | 100 mm | item no.121 | 16 | each | 481.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7711 | 7711 | INR Seven Thousand Seven Hundred & Eleven Only | 12.25 | 100 mm | item no.121 | 16 | each
12.26 | 75 mm | item no.122 | 2 | each | 408.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 818 | 818 | INR Eight Hundred & Eighteen Only | 12.26 | 75 mm | item no.122 | 2 | each
12.27 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : | item no.123 | [52 empty] | 12.27 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : | item no.123
12.28 | 100 mm | item no.124 | 4 | each | 112.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 451 | 451 | INR Four Hundred & Fifty One Only | 12.28 | 100 mm | item no.124 | 4 | each
12.29 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.125 | [52 empty] | 12.29 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.125
12.3 | 100 mm inlet and 100 mm outlet | item no.126 | [52 empty] | 12.3 | 100 mm inlet and 100 mm outlet | item no.126
12.31 | Sand cast iron S&S as per IS: 3989 | item no.127 | 1 | each | 1406.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1406 | 1406 | INR One Thousand Four Hundred & Six Only | 12.31 | Sand cast iron S&S as per IS: 3989 | item no.127 | 1 | each
12.32 | 100 mm inlet and 75 mm outlet | item no.128 | [52 empty] | 12.32 | 100 mm inlet and 75 mm outlet | item no.128
12.33 | Sand cast iron S&S as per IS - 3989 | item no.129 | 2 | each | 1465.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2930 | 2930 | INR Two Thousand Nine Hundred & Thirty Only | 12.33 | Sand cast iron S&S as per IS - 3989 | item no.129 | 2 | each
13 | WATER SUPPLY | item no.130 | [52 empty] | 13 | WATER SUPPLY | item no.130
13.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.131 | [52 empty] | 13.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.131
13.02 | 20 mm nominal dia Pipes | item no.132 | 1.5 | metre | 285.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 428 | 428 | INR Four Hundred & Twenty Eight Only | 13.02 | 20 mm nominal dia Pipes | item no.132 | 1.5 | metre
13.03 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | item no.133 | [52 empty] | 13.03 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | item no.133
13.04 | 20 mm nominal dia Pipes | item no.134 | 18 | metre | 450.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8108 | 8108 | INR Eight Thousand One Hundred & Eight Only | 13.04 | 20 mm nominal dia Pipes | item no.134 | 18 | metre
13.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.135 | [52 empty] | 13.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.135
13.06 | 32 mm dia nominal bore | item no.136 | 1.5 | metre | 401.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 602 | 602 | INR Six Hundred & Two Only | 13.06 | 32 mm dia nominal bore | item no.136 | 1.5 | metre
13.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.137 | [52 empty] | 13.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.137
13.08 | 20 mm nominal bore | item no.138 | 1 | each | 404.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 405 | 405 | INR Four Hundred & Five Only | 13.08 | 20 mm nominal bore | item no.138 | 1 | each
13.09 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.139 | [52 empty] | 13.09 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.139
13.1 | 45 cm length | item no.140 | [52 empty] | 13.1 | 45 cm length | item no.140
13.11 | 15 mm nominal bore | item no.141 | 8 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 598 | 598 | INR Five Hundred & Ninety Eight Only | 13.11 | 15 mm nominal bore | item no.141 | 8 | each
13.12 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.142 | [52 empty] | 13.12 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.142
13.13 | 20 mm nominal bore | item no.143 | 1 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 253 | 253 | INR Two Hundred & Fifty Three Only | 13.13 | 20 mm nominal bore | item no.143 | 1 | each
13.14 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.144 | [52 empty] | 13.14 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.144
13.15 | 15 mm nominal bore | item no.145 | 3 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1142 | 1142 | INR One Thousand One Hundred & Forty Two Only | 13.15 | 15 mm nominal bore | item no.145 | 3 | each
13.16 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.146 | [52 empty] | 13.16 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.146
13.17 | 15 mm nominal bore | item no.147 | 1 | each | 626.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 627 | 627 | INR Six Hundred & Twenty Seven Only | 13.17 | 15 mm nominal bore | item no.147 | 1 | each
13.18 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.148 | [52 empty] | 13.18 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.148
13.19 | 15 mm nominal bore | item no.149 | 2 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1043 | 1043 | INR One Thousand &Forty Three Only | 13.19 | 15 mm nominal bore | item no.149 | 2 | each
13.2 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.150 | [52 empty] | 13.2 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.150
13.21 | 15mm nominal bore | item no.151 | 12 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5265 | 5265 | INR Five Thousand Two Hundred & Sixty Five Only | 13.21 | 15mm nominal bore | item no.151 | 12 | each
13.22 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.152 | 8 | each | 54.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 433 | 433 | INR Four Hundred & Thirty Three Only | 13.22 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.152 | 8 | each
13.23 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.153 | [52 empty] | 13.23 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.153
13.24 | With common burnt clay F.P.S. (non modular) bricks | item no.154 | 2 | each | 317.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 636 | 636 | INR Six Hundred & Thirty Six Only | 13.24 | With common burnt clay F.P.S. (non modular) bricks | item no.154 | 2 | each
13.25 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.155 | 6 | metre | 150.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 904 | 904 | INR Nine Hundred & Four Only | 13.25 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.155 | 6 | metre
14 | MINOR CIVIL MAINTENANCE WORK | item no.156 | [52 empty] | 14 | MINOR CIVIL MAINTENANCE WORK | item no.156
14.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.157 | 0.7 | Cum | 4985.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3490 | 3490 | INR Three Thousand Four Hundred & Ninety Only | 14.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.157 | 0.7 | Cum
14.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.158 | 2 | Each | 457.51 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 915 | 915 | INR Nine Hundred & Fifteen Only | 14.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.158 | 2 | Each
14.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.159 | 5 | Each | 51.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 258 | 258 | INR Two Hundred & Fifty Eight Only | 14.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.159 | 5 | Each
14.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.160 | 17 | Each | 29.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 498 | 498 | INR Four Hundred & Ninety Eight Only | 14.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.160 | 17 | Each
14.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.161 | 2 | Each | 504.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1009 | 1009 | INR One Thousand &Nine Only | 14.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.161 | 2 | Each
14.06 | """Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." | item no.162 | 1.9 | Sqm | 1972.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3747 | 3747 | INR Three Thousand Seven Hundred & Forty Seven Only | 14.06 | """Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." | item no.162 | 1.9 | Sqm
14.07 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.163 | 35 | Sqm | 155.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5453 | 5453 | INR Five Thousand Four Hundred & Fifty Three Only | 14.07 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.163 | 35 | Sqm
14.08 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.164 | 1 | Each | 293.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293 | 293 | INR Two Hundred & Ninety Three Only | 14.08 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.164 | 1 | Each
14.09 | "P/F 1.50mm thick homogeneous polyvinyl chloride sheet/tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dualpo S-758 , Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer -in -charge in approved colour and shade. | item no.165 | 4.25 | Sqm | 542.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2307 | 2307 | INR Two Thousand Three Hundred & Seven Only | 14.09 | "P/F 1.50mm thick homogeneous polyvinyl chloride sheet/tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dualpo S-758 , Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer -in -charge in approved colour and shade. | item no.165 | 4.25 | Sqm
14.1 | "Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only " | item no.166 | 2 | Each | 2053.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4106 | 4106 | INR Four Thousand One Hundred & Six Only | 14.1 | "Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only " | item no.166 | 2 | Each
14.11 | "Providing and fixing aluminum door seal in door i/c necessary screw etc complete. " | item no.167 | 2 | Metre | 181.85 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 364 | 364 | INR Three Hundred & Sixty Four Only | 14.11 | "Providing and fixing aluminum door seal in door i/c necessary screw etc complete. " | item no.167 | 2 | Metre
14.12 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete.12 x12 mm beading | item no.168 | 0.5 | Sqm | 803.15 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 402 | 402 | INR Four Hundred & Two Only | 14.12 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete.12 x12 mm beading | item no.168 | 0.5 | Sqm
14.13 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.169 | 2 | Each | 815.75 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1632 | 1632 | INR One Thousand Six Hundred & Thirty Two Only | 14.13 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.169 | 2 | Each
14.14 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. " | item no.170 | 1 | One Job | 119382.72 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119383 | 119383 | INR One Lakh Nineteen Thousand Three Hundred & Eighty Three Only | 14.14 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. " | item no.170 | 1 | One Job
Total in Figures | [51 empty] | 360112 | 360112 | Three Lakh Sixty Thousand One Hundred & Twelve Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information