## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house no 330.
Contract No: 19/C/D2/2022-23/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | item no.1 | [52 empty] | 1 | Carriage of Materials | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 2.02 | cum | 143.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 289 | 289 | INR Two Hundred & Eighty Nine Only | 1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 2.02 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CEMENT CONCRETE (CAST IN SITU) | item no.4 | [52 empty] | 2 | CEMENT CONCRETE (CAST IN SITU) | item no.4
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 0.1 | cum | 6457.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 646 | 646 | INR Six Hundred & Forty Six Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 0.1 | cum
2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.7 | 8.5 | sqm | 597.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5080 | 5080 | INR Five Thousand &Eighty Only | 2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.7 | 8.5 | sqm
3 | REINFORCED CEMENT CONCRETE | item no.8 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.9 | 0.15 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1410 | 1410 | INR One Thousand Four Hundred & Ten Only | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.9 | 0.15 | cum
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.10 | [52 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | Shelves (Cast in situ) | item no.11 | 2.65 | sqm | 672.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1781 | 1781 | INR One Thousand Seven Hundred & Eighty One Only | 3.03 | Shelves (Cast in situ) | item no.11 | 2.65 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.12 | [52 empty] | 3.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.12
3.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.13 | 24.5 | kg | 78.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1926 | 1926 | INR One Thousand Nine Hundred & Twenty Six Only | 3.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.13 | 24.5 | kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.06 | MASONRY WORK | item no.14 | [52 empty] | 3.06 | MASONRY WORK | item no.14
3.07 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.15 | [52 empty] | 3.07 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.15
3.08 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.16 | 0.31 | cum | 7267.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2253 | 2253 | INR Two Thousand Two Hundred & Fifty Three Only | 3.08 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.16 | 0.31 | cum
3.09 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.17 | 8 | metre | 48.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 391 | 391 | INR Three Hundred & Ninety One Only | 3.09 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.17 | 8 | metre
5 | CLADDING WORK | item no.18 | [52 empty] | 5 | CLADDING WORK | item no.18
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19 | [52 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19
5.02 | Granite stone slab colour black, Cherry/Ruby red | item no.20 | [52 empty] | 5.02 | Granite stone slab colour black, Cherry/Ruby red | item no.20
5.03 | Area of slab over 0.50 sqm | item no.21 | 1.9 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7372 | 7372 | INR Seven Thousand Three Hundred & Seventy Two Only | 5.03 | Area of slab over 0.50 sqm | item no.21 | 1.9 | sqm
5.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 8.2 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7646 | 7646 | INR Seven Thousand Six Hundred & Forty Six Only | 5.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 8.2 | sqm
6 | WOOD AND P. V. C. WORK | item no.23 | [52 empty] | 6 | WOOD AND P. V. C. WORK | item no.23
6.01 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.24 | [52 empty] | 6.01 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.24
6.02 | 250x16 mm | item no.25 | 1 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 206 | 206 | INR Two Hundred & Six Only | 6.02 | 250x16 mm | item no.25 | 1 | each
6.03 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.26 | [52 empty] | 6.03 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.26
6.04 | Twin rubber stopper | item no.27 | 14 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 764 | 764 | INR Seven Hundred & Sixty Four Only | 6.04 | Twin rubber stopper | item no.27 | 14 | each
6.05 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.28 | [52 empty] | 6.05 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.28
6.06 | With 2nd class teak wood beading 62X19 mm | item no.29 | 15.5 | sqm | 1231.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19084 | 19084 | INR Nineteen Thousand &Eighty Four Only | 6.06 | With 2nd class teak wood beading 62X19 mm | item no.29 | 15.5 | sqm
7 | FLOORING | item no.30 | [52 empty] | 7 | FLOORING | item no.30
7.01 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.31 | 1.76 | sqm | 822.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1448 | 1448 | INR One Thousand Four Hundred & Forty Eight Only | 7.01 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.31 | 1.76 | sqm
7.02 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.32 | [52 empty] | 7.02 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.32
7.03 | Double charge vitrified tile polished finish of size | item no.33 | [52 empty] | 7.03 | Double charge vitrified tile polished finish of size | item no.33
7.04 | Size of Tile 600 x 600 mm | item no.34 | 94.5 | sqm | 1128.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 106605 | 106605 | INR One Lakh Six Thousand Six Hundred & Five Only | 7.04 | Size of Tile 600 x 600 mm | item no.34 | 94.5 | sqm
7.05 | Glazed Vitrified tiles Matt/Antiskid finish of size | item no.35 | [52 empty] | 7.05 | Glazed Vitrified tiles Matt/Antiskid finish of size | item no.35
7.06 | Size of Tile 600 x 600 mm | item no.36 | 5.3 | sqm | 1149.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6093 | 6093 | INR Six Thousand &Ninety Three Only | 7.06 | Size of Tile 600 x 600 mm | item no.36 | 5.3 | sqm
7.07 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.37 | [52 empty] | 7.07 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.37
7.08 | Size of Tile 600x600 mm | item no.38 | 11.25 | sqm | 1285.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14466 | 14466 | INR Fourteen Thousand Four Hundred & Sixty Six Only | 7.08 | Size of Tile 600x600 mm | item no.38 | 11.25 | sqm
8 | FINISHING | item no.39 | [52 empty] | 8 | FINISHING | item no.39
8.01 | 12 mm cement plaster of mix : | item no.40 | [52 empty] | 8.01 | 12 mm cement plaster of mix : | item no.40
8.02 | 1:6 (1 cement: 6 coarse sand) | item no.41 | 2.9 | sqm | 258.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 748 | 748 | INR Seven Hundred & Forty Eight Only | 8.02 | 1:6 (1 cement: 6 coarse sand) | item no.41 | 2.9 | sqm
8.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.42 | [52 empty] | 8.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.42
8.04 | 1:6 (1 cement: 6 coarse sand) | item no.43 | 5.6 | sqm | 297.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1665 | 1665 | INR One Thousand Six Hundred & Sixty Five Only | 8.04 | 1:6 (1 cement: 6 coarse sand) | item no.43 | 5.6 | sqm
8.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.44 | [52 empty] | 8.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.44
8.06 | 1:4 (1 cement: 4 fine sand) | item no.45 | 1 | sqm | 356.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356 | 356 | INR Three Hundred & Fifty Six Only | 8.06 | 1:4 (1 cement: 4 fine sand) | item no.45 | 1 | sqm
8.07 | 6 mm cement plaster of mix : | item no.46 | [52 empty] | 8.07 | 6 mm cement plaster of mix : | item no.46
8.08 | 1:3 (1 cement : 3 fine sand) | item no.47 | 2.35 | sqm | 221.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 521 | 521 | INR Five Hundred & Twenty One Only | 8.08 | 1:3 (1 cement : 3 fine sand) | item no.47 | 2.35 | sqm
8.09 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.48 | [52 empty] | 8.09 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.48
8.1 | Two or more coats on new work | item no.49 | 41.5 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3375 | 3375 | INR Three Thousand Three Hundred & Seventy Five Only | 8.1 | Two or more coats on new work | item no.49 | 41.5 | sqm
8.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.50 | 41.5 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4506 | 4506 | INR Four Thousand Five Hundred & Six Only | 8.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.50 | 41.5 | sqm
8.12 | White washing with lime to give an even shade : | item no.51 | [52 empty] | 8.12 | White washing with lime to give an even shade : | item no.51
8.13 | Old work (two or more coats) | item no.52 | 96.92 | sqm | 16.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1614 | 1614 | INR One Thousand Six Hundred & Fourteen Only | 8.13 | Old work (two or more coats) | item no.52 | 96.92 | sqm
8.14 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.53 | 97 | sqm | 14.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1390 | 1390 | INR One Thousand Three Hundred & Ninety Only | 8.14 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.53 | 97 | sqm
8.15 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.54 | [52 empty] | 8.15 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.54
8.16 | Old work (one or more coats) | item no.55 | 304 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15139 | 15139 | INR Fifteen Thousand One Hundred & Thirty Nine Only | 8.16 | Old work (one or more coats) | item no.55 | 304 | sqm
8.17 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.56 | 41.5 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 759 | 759 | INR Seven Hundred & Fifty Nine Only | 8.17 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.56 | 41.5 | sqm
8.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.57 | [52 empty] | 8.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.57
8.19 | One or more coats on old work | item no.58 | 131.8 | sqm | 75.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10001 | 10001 | INR Ten Thousand &One Only | 8.19 | One or more coats on old work | item no.58 | 131.8 | sqm
8.2 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.59 | [52 empty] | 8.2 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.59
8.21 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item no.60 | 21.5 | sqm | 64.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1397 | 1397 | INR One Thousand Three Hundred & Ninety Seven Only | 8.21 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item no.60 | 21.5 | sqm
9 | REPAIRS TO BUILDING | item no.61 | [52 empty] | 9 | REPAIRS TO BUILDING | item no.61
9.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.62 | [52 empty] | 9.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.62
9.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.63 | 1.95 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 817 | 817 | INR Eight Hundred & Seventeen Only | 9.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.63 | 1.95 | sqm
9.03 | Renewing glass panes, with wooden fillets wherever necessary: | item no.64 | [52 empty] | 9.03 | Renewing glass panes, with wooden fillets wherever necessary: | item no.64
9.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.65 | 1.2 | sqm | 1184.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1422 | 1422 | INR One Thousand Four Hundred & Twenty Two Only | 9.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.65 | 1.2 | sqm
9.05 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.66 | 99.8 | sqm | 2.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 249 | 249 | INR Two Hundred & Forty Nine Only | 9.05 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.66 | 99.8 | sqm
9.06 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.67 | 14 | each | 285.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4001 | 4001 | INR Four Thousand &One Only | 9.06 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.67 | 14 | each
10 | Dismantling and Demolishing | item no.68 | [52 empty] | 10 | Dismantling and Demolishing | item no.68
10.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.69 | [52 empty] | 10.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.69
10.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.70 | 0.08 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 141 | 141 | INR One Hundred & Forty One Only | 10.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.70 | 0.08 | cum
10.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.71 | 0.13 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 141 | 141 | INR One Hundred & Forty One Only | 10.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.71 | 0.13 | cum
10.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.72 | 0.23 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590 | 590 | INR Five Hundred & Ninety Only | 10.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.72 | 0.23 | cum
10.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.73 | [52 empty] | 10.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.73
10.06 | In cement mortar | item no.74 | 0.27 | cum | 1489.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 402 | 402 | INR Four Hundred & Two Only | 10.06 | In cement mortar | item no.74 | 0.27 | cum
10.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.75 | [52 empty] | 10.07 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.75
10.08 | Of area 3 sq. metres and below | item no.76 | 1 | each | 265.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 265 | 265 | INR Two Hundred & Sixty Five Only | 10.08 | Of area 3 sq. metres and below | item no.76 | 1 | each
10.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.77 | [52 empty] | 10.09 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.77
10.1 | Of area 3 sq. metres and below | item no.78 | 1 | each | 103.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 104 | 104 | INR One Hundred & Four Only | 10.1 | Of area 3 sq. metres and below | item no.78 | 1 | each
10.11 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.79 | 21.19 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 837 | 837 | INR Eight Hundred & Thirty Seven Only | 10.11 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.79 | 21.19 | sqm
11 | SANITARY INSTALLATIONS | item no.80 | [52 empty] | 11 | SANITARY INSTALLATIONS | item no.80
11.01 | Providing and fixing white vitreous china water closet squatting pan (Indian type) : | item no.81 | [52 empty] | 11.01 | Providing and fixing white vitreous china water closet squatting pan (Indian type) : | item no.81
11.02 | Orissa pattern W.C. pan of size 580x440 mm | item no.82 | 1 | each | 2418.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2418 | 2418 | INR Two Thousand Four Hundred & Eighteen Only | 11.02 | Orissa pattern W.C. pan of size 580x440 mm | item no.82 | 1 | each
11.03 | Providing and fixing white vitreous china pedestal type (European type/ wash down type) water closet pan. | item no.83 | 1 | each | 2107.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2108 | 2108 | INR Two Thousand One Hundred & Eight Only | 11.03 | Providing and fixing white vitreous china pedestal type (European type/ wash down type) water closet pan. | item no.83 | 1 | each
11.04 | Providing and fixing solid plastic seat with lid for pedestal type W.C. pan complete : | item no.84 | [52 empty] | 11.04 | Providing and fixing solid plastic seat with lid for pedestal type W.C. pan complete : | item no.84
11.05 | White solid plastic seat with lid | item no.85 | 1 | each | 514.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 514 | 514 | INR Five Hundred & Fourteen Only | 11.05 | White solid plastic seat with lid | item no.85 | 1 | each
11.06 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.86 | 2 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1554 | 1554 | INR One Thousand Five Hundred & Fifty Four Only | 11.06 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.86 | 2 | each
11.07 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.87 | 1 | each | 5365.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5365 | 5365 | INR Five Thousand Three Hundred & Sixty Five Only | 11.07 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.87 | 1 | each
11.08 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.88 | [52 empty] | 11.08 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.88
11.09 | Flat back wash basin of size 550x400 mm | item no.89 | 2 | each | 802.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1605 | 1605 | INR One Thousand Six Hundred & Five Only | 11.09 | Flat back wash basin of size 550x400 mm | item no.89 | 2 | each
11.1 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.90 | 2 | each | 1237.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2475 | 2475 | INR Two Thousand Four Hundred & Seventy Five Only | 11.1 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.90 | 2 | each
12 | WATER SUPPLY | item no.91 | [52 empty] | 12 | WATER SUPPLY | item no.91
12.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.92 | [52 empty] | 12.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.92
12.02 | 20 mm nominal dia Pipes | item no.93 | 1 | metre | 285.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 285 | 285 | INR Two Hundred & Eighty Five Only | 12.02 | 20 mm nominal dia Pipes | item no.93 | 1 | metre
12.03 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | item no.94 | [52 empty] | 12.03 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | item no.94
12.04 | 20 mm nominal dia Pipes | item no.95 | 7.2 | metre | 450.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3243 | 3243 | INR Three Thousand Two Hundred & Forty Three Only | 12.04 | 20 mm nominal dia Pipes | item no.95 | 7.2 | metre
12.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.96 | [52 empty] | 12.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.96
12.06 | 32 mm dia nominal bore | item no.97 | 0.6 | metre | 401.31 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 241 | 241 | INR Two Hundred & Forty One Only | 12.06 | 32 mm dia nominal bore | item no.97 | 0.6 | metre
12.07 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.98 | [52 empty] | 12.07 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.98
12.08 | 45 cm length | item no.99 | [52 empty] | 12.08 | 45 cm length | item no.99
12.09 | 15 mm nominal bore | item no.100 | 6 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 448 | 448 | INR Four Hundred & Forty Eight Only | 12.09 | 15 mm nominal bore | item no.100 | 6 | each
12.1 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.101 | [52 empty] | 12.1 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.101
12.11 | 15 mm nominal bore | item no.102 | 2 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 761 | 761 | INR Seven Hundred & Sixty One Only | 12.11 | 15 mm nominal bore | item no.102 | 2 | each
12.12 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.103 | [52 empty] | 12.12 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. | item no.103
12.13 | 15 mm nominal bore | item no.104 | 1 | each | 626.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 627 | 627 | INR Six Hundred & Twenty Seven Only | 12.13 | 15 mm nominal bore | item no.104 | 1 | each
12.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.105 | [52 empty] | 12.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.105
12.15 | 15mm nominal bore | item no.106 | 9 | each | 438.71 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3948 | 3948 | INR Three Thousand Nine Hundred & Forty Eight Only | 12.15 | 15mm nominal bore | item no.106 | 9 | each
12.16 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.107 | 11 | each | 54.09 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 595 | 595 | INR Five Hundred & Ninety Five Only | 12.16 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.107 | 11 | each
12.17 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.108 | [52 empty] | 12.17 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.108
12.18 | With common burnt clay F.P.S. (non modular) bricks | item no.109 | 1 | each | 317.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 318 | 318 | INR Three Hundred & Eighteen Only | 12.18 | With common burnt clay F.P.S. (non modular) bricks | item no.109 | 1 | each
12.19 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.110 | 1 | each | 330.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 331 | 331 | INR Three Hundred & Thirty One Only | 12.19 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.110 | 1 | each
12.2 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.111 | 6.06 | metre | 150.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 913 | 913 | INR Nine Hundred & Thirteen Only | 12.2 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.111 | 6.06 | metre
13 | DRAINAGE | item no.112 | [52 empty] | 13 | DRAINAGE | item no.112
13.01 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.113 | [52 empty] | 13.01 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.113
13.02 | For pipes 100 to 250 mm diameter | item no.114 | 1 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 599 | 599 | INR Five Hundred & Ninety Nine Only | 13.02 | For pipes 100 to 250 mm diameter | item no.114 | 1 | each
14 | ALUMINIUM WORK | item no.115 | [52 empty] | 14 | ALUMINIUM WORK | item no.115
14.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.116 | [52 empty] | 14.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.116
14.02 | For fixed portion | item no.117 | [52 empty] | 14.02 | For fixed portion | item no.117
14.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.118 | 77 | kg | 408.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31481 | 31481 | INR Thirty One Thousand Four Hundred & Eighty One Only | 14.03 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.118 | 77 | kg
14.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.119 | [52 empty] | 14.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.119
14.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.120 | 130 | kg | 495.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64379 | 64379 | INR Sixty Four Thousand Three Hundred & Seventy Nine Only | 14.05 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.120 | 130 | kg
15 | MINOR CIVIL MAINTENANCE WORK | item no.121 | [52 empty] | 15 | MINOR CIVIL MAINTENANCE WORK | item no.121
15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.122 | 0.13 | Cum | 4985.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 648 | 648 | INR Six Hundred & Forty Eight Only | 15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.122 | 0.13 | Cum
15.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.123 | 2 | Each | 457.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 915 | 915 | INR Nine Hundred & Fifteen Only | 15.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.123 | 2 | Each
15.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.124 | 4 | Each | 51.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 206 | 206 | INR Two Hundred & Six Only | 15.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.124 | 4 | Each
15.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.125 | 11 | Each | 29.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 323 | 323 | INR Three Hundred & Twenty Three Only | 15.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.125 | 11 | Each
15.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.126 | 1 | Each | 504.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 504 | 504 | INR Five Hundred & Four Only | 15.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.126 | 1 | Each
15.06 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.127 | 8.2 | Sqm | 155.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1278 | 1278 | INR One Thousand Two Hundred & Seventy Eight Only | 15.06 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.127 | 8.2 | Sqm
15.07 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.128 | 1 | Each | 293.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293 | 293 | INR Two Hundred & Ninety Three Only | 15.07 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.128 | 1 | Each
15.08 | "Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only " | item no.129 | 1 | Each | 2053.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2053 | 2053 | INR Two Thousand &Fifty Three Only | 15.08 | "Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only " | item no.129 | 1 | Each
15.09 | "Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. " | item no.130 | 1 | Each | 1125.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1126 | 1126 | INR One Thousand One Hundred & Twenty Six Only | 15.09 | "Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. " | item no.130 | 1 | Each
15.1 | "Providing and fixing aluminum door seal in door i/c necessary screw etc complete. " | item no.131 | 2 | Metre | 181.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 364 | 364 | INR Three Hundred & Sixty Four Only | 15.1 | "Providing and fixing aluminum door seal in door i/c necessary screw etc complete. " | item no.131 | 2 | Metre
15.11 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.132 | 2 | Each | 815.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1632 | 1632 | INR One Thousand Six Hundred & Thirty Two Only | 15.11 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.132 | 2 | Each
15.12 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. " | item no.133 | 1 | One Job | 119382.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119383 | 119383 | INR One Lakh Nineteen Thousand Three Hundred & Eighty Three Only | 15.12 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. " | item no.133 | 1 | One Job
15.13 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | item no.134 | 31 | Each | 325.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10082 | 10082 | INR Ten Thousand &Eighty Two Only | 15.13 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | item no.134 | 31 | Each
15.14 | "Providing and fixing C.P waste 32 mm nominal bore for china sink or wash basin (L&K) make. | item no.135 | 2 | Each | 305 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 610 | 610 | INR Six Hundred & Ten Only | 15.14 | "Providing and fixing C.P waste 32 mm nominal bore for china sink or wash basin (L&K) make. | item no.135 | 2 | Each
Total in Figures | [51 empty] | 491525 | 491525 | Four Lakh Ninety One Thousand Five Hundred & Twenty Five Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information