## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer IWD IIT Kanpur
Name of Work: Modification/ renovation of electrical installation of vacate house no. 510 Type-V.
Contract No: 02/Elect/2022/45 dated 25.04.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. | Item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Group 'B' | item2 | 48 | points | 392 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18816 | 18816 | INR Eighteen Thousand Eight Hundred & Sixteen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item3 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | 1 x 1.5 Sq.mm.. | item4 | 100 | Mtr. | 25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2500 | 2500 | INR Two Thousand Five Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.2 | 3 x 1.5 Sq.mm.. | item5 | 150 | Mtr. | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7050 | 7050 | INR Seven Thousand &Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.3 | 3 x 4 Sq.mm.. | Item6 | 100 | Mtr. | 103 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10300 | 10300 | INR Ten Thousand Three Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supplying and drawing telephone cable of 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | Item7 | 60 | Mtr. | 18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1080 | 1080 | INR One Thousand &Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | S & F metal box of following sizes ( nominal size ) on surface or in recess with suitable size of phenolic laminated sheet cover in the front I/c painting etc as reqd. | Item8 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.1 | 250 mm x 300 mm x 100 mm deep | Item9 | 1 | Nos. | 408 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 408 | 408 | INR Four Hundred & Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | Item10 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.1 | 5/6 Amp switch | Item11 | 79 | Nos. | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5925 | 5925 | INR Five Thousand Nine Hundred & Twenty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.2 | 2 way 5/6 amps switch | Item12 | 10 | Nos. | 108 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1080 | 1080 | INR One Thousand &Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.3 | 15/16 Amp. switch | Item13 | 11 | Nos. | 116 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1276 | 1276 | INR One Thousand Two Hundred & Seventy Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.4 | 3 Pin 5/6 Amp. socket outlet | Item14 | 31 | Nos. | 97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3007 | 3007 | INR Three Thousand &Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.5 | 6 Pin 15/16 Amp. socket outlet. | Item15 | 11 | Nos. | 153 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1683 | 1683 | INR One Thousand Six Hundred & Eighty Three Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.6 | Bell Push | Item16 | 1 | Nos. | 110 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110 | 110 | INR One Hundred & Ten Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.7 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required | Item17 | 6 | Nos. | 300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1800 | 1800 | INR One Thousand Eight Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.8 | Blanking plate | Item18 | 10 | Nos. | 28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 280 | 280 | INR Two Hundred & Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supplying and fixing 3 pin, 5 amp. Ceiling rose on the existing junction box/ wooden block including connection etc. as reqd. | Item19 | 30 | Nos. | 57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1710 | 1710 | INR One Thousand Seven Hundred & Ten Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | Item20 | 17 | Nos. | 103 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1751 | 1751 | INR One Thousand Seven Hundred & Fifty One Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supplying and fixing call bell/ buzzer suitable for single phase,230 V, complete as required. | Item21 | 1 | Nos. | 81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81 | 81 | INR Eighty One Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | S & F following size/modules, GI box along with modular base and cover plate for modular switches in recess etc.as required. | Item22 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.1 | 1/2 module | Item23 | 50 | Nos. | 213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10650 | 10650 | INR Ten Thousand Six Hundred & Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.2 | 3 module | Item24 | 6 | Nos. | 234 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1404 | 1404 | INR One Thousand Four Hundred & Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.3 | 4 module | Item25 | 10 | Nos. | 253 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2530 | 2530 | INR Two Thousand Five Hundred & Thirty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.4 | 6 module | Item26 | 12 | Nos. | 292 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3504 | 3504 | INR Three Thousand Five Hundred & Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.5 | 8 module | Item27 | 15 | Nos. | 336 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5040 | 5040 | INR Five Thousand &Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.6 | 12module | Item28 | 6 | Nos. | 381 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2286 | 2286 | INR Two Thousand Two Hundred & Eighty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). | Item29 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.1 | 16-way , Double door | Item30 | 1 | Nos. | 2151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2151 | 2151 | INR Two Thousand One Hundred & Fifty One Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | Item31 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.1 | Single Pole | Item32 | 16 | Nos. | 174 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2784 | 2784 | INR Two Thousand Seven Hundred & Eighty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | S & F following rating double pole (single phase & neutral) 240 volts RCCB (ELCB), having sensivity current up to 30 mA in the existing MCB DB complete with connection,testing & commissioning etc as reqd. | Item33 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.1 | 63 Amp | Item34 | 1 | Nos. | 2315 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2315 | 2315 | INR Two Thousand Three Hundred & Fifteen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Earthing with G.I earth pipe 4.5 mtr long. 40 mm dia incluuding acessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal and salt as required. | Item35 | 1 | Set | 4654 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4654 | 4654 | INR Four Thousand Six Hundred & Fifty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | P & F 25 mm x 5 mm GI strip in 40 mm dia GI pipe from earth electrode with GI nut , bolt,spring washer excavation and refilling etc. as reqd. | Item36 | 10 | Mtr | 424 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4240 | 4240 | INR Four Thousand Two Hundred & Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | Item37 | 2 | Nos. | 70 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 140 | 140 | INR One Hundred & Forty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | Item38 | 120 | Mtr. | 17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2040 | 2040 | INR Two Thousand &Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | S & F wood board of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in the front etc as reqd. | Item39 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.1 | 100 mm x 100 mm | Item40 | 20 | Nos. | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2600 | 2600 | INR Two Thousand Six Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | Item41 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.1 | 20 x 12 mm | Item42 | 50 | Mtr. | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3400 | 3400 | INR Three Thousand Four Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.2 | 25 x 16 mm | Item43 | 100 | Mtr. | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7500 | 7500 | INR Seven Thousand Five Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.3 | 32x 16 mm | Item44 | 80 | Mtr. | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6560 | 6560 | INR Six Thousand Five Hundred & Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19 | Dismentaling of wood board of any size on surface or in recessed etc as reqd. | Item45 | 20 | Nos. | 67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1340 | 1340 | INR One Thousand Three Hundred & Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20 | Dismantling damaged DB/TPN Switches/ loose wire boxes along with all accessories and depositing the same in the store as reqd. | Item46 | 1 | Nos. | 326 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 326 | 326 | INR Three Hundred & Twenty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | Item47 | 300 | Sq.cm | 0.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 168 | 168 | INR One Hundred & Sixty Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
22 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweep 220 volts without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. | Item48 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.1 | 1200 mm | Item49 | 4 | Nos | 2684 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10736 | 10736 | INR Ten Thousand Seven Hundred & Thirty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22.2 | 1400mm | Item50 | 2 | Nos. | 2863 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5726 | 5726 | INR Five Thousand Seven Hundred & Twenty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | Supplying fiixing erection of wall bracket/ceiling fittings of all sizes and shapes containing upto two GLS lamps per fitting complete with all acessories includng connecting etc as requred (without Lamp) | Item51 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
23.1 | Drum light 03 PV | Item52 | 3 | Nos. | 991 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2973 | 2973 | INR Two Thousand Nine Hundred & Seventy Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23.2 | Wall bracket 0533 | Item53 | 5 | Nos. | 1393 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6965 | 6965 | INR Six Thousand Nine Hundred & Sixty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23.3 | bulkhead for 60w gls LAMP | Item54 | 5 | Nos. | 447 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2235 | 2235 | INR Two Thousand Two Hundred & Thirty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. ( legrand) | Item55 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24.1 | Double pole | Item56 | 1 | Nos. | 1187 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1187 | 1187 | INR One Thousand One Hundred & Eighty Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 154311 | 154311 | INR One Lakh Fifty Four Thousand Three Hundred & Eleven Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information