## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer
Name of Work: Modification/Renovation of Electrical Installation of vacate house no-617, 650 Type-VI at IIT Kanpur.
Contract No: 104/IWD/ED/832 Dated: 09.03.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item1 | [52 empty] | 1 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Group B | item2 | 52 | Point | 391.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20379.84 | 20379.84 | INR Twenty Thousand Three Hundred & Seventy Nine and Paise Eighty Four Only | 1.1 | Group B | item2 | 52 | Point | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supplying and drawing following sizes of FR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/ PVC truncking as required. | item3 | [52 empty] | 2 | Supplying and drawing following sizes of FR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/ PVC truncking as required. | item3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | 1 x 1.5 sq. mm | item4 | 150 | Mtr. | 25.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3783 | 3783 | INR Three Thousand Seven Hundred & Eighty Three Only | 2.1 | 1 x 1.5 sq. mm | item4 | 150 | Mtr. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.2 | 3 x 1.5 sq. mm | item5 | 250 | Mtr. | 47.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11910 | 11910 | INR Eleven Thousand Nine Hundred & Ten Only | 2.2 | 3 x 1.5 sq. mm | item5 | 250 | Mtr. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.3 | 3 x 4 sq. mm | item6 | 300 | Mtr. | 102.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30663 | 30663 | INR Thirty Thousand Six Hundred & Sixty Three Only | 2.3 | 3 x 4 sq. mm | item6 | 300 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item7 | [52 empty] | 3 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item7 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.1 | 5/6 amp switch | item8 | 140 | Each | 74.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10434.2 | 10434.2 | INR Ten Thousand Four Hundred & Thirty Four and Paise Twenty Only | 3.1 | 5/6 amp switch | item8 | 140 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.2 | 2 way 5/6 amp switch | item9 | 8 | Each | 107.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 862.8 | 862.8 | INR Eight Hundred & Sixty Two and Paise Eighty Only | 3.2 | 2 way 5/6 amp switch | item9 | 8 | Each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.3 | 3 pin 5/6 amp socket outlet | item10 | 60 | Each | 97.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5839.8 | 5839.8 | INR Five Thousand Eight Hundred & Thirty Nine and Paise Eighty Only | 3.3 | 3 pin 5/6 amp socket outlet | item10 | 60 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.4 | 15/16 amp switch | item11 | 24 | Each | 115.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2777.76 | 2777.76 | INR Two Thousand Seven Hundred & Seventy Seven and Paise Seventy Six Only | 3.4 | 15/16 amp switch | item11 | 24 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.5 | 6 pin 15/16 amp socket outlet | item12 | 24 | Each | 153.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3682.56 | 3682.56 | INR Three Thousand Six Hundred & Eighty Two and Paise Fifty Six Only | 3.5 | 6 pin 15/16 amp socket outlet | item12 | 24 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.6 | Telephone socket outlet/ jack outlet | item13 | 4 | Each | 104.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 417.36 | 417.36 | INR Four Hundred & Seventeen and Paise Thirty Six Only | 3.6 | Telephone socket outlet/ jack outlet | item13 | 4 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.7 | Bell push | item14 | 2 | Each | 110.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 220.96 | 220.96 | INR Two Hundred & Twenty and Paise Ninety Six Only | 3.7 | Bell push | item14 | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweep 220 volts without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. | item15 | [52 empty] | 4 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweep 220 volts without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. | item15 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.1 | 1200 mm | item16 | 7 | Each | 2686.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18805.78 | 18805.78 | INR Eighteen Thousand Eight Hundred & Five and Paise Seventy Eight Only | 4.1 | 1200 mm | item16 | 7 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.2 | 1400 mm | item17 | 4 | Each | 2865.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11461.64 | 11461.64 | INR Eleven Thousand Four Hundred & Sixty One and Paise Sixty Four Only | 4.2 | 1400 mm | item17 | 4 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | item18 | 12 | Each | 299.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3598.08 | 3598.08 | INR Three Thousand Five Hundred & Ninety Eight and Paise Eight Only | 5 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | item18 | 12 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supplying and fixing following size/ modules, GI/PVC box alongwith modular base & cover plate for modular switches in recess etc as required. | item19 | [52 empty] | 6 | Supplying and fixing following size/ modules, GI/PVC box alongwith modular base & cover plate for modular switches in recess etc as required. | item19 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.1 | 1 or 2 Module (75mmX75mm) | item20 | 20 | Each | 213.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4261.2 | 4261.2 | INR Four Thousand Two Hundred & Sixty One and Paise Twenty Only | 6.1 | 1 or 2 Module (75mmX75mm) | item20 | 20 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.2 | 3 Module (100mmX75mm) | item21 | 30 | Each | 234.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7023.3 | 7023.3 | INR Seven Thousand &Twenty Three and Paise Thirty Only | 6.2 | 3 Module (100mmX75mm) | item21 | 30 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.3 | 6 Module (200mmX75mm) | item22 | 30 | Each | 291.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8759.4 | 8759.4 | INR Eight Thousand Seven Hundred & Fifty Nine and Paise Forty Only | 6.3 | 6 Module (200mmX75mm) | item22 | 30 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.4 | 8 Module (125mmX125mm) | item23 | 10 | Each | 335.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3358.2 | 3358.2 | INR Three Thousand Three Hundred & Fifty Eight and Paise Twenty Only | 6.4 | 8 Module (125mmX125mm) | item23 | 10 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.5 | 12 Module (200mmX150mm) | item24 | 16 | Each | 380.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6088.48 | 6088.48 | INR Six Thousand &Eighty Eight and Paise Forty Eight Only | 6.5 | 12 Module (200mmX150mm) | item24 | 16 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | item25 | 10 | Each | 28.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 280.6 | 280.6 | INR Two Hundred & Eighty and Paise Sixty Only | 7 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | item25 | 10 | Each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | item26 | 20 | Each | 56.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1139.8 | 1139.8 | INR One Thousand One Hundred & Thirty Nine and Paise Eighty Only | 8 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | item26 | 20 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | item27 | 20 | Each | 102.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2051.8 | 2051.8 | INR Two Thousand &Fifty One and Paise Eighty Only | 9 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | item27 | 20 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 V, complete as required. | item28 | 2 | Each | 80.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 161.34 | 161.34 | INR One Hundred & Sixty One and Paise Thirty Four Only | 10 | Supplying and fixing call bell/ buzzer suitable for single phase, 230 V, complete as required. | item28 | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item29 | [52 empty] | 11 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item29 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.1 | 16 way, Double door | item30 | 2 | Each | 2150.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4301.62 | 4301.62 | INR Four Thousand Three Hundred & One and Paise Sixty Two Only | 11.1 | 16 way, Double door | item30 | 2 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item31 | [52 empty] | 12 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item31 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.1 | Single pole | item32 | 32 | Each | 174.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5582.4 | 5582.4 | INR Five Thousand Five Hundred & Eighty Two and Paise Forty Only | 12.1 | Single pole | item32 | 32 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item33 | [52 empty] | 13 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item33 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.1 | 63 Amp | item34 | 2 | Each | 2314.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4629.54 | 4629.54 | INR Four Thousand Six Hundred & Twenty Nine and Paise Fifty Four Only | 13.1 | 63 Amp | item34 | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item35 | [52 empty] | 14 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item35 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.1 | 20 X 12 mm | item36 | 60 | Mtr. | 68.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4103.4 | 4103.4 | INR Four Thousand One Hundred & Three and Paise Forty Only | 14.1 | 20 X 12 mm | item36 | 60 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.2 | 25 X 16 mm | item37 | 80 | Mtr. | 75.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6032.8 | 6032.8 | INR Six Thousand &Thirty Two and Paise Eighty Only | 14.2 | 25 X 16 mm | item37 | 80 | Mtr. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.3 | 32 X 16 mm | item38 | 60 | Mtr. | 82.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4945.2 | 4945.2 | INR Four Thousand Nine Hundred & Forty Five and Paise Twenty Only | 14.3 | 32 X 16 mm | item38 | 60 | Mtr. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Providing and fixing casing and capping in place of defective and dameged wood batten including dismentling of betten and wire & relaying of wires as required complet. | item39 | [52 empty] | 15 | Providing and fixing casing and capping in place of defective and dameged wood batten including dismentling of betten and wire & relaying of wires as required complet. | item39 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.1 | 20 x 12 mm | item40 | 80 | Mtr. | 111.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8908 | 8908 | INR Eight Thousand Nine Hundred & Eight Only | 15.1 | 20 x 12 mm | item40 | 80 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15.2 | 25 x 16 mm | item41 | 90 | Mtr. | 119.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10732.5 | 10732.5 | INR Ten Thousand Seven Hundred & Thirty Two and Paise Fifty Only | 15.2 | 25 x 16 mm | item41 | 90 | Mtr. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.3 | 32x 16 mm | item42 | 60 | Mtr. | 125.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7522.8 | 7522.8 | INR Seven Thousand Five Hundred & Twenty Two and Paise Eighty Only | 15.3 | 32x 16 mm | item42 | 60 | Mtr. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Supplying and fixing wooden board of following sizes on surface/recessed with suitable size of phenolic laminated sheet cover etc. complete as required. | item43 | [52 empty] | 16 | Supplying and fixing wooden board of following sizes on surface/recessed with suitable size of phenolic laminated sheet cover etc. complete as required. | item43 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16.1 | 100 mm X 100 mm | item44 | 20 | Each | 128.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2577.8 | 2577.8 | INR Two Thousand Five Hundred & Seventy Seven and Paise Eighty Only | 16.1 | 100 mm X 100 mm | item44 | 20 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | Supplying and fixing 3 mm thick phenolic laminated sheet on existing board with brass screw and cup washer etc. complete as required. | item45 | 2000 | Sq.cm | 0.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1080 | 1080 | INR One Thousand &Eighty Only | 17 | Supplying and fixing 3 mm thick phenolic laminated sheet on existing board with brass screw and cup washer etc. complete as required. | item45 | 2000 | Sq.cm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and without lamp as required complete. | item46 | [52 empty] | 18 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and without lamp as required complete. | item46 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.1 | Drum light fitting suitable for 60W GLS lamp | item47 | 4 | Each | 989.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3956.16 | 3956.16 | INR Three Thousand Nine Hundred & Fifty Six and Paise Sixteen Only | 18.1 | Drum light fitting suitable for 60W GLS lamp | item47 | 4 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.2 | Wall bracket fitting suitable for 60W GLS lamp | item48 | 10 | Each | 1392.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13923.7 | 13923.7 | INR Thirteen Thousand Nine Hundred & Twenty Three and Paise Seventy Only | 18.2 | Wall bracket fitting suitable for 60W GLS lamp | item48 | 10 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.3 | Bulk head fitting suitable for 60W GLS lamp | item49 | 10 | Each | 446.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4463 | 4463 | INR Four Thousand Four Hundred & Sixty Three Only | 18.3 | Bulk head fitting suitable for 60W GLS lamp | item49 | 10 | Each | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item50 | 12 | Each | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 999.6 | 999.6 | INR Nine Hundred & Ninety Nine and Paise Sixty Only | 19 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item50 | 12 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Dismantling of switch / socket /regulator etc. with wooden board and depositing in sectional store.as reqd. | item51 | 60 | Each | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1999.2 | 1999.2 | INR One Thousand Nine Hundred & Ninety Nine and Paise Twenty Only | 20 | Dismantling of switch / socket /regulator etc. with wooden board and depositing in sectional store.as reqd. | item51 | 60 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21 | Supplying and drawing telephone cable of 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item52 | 80 | Mtr. | 17.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1403.2 | 1403.2 | INR One Thousand Four Hundred & Three and Paise Twenty Only | 21 | Supplying and drawing telephone cable of 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item52 | 80 | Mtr. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item53 | 100 | Mtr. | 17.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1754 | 1754 | INR One Thousand Seven Hundred & Fifty Four Only | 22 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item53 | 100 | Mtr. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
23 | Dismantling damaged DB/TPN Switches/ loose wire boxes along with all accessories and depositing the same in the store as req | item54 | 2 | Each | 207.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 414.8 | 414.8 | INR Four Hundred & Fourteen and Paise Eighty Only | 23 | Dismantling damaged DB/TPN Switches/ loose wire boxes along with all accessories and depositing the same in the store as req | item54 | 2 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required.. | item55 | 2 | Each | 4654.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9308.2 | 9308.2 | INR Nine Thousand Three Hundred & Eight and Paise Twenty Only | 24 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required.. | item55 | 2 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | item56 | 10 | Mtr. | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1148.6 | 1148.6 | INR One Thousand One Hundred & Forty Eight and Paise Sixty Only | 25 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | item56 | 10 | Mtr. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | item57 | 20 | Mtr. | 49.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 991.6 | 991.6 | INR Nine Hundred & Ninety One and Paise Sixty Only | 26 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | item57 | 20 | Mtr. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 258739.02 | 258739.02 | INR Two Lakh Fifty Eight Thousand Seven Hundred & Thirty Nine and Paise Two Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information