## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD IIT Kanpur
Name of Work: Providing and fixing Electrical Installation work including laying of cable from substation no 1 to panel alongwith wiring and dedicated earthing for safety test room and 3M Chamber/CR/AR in TA-202 at IIT Kanpur
Contract No: 113 /Elect/21-22/863 Dated: 23.03.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Group C | item2 | 20 | Point | 1063.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21271.4 | 21271.4 | INR Twenty One Thousand Two Hundred & Seventy One and Paise Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/ PVC truncking as required. | item3 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | 3 x 1.5 sq. mm | item4 | 30 | Metre | 47.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1420.5 | 1420.5 | INR One Thousand Four Hundred & Twenty and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.2 | 3 x 2.5 sq. mm | item5 | 100 | Metre | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6576 | 6576 | INR Six Thousand Five Hundred & Seventy Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.3 | 3 x 4 sq. mm | item6 | 100 | Metre | 102.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10259 | 10259 | INR Ten Thousand Two Hundred & Fifty Nine Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.4 | 3 x 6 sq. mm | item7 | 80 | Metre | 146.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11714.4 | 11714.4 | INR Eleven Thousand Seven Hundred & Fourteen and Paise Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.5 | 3 x 10 sq. mm | item8 | 100 | Mtr. | 390.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39018 | 39018 | INR Thirty Nine Thousand &Eighteen Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.6 | 3 x 16 sq. mm | item9 | 30 | Mtr. | 596.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17886.9 | 17886.9 | INR Seventeen Thousand Eight Hundred & Eighty Six and Paise Ninety Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. | item10 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | 4 X 16 sq. mm + 2 X 6 sq. mm earth wire | item11 | 15 | Metre | 829.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12441.9 | 12441.9 | INR Twelve Thousand Four Hundred & Forty One and Paise Ninety Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item12 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.1 | 20 mm | item13 | 5 | Mtr | 128.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 640.05 | 640.05 | INR Six Hundred & Forty and Paise Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.2 | 25 mm | item14 | 10 | Mtr | 144.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1446.7 | 1446.7 | INR One Thousand Four Hundred & Forty Six and Paise Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.3 | 32 mm | item15 | 15 | Mtr | 177.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2669.85 | 2669.85 | INR Two Thousand Six Hundred & Sixty Nine and Paise Eighty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Supplying and installation of Recess/ Surface mounting LED luminaire equipped with CRCA powder coating housing, anti glare polycarbonate diffuser with energy efficient electronic driver with following features:- Suitable for operating voltage and frequency: 130-300 Va.c, 50 Hz.; wattage not more than 36 Watts;Output lumens not less than 100 lm/watt; CCT 6500K; Dimension in mm (600X600); Nominal surge protection 2.5 kV;Power factor not less than 0.95; Minimum IP protection 20; | item16 | 12 | Each | 3946.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47358.12 | 47358.12 | INR Forty Seven Thousand Three Hundred & Fifty Eight and Paise Twelve Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | Supplying and fixing extra down rod of 10 cm length G.I. pipe, 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | item17 | 20 | Each | 28.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 578.6 | 578.6 | INR Five Hundred & Seventy Eight and Paise Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and fixing following size of steel flexible pipe alongwith the accessories on surface etc. as reqd. | item18 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.1 | 20 mm | item19 | 10 | Each | 42.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 429.6 | 429.6 | INR Four Hundred & Twenty Nine and Paise Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.2 | 25 mm | item20 | 7 | Each | 57.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 405.09 | 405.09 | INR Four Hundred & Five and Paise Nine Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supplying and fixing fan hook incuding cutting the slab and fixing with the reinforcement and making damage, painting etc. complete as reqd. | item21 | 5 | Each | 257.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1288.9 | 1288.9 | INR One Thousand Two Hundred & Eighty Eight and Paise Ninety Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweep 220 volts without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. | item22 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.1 | 1200 mm | item23 | 5 | Each | 2796.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13980.7 | 13980.7 | INR Thirteen Thousand Nine Hundred & Eighty and Paise Seventy Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | item24 | 5 | Each | 299.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1499.35 | 1499.35 | INR One Thousand Four Hundred & Ninety Nine and Paise Thirty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | item25 | 10 | Each | 28.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 280.6 | 280.6 | INR Two Hundred & Eighty and Paise Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item26 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.1 | 8 way (4 + 24), Double door | item27 | 1 | Each | 4034.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4034.1 | 4034.1 | INR Four Thousand &Thirty Four and Paise Ten Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) and should have provision for MCCB as incomer. | item28 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.1 | 8 way (4 + 24), Double door | item29 | 6 | Each | 6790 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40740 | 40740 | INR Forty Thousand Seven Hundred & Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.2 | 12 way (4 + 36), Double door | item30 | 1 | Each | 8617.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8617.27 | 8617.27 | INR Eight Thousand Six Hundred & Seventeen and Paise Twenty Seven Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Supplying and fixing 5 A to 32 A rating, 240/415 volts, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item31 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.1 | Single pole | item32 | 160 | Each | 174.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27916.8 | 27916.8 | INR Twenty Seven Thousand Nine Hundred & Sixteen and Paise Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.2 | Double pole | item33 | 2 | Each | 487.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 975.02 | 975.02 | INR Nine Hundred & Seventy Five and Paise Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.3 | Triple pole | item34 | 5 | Each | 724.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3621.2 | 3621.2 | INR Three Thousand Six Hundred & Twenty One and Paise Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supplying and fixing 40 amps to 63 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item35 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15.1 | Double Pole | item36 | 2 | Nos. | 1277.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2555.02 | 2555.02 | INR Two Thousand Five Hundred & Fifty Five and Paise Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15.2 | Triple pole | item37 | 5 | Nos. | 1900.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9500.2 | 9500.2 | INR Nine Thousand Five Hundred and Paise Twenty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubical panel board including drilling holes in cubical panel, making connections, etc. as reuired. | item38 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16.1 | 100 A, 16 KA, TPMCCB | item39 | 4 | Each | 3266.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13067.96 | 13067.96 | INR Thirteen Thousand &Sixty Seven and Paise Ninety Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16.2 | 125 A, 16 KA, TPMCCB | item40 | 4 | Each | 3634.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14537.48 | 14537.48 | INR Fourteen Thousand Five Hundred & Thirty Seven and Paise Forty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | Supplying and fixing Cable End Box suitable for triple pole and neutral, sheet steel, vertical MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | item41 | 1 | Each | 676.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 676.24 | 676.24 | INR Six Hundred & Seventy Six and Paise Twenty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Supplying and fixing copper tube/ reducer/ lug terminals suitable for following size of conductor. | item42 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.1 | 6/ 10/ 16 Sq mm | item43 | 40 | Each | 26.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1052 | 1052 | INR One Thousand &Fifty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | Supplying and fixing DP/TP sheet steel enclosure on surface/ recess along with 25/32/40/63 A 240/415 V "C" curve DP/TP MCB complete with connections, testing and commissioning etc. as required. | item44 | 4 | Each | 743.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2974.12 | 2974.12 | INR Two Thousand Nine Hundred & Seventy Four and Paise Twelve Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item45 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20.1 | 40 Amp | item46 | 2 | Each | 1836.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3673.82 | 3673.82 | INR Three Thousand Six Hundred & Seventy Three and Paise Eighty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20.2 | 63 Amp | item47 | 3 | Each | 2314.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6944.31 | 6944.31 | INR Six Thousand Nine Hundred & Forty Four and Paise Thirty One Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21 | Supplying and fixing following rating, four pole, (Three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item48 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21.1 | 63 Amp | item49 | 4 | Each | 2434.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9739.6 | 9739.6 | INR Nine Thousand Seven Hundred & Thirty Nine and Paise Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm without cover on surface as reqd. | item50 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.01 | DLP Trunking | item51 | 100 | Mtr. | 877.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 87769 | 87769 | INR Eighty Seven Thousand Seven Hundred & Sixty Nine Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
22.02 | Flexible cover 85 mm | item52 | 100 | Mtr. | 386.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38667 | 38667 | INR Thirty Eight Thousand Six Hundred & Sixty Seven Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.03 | End cap | item53 | 20 | Each. | 174.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3489.6 | 3489.6 | INR Three Thousand Four Hundred & Eighty Nine and Paise Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22.04 | Internal angle. | item54 | 12 | Each. | 476.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5723.76 | 5723.76 | INR Five Thousand Seven Hundred & Twenty Three and Paise Seventy Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.05 | External angle | item55 | 12 | Each. | 487.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5850.12 | 5850.12 | INR Five Thousand Eight Hundred & Fifty and Paise Twelve Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.06 | Flat angle | item56 | 8 | Each. | 672.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5380.08 | 5380.08 | INR Five Thousand Three Hundred & Eighty and Paise Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22.07 | cover joint | item57 | 20 | Each. | 198.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3963.2 | 3963.2 | INR Three Thousand Nine Hundred & Sixty Three and Paise Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.08 | Base joint | item58 | 20 | Each. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1595.8 | 1595.8 | INR One Thousand Five Hundred & Ninety Five and Paise Eighty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
22.09 | 6/8 Modules clip on frame with finishing plate for 85 mm cover | item59 | 30 | Each. | 342.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10284.9 | 10284.9 | INR Ten Thousand Two Hundred & Eighty Four and Paise Ninety Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22.1 | Modular 6/10 amps switch on the existing modular plate & switch box / channel including connection. | item60 | 30 | Each. | 181.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5445 | 5445 | INR Five Thousand Four Hundred & Forty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.11 | Modular 5/6 amps socket on the existing moudular plate & switch box including connection. | item61 | 30 | Each. | 341.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10232.4 | 10232.4 | INR Ten Thousand Two Hundred & Thirty Two and Paise Forty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
22.12 | Modular 16A/20 amps switch on the existing modular plate & switch box / channel including connection. | item62 | 30 | Each. | 342.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10284.9 | 10284.9 | INR Ten Thousand Two Hundred & Eighty Four and Paise Ninety Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.13 | Modular 6/16 amps multi socket on the existing moudular plate & switch box including connection. | item63 | 30 | Each. | 449.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13494 | 13494 | INR Thirteen Thousand Four Hundred & Ninety Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item64 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.1 | Mini- trunking | item65 | 70 | Mtr. | 200.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14055.3 | 14055.3 | INR Fourteen Thousand &Fifty Five and Paise Thirty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
23.2 | End cap left or right | item66 | 10 | Each. | 134.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1341.5 | 1341.5 | INR One Thousand Three Hundred & Forty One and Paise Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23.3 | Internal/ external angle | item67 | 12 | Each. | 128.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1546.68 | 1546.68 | INR One Thousand Five Hundred & Forty Six and Paise Sixty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23.4 | Flat angle | item68 | 10 | Each. | 109.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1096 | 1096 | INR One Thousand &Ninety Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.5 | Flat junction | item69 | 10 | Each. | 127.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1271.4 | 1271.4 | INR One Thousand Two Hundred & Seventy One and Paise Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required.. | item70 | 5 | Nos | 1080.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5401.15 | 5401.15 | INR Five Thousand Four Hundred & One and Paise Fifteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item71 | 3 | each | 2672.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8017.53 | 8017.53 | INR Eight Thousand &Seventeen and Paise Fifty Three Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26 | Dismantling the old old conduit pipe, wooden batten of all sizes from surface/ recessed and making good the damages i/c filling the holes of the surface etc. as reqd. and depositing it in sectional store. | item72 | 50 | Mtr | 27.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1359 | 1359 | INR One Thousand Three Hundred & Fifty Nine Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
27 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item73 | 8 | Each | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 666.4 | 666.4 | INR Six Hundred & Sixty Six and Paise Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
28 | Dismantling damaged DB/TPN Switches/ loose wire boxes along with all accessories and depositing the same in the store as req | item74 | 3 | Each | 207.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 623.4 | 623.4 | INR Six Hundred & Twenty Three and Paise Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29 | Dismantling of switch / socket /regulator etc. with wooden board and depositing in sectional store.as reqd. | item75 | 20 | Each | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 666.4 | 666.4 | INR Six Hundred & Sixty Six and Paise Forty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
30 | Chemical earthing with copper bonded earth electrode 50 mm dia X 3 mtr. Length including earth enchancing compound ( Jam fill quality product) and PIT cover for earthing pit etc. as reqd. | item76 | 4 | Each | 11701.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46804.04 | 46804.04 | INR Forty Six Thousand Eight Hundred & Four and Paise Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | item77 | 6 | Each | 10341.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62046.48 | 62046.48 | INR Sixty Two Thousand &Forty Six and Paise Forty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
32 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | item78 | 30 | Mtr | 1073.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32196.3 | 32196.3 | INR Thirty Two Thousand One Hundred & Ninety Six and Paise Thirty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
33 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | item79 | 60 | Mtr | 884.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53082 | 53082 | INR Fifty Three Thousand &Eighty Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
34 | Laying of optical fiber cable/UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe/hdpe pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item80 | 500 | Mtr. | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8330 | 8330 | INR Eight Thousand Three Hundred & Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item81 | 15 | Each. | 69.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1039.05 | 1039.05 | INR One Thousand &Thirty Nine and Paise Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
36 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item82 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36.1 | 3½ X 50 sq. mm (35mm) | item83 | 6 | Each | 288.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1730.82 | 1730.82 | INR One Thousand Seven Hundred & Thirty and Paise Eighty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36.2 | 3½ X 70 sq. mm (38mm) | item84 | 10 | Each | 322.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3226.7 | 3226.7 | INR Three Thousand Two Hundred & Twenty Six and Paise Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
36.3 | 3½ X 400 sq. mm (82mm) | item85 | 4 | Each | 1060.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4240.24 | 4240.24 | INR Four Thousand Two Hundred & Forty and Paise Twenty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37 | Supplying of PVC insulated, PVC sheathed XLPE aluminium conductor armored cable of Following size, 1.1 KV grade, etc. as required [conforming to I.S-1554/1/88]. | item86 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
37.1 | 3½ X 50 sq. mm | item87 | 90 | Mtr. | 344.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31013.1 | 31013.1 | INR Thirty One Thousand &Thirteen and Paise Ten Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37.2 | 3½ X 70 sq. mm | item88 | 90 | Mtr. | 462.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41665.5 | 41665.5 | INR Forty One Thousand Six Hundred & Sixty Five and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37.3 | 3½ X 400 sq. mm | item89 | 650 | Mtr. | 2127.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1382641 | 1382641 | INR Thirteen Lakh Eighty Two Thousand Six Hundred & Forty One Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
38 | Laying of PVC insulated, PVC sheathed XLPE aluminium conductor armored cable of Following size, 1.1 KV grade , direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. | item90 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38.1 | Above 35 sq. mm and upto 95 sq. mm | item91 | 20 | Mtr. | 296.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5927.2 | 5927.2 | INR Five Thousand Nine Hundred & Twenty Seven and Paise Twenty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
38.2 | Above 185 sq. mm and upto 400 sq. mm | item92 | 300 | Mtr. | 347.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 104166 | 104166 | INR One Lakh Four Thousand One Hundred & Sixty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
39 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item93 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
39.1 | Above 185 sq. mm and upto 400 sq. mm | item94 | 300 | Mtr. | 257.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77334 | 77334 | INR Seventy Seven Thousand Three Hundred & Thirty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item95 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40.1 | Above 35 sq. mm and upto 95 sq. mm | item96 | 20 | Mtr. | 41.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 824.2 | 824.2 | INR Eight Hundred & Twenty Four and Paise Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
40.2 | Above 185 sq. mm and upto 400 sq. mm | item97 | 30 | Mtr. | 98.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2943 | 2943 | INR Two Thousand Nine Hundred & Forty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
41 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item98 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
41.1 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | item99 | 140 | Mtr. | 91.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12766.6 | 12766.6 | INR Twelve Thousand Seven Hundred & Sixty Six and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41.2 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) Details of cost for 100 Metres | item100 | 20 | Mtr. | 159.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3191.6 | 3191.6 | INR Three Thousand One Hundred & Ninety One and Paise Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
42 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. | item101 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
42.1 | 100 mm width X 50 mm depth X 1.6 mm thickness | item102 | 20 | Mtr | 525.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10504.2 | 10504.2 | INR Ten Thousand Five Hundred & Four and Paise Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "bends" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. | item103 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43.1 | 100 mm width X 50 mm depth X 1.6 mm thickness | item104 | 8 | Each | 932.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7456.4 | 7456.4 | INR Seven Thousand Four Hundred & Fifty Six and Paise Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "Tee" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. | item105 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
44.1 | 100 mm width X 50 mm depth X 1.6 mm thickness | item106 | 6 | Each | 1069.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6418.26 | 6418.26 | INR Six Thousand Four Hundred & Eighteen and Paise Twenty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
45 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item107 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
45.1 | 50 mm dia | item108 | 20 | Metre | 469.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9399.2 | 9399.2 | INR Nine Thousand Three Hundred & Ninety Nine and Paise Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
45.2 | 150 mm dia | item109 | 30 | Metre | 1479 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44370 | 44370 | INR Forty Four Thousand Three Hundred & Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
46 | Design, Fabrication, Supplying, testing & commissioning of front operated cubicle type compartmentalised, front access free standing, dust and vermin proof (IP 42) main switch board panel suitable for use at 415 volt, 3 phase, 4 wire, 50 hertz system suitable for fault level of required value symmetrical at 415 volts, made out of 2mm thick CRCA MS sheet with hinged, gasketed (metal based neoprene) and lockable doors having structural reinforcement with suitable angle/channel/ T/ Flat/ sections including 3 mm thick gland plates on top and bottom and lifting hooks and GI earth strip of required size with 2 nos. earthing terminal and powder coated paint finish of approved shade over metalsurface cleaned and treated with seven tank process complete with frame duly erection in ground and interconnection with copper conductor etc. as specification, as complete as required as below. | item110 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46.1 | Incoming (a) 630 amp, 4P, 36KA, 50HZ, 415V, AC MCCB with microprocessor release(Integral overload, short circuit, earth fault, overvoltage protection, and neutral protection) with Panel mounted smart energy meter with suitable CT’’s supporting wifi & LAN communication protocol, all site settable. = 01 Nos. Bus Bar Electrolytic high conductivity aluminium, three phase and neutral busbars rated at 800 amps having a maximum current density of 100 A/sq cm suitable to with stand symmetrical fault level of 35 kA. at 415 Volts. The Neutral busbar is to be of 100% capacity. Outgoing (a) 125 amps, 4P, 36KA, 50HZ, 415V, AC MCCB with thermal magnetic based releases for O/C & S/C protection = 09 Nos., (b) 63 Amp TPN MCB- 2nos., (c) 32 Amp TPN CB- 2nos. (d) Earthing studs 2 Nos (e) Danger plate – 01 Nos Metering (a) Digital Multi-function meter - 09 Nos with accuracy class 0.5 and measuring parameters V, A, F, PF, kW, kVA, kWh/kVAh on all outgoing feeders of capacity 125 A. (b) RYB indicating lamp (c) Suitable CT's | item111 | 1 | Each | 480897.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 480897.85 | 480897.85 | INR Four Lakh Eighty Thousand Eight Hundred & Ninety Seven and Paise Eighty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47 | Providing brick work (in width 225 mm or more) with F.P.S.bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | item112 | 2 | cum | 5578.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11156.52 | 11156.52 | INR Eleven Thousand One Hundred & Fifty Six and Paise Fifty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
48 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item113 | 15 | sq m | 268.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4024.5 | 4024.5 | INR Four Thousand &Twenty Four and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
49 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 metres. | item114 | 8 | cum | 478.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3829.92 | 3829.92 | INR Three Thousand Eight Hundred & Twenty Nine and Paise Ninety Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 3033240 | 3033240 | INR Thirty Lakh Thirty Three Thousand Two Hundred & Forty Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information