## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer
Name of Work: Providing & fixing single & three phase kWH meter's for individual room at 5th & 6th floor of Aerosol building.
Contract No: 114 /IWD/ED/873 Dated: 29.03.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item1 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | 3 x 1.5 sq. mm | item2 | 20 | Metre | 47.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 947 | 947 | INR Nine Hundred & Forty Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | 3 x 2.5 sq. mm | item3 | 30 | Metre | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1972.8 | 1972.8 | INR One Thousand Nine Hundred & Seventy Two and Paise Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.3 | 3 x 4 sq. mm | item4 | 30 | Metre | 102.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3077.7 | 3077.7 | INR Three Thousand &Seventy Seven and Paise Seventy Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.4 | 3 x 10 sq.mm. | item5 | 40 | Meter | 390.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15607.2 | 15607.2 | INR Fifteen Thousand Six Hundred & Seven and Paise Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supply and drawing PVC insulated 3 core round copper conductor cable of following size for connection of equipment / exhaust fan etc as reqd. | item6 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | 2.50 sq. mm | item7 | 50 | Meter | 135.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6795.5 | 6795.5 | INR Six Thousand Seven Hundred & Ninety Five and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item8 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.1 | 20 mm | item9 | 30 | Metre | 128.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3840.3 | 3840.3 | INR Three Thousand Eight Hundred & Forty and Paise Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item10 | 10 | Meter | 184.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1841.3 | 1841.3 | INR One Thousand Eight Hundred & Forty One and Paise Thirty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item11 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.1 | End cap | item12 | 2 | Nos. | 121.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 243.76 | 243.76 | INR Two Hundred & Forty Three and Paise Seventy Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.2 | internal / external angle | item13 | 2 | Nos. | 116.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 233.24 | 233.24 | INR Two Hundred & Thirty Three and Paise Twenty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.3 | changeable flat angle | item14 | 2 | Nos. | 100.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 201.66 | 201.66 | INR Two Hundred & One and Paise Sixty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.4 | flat junction | item15 | 1 | Nos. | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 114.86 | 114.86 | INR One Hundred & Fourteen and Paise Eighty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partion etc. as required complete. | item16 | 15 | Meter | 798.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11981.55 | 11981.55 | INR Eleven Thousand Nine Hundred & Eighty One and Paise Fifty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item17 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.1 | 85 mm flexible cover | item18 | 15 | Meter | 352.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5287.2 | 5287.2 | INR Five Thousand Two Hundred & Eighty Seven and Paise Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.2 | End cap | item19 | 10 | Nos. | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1587 | 1587 | INR One Thousand Five Hundred & Eighty Seven Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.3 | Internal angles- adjustable from 80°-100° | item20 | 4 | Nos. | 435.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1743.08 | 1743.08 | INR One Thousand Seven Hundred & Forty Three and Paise Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.4 | external angles- adjustable from 60°-120° | item21 | 3 | Nos. | 446.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1338.9 | 1338.9 | INR One Thousand Three Hundred & Thirty Eight and Paise Ninety Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.5 | flat junction | item22 | 5 | Nos. | 752.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3761.5 | 3761.5 | INR Three Thousand Seven Hundred & Sixty One and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.6 | flat angles | item23 | 1 | Nos. | 611.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 611.14 | 611.14 | INR Six Hundred & Eleven and Paise Fourteen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.7 | Joints for 85mm width cover | item24 | 10 | Nos. | 181.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1815 | 1815 | INR One Thousand Eight Hundred & Fifteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.8 | base joints | item25 | 16 | Nos. | 74.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1192.48 | 1192.48 | INR One Thousand One Hundred & Ninety Two and Paise Forty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required | item26 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.1 | 25 mm | item27 | 5 | Meter | 57.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 289.35 | 289.35 | INR Two Hundred & Eighty Nine and Paise Thirty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) | item28 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.1 | 8 way , Double door | item29 | 8 | No. | 1543.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12345.44 | 12345.44 | INR Twelve Thousand Three Hundred & Forty Five and Paise Forty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item30 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.1 | Single pole 5 A to 32 A | item31 | 66 | No. | 174.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11515.68 | 11515.68 | INR Eleven Thousand Five Hundred & Fifteen and Paise Sixty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.2 | Double Pole (40A-63A) | item32 | 8 | Nos. | 1277.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10220.08 | 10220.08 | INR Ten Thousand Two Hundred & Twenty and Paise Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Providing connection for motor/ panel starter/ transformer upto 1 Kva / steblizer. | item33 | 30 | Nos. | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4761 | 4761 | INR Four Thousand Seven Hundred & Sixty One Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | S&F, connecting and commissioning looping type cable end control box with MS sheet of 16 SWG of size 200 mm x 200 mm x 125 mm having 1 no. 6amp to 32 amp SPMCB 250 volt and 2 nos. brass neutral link 12.5 mm square rod 6 way approx. 60 mm long and fixed on 6 mm thick bakelite sheet. Box shall have almirah type hinge and panel key type lock front door duly painted with earthing strud etc. complete as required. | item34 | 1 | Nos. | 1365.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1365.54 | 1365.54 | INR One Thousand Three Hundred & Sixty Five and Paise Fifty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Supplying, fixing, connecting, testing & commissioning 10-60A, single phase meter ( cat no. WM101BC7DL0, L&T 230V, 50 hz, digital LCD type electronic kWH electronic meter i/c sealing the same ( sealing material will be supplied by the dept.) Gurantee car having serial no. of the meter to be submitted in the dept. etc. as reqd. | item35 | 7 | Nos. | 3291.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23040.78 | 23040.78 | INR Twenty Three Thousand &Forty and Paise Seventy Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Supplying, fixing, connecting, testing & commissioning of LCD display Kwh meter, direct operated, 10-60A, three Phase 415 volt, 50 hz, kWH electronic meter 3 ph 4w Kwh Dir base mtg 240v 10-60A (HPL make or its equivalent) i/c sealing the same ( sealing material will be supplied by the dept.) etc as reqd. | item36 | 8 | Nos. | 9210.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73686.96 | 73686.96 | INR Seventy Three Thousand Six Hundred & Eighty Six and Paise Ninety Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 201418 | 201418 | INR Two Lakh One Thousand Four Hundred & Eighteen Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information