## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer IWD IIT Kanpur
Name of Work: Renovation / Modification of electrical installation of old opportunity school to be set up as laboratories/ office with all allied works as per request.
Contract No: 23/Elect/2022/294 Dated 14.10.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Group 'C' | item2 | 105 | Points | 784 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 82320 | 82320 | INR Eighty Two Thousand Three Hundred & Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item3 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | 1 x 1.5 Sq.mm.. | item4 | 80.42 | Mtr. | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3136.38 | 3136.38 | INR Three Thousand One Hundred & Thirty Six and Paise Thirty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.2 | 3 x 1.5 Sq.mm.. | item5 | 150 | Mtr. | 83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12450 | 12450 | INR Twelve Thousand Four Hundred & Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.3 | 3 x 2.5 sq. mm | item6 | 50 | Mtr. | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6000 | 6000 | INR Six Thousand Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.4 | 3 x 4 Sq.mm.. | item7 | 100 | Mtr. | 181 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18100 | 18100 | INR Eighteen Thousand One Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.5 | 4 x 6 Sq.mm.. | item8 | 10 | Mtr. | 352 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3520 | 3520 | INR Three Thousand Five Hundred & Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and drawing telephone cable of 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item9 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.1 | 1 Pair | item10 | 10 | Mtr. | 27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 270 | 270 | INR Two Hundred & Seventy Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.2 | 2 Pair | item11 | 90 | Mtr. | 33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2970 | 2970 | INR Two Thousand Nine Hundred & Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.3 | 4 Pair | item12 | 10 | Mtr. | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 470 | 470 | INR Four Hundred & Seventy Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supply and fixing of following sizes of medium class PVC conduit along with the accessories in surface /recess including cutting the wall and making good the same in case of recessed conduit as reqd. | item13 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.1 | 20mm | item14 | 5 | Mtr | 112 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 560 | 560 | INR Five Hundred & Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.2 | 25mm | item15 | 5 | Mtr | 127 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 635 | 635 | INR Six Hundred & Thirty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.3 | 32mm | item16 | 5 | Mtr | 161 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 805 | 805 | INR Eight Hundred & Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.4 | 40mm | item17 | 5 | Mtr | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1000 | 1000 | INR One Thousand Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | S & F metal box of following sizes ( nominal size ) on surface or in recess with suitable size of phenolic laminated sheet cover in the front I/c painting etc as reqd. | item18 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.1 | 250 mm X 300 mm X 60 mm deep | item19 | 2 | Nos. | 532 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1064 | 1064 | INR One Thousand &Sixty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.2 | 250 mm x 300 mm x 100 mm deep | item20 | 2 | Nos. | 573 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1146 | 1146 | INR One Thousand One Hundred & Forty Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. | item21 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.1 | 1 or 2 Module (75mmX75mm) | item22 | 4 | Nos. | 261 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1044 | 1044 | INR One Thousand &Forty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.2 | 3 Module (100mmX75mm) | item23 | 5 | Nos. | 287 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1435 | 1435 | INR One Thousand Four Hundred & Thirty Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.3 | 4 Module (125mmX75mm) | item24 | 2 | Nos. | 301 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 602 | 602 | INR Six Hundred & Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.4 | 6 Module (200mmX75mm) | item25 | 1 | Nos. | 352 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 352 | 352 | INR Three Hundred & Fifty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.5 | 8 Module (125mmX125mm) | item26 | 1 | Nos. | 398 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 398 | 398 | INR Three Hundred & Ninety Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.6 | 12 Module (200mmX150mm) | item27 | 1 | Nos. | 480 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 480 | 480 | INR Four Hundred & Eighty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | item28 | 105 | Nos. | 76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7980 | 7980 | INR Seven Thousand Nine Hundred & Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | item29 | 2 | Nos. | 115 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 230 | 230 | INR Two Hundred & Thirty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess,including providing and fixing 2 nos.3 pin 5/6 A modular socket outlet and 2 nos.5/6 A modular switch, connections etc.as required. (For light plugs to be used in non residential buildings.) | item30 | 1 | Each. | 593 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 593 | 593 | INR Five Hundred & Ninety Three Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess,including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, ''C'' curve including connections,paintig etc,as required. | item31 | 1 | Each. | 637 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 637 | 637 | INR Six Hundred & Thirty Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item32 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.1 | 5/6 Amp switch | item33 | 353 | Nos. | 90 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31770 | 31770 | INR Thirty One Thousand Seven Hundred & Seventy Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.2 | 2 way 5/6 amps switch | item34 | 5 | Nos. | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 650 | 650 | INR Six Hundred & Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.3 | 15/16 Amp. switch | item35 | 20 | Nos. | 137 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2740 | 2740 | INR Two Thousand Seven Hundred & Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.4 | 3 Pin 5/6 Amp. socket outlet | item36 | 272 | Nos. | 107 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29104 | 29104 | INR Twenty Nine Thousand One Hundred & Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.5 | 6 Pin 15/16 Amp. socket outlet. | item37 | 20 | Nos. | 173 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3460 | 3460 | INR Three Thousand Four Hundred & Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.6 | Telephone socket outlet | item38 | 10 | Nos. | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1300 | 1300 | INR One Thousand Three Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.7 | Blanking plate | item39 | 20 | Nos. | 35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 700 | 700 | INR Seven Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | S/F following modular base & cover plate on existing modular metal boxes etc. as reqd. | item40 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.1 | 1 or 2 module | item41 | 105 | Nos. | 117 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12285 | 12285 | INR Twelve Thousand Two Hundred & Eighty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.2 | 3 module | item42 | 100 | Nos. | 132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13200 | 13200 | INR Thirteen Thousand Two Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.3 | 4 module | item43 | 10 | Nos. | 139 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1390 | 1390 | INR One Thousand Three Hundred & Ninety Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.4 | 6 module | item44 | 105 | Nos. | 160 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16800 | 16800 | INR Sixteen Thousand Eight Hundred Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.5 | 8 module | item45 | 5 | Nos. | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 925 | 925 | INR Nine Hundred & Twenty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.6 | 12 module | item46 | 5 | Nos. | 238 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1190 | 1190 | INR One Thousand One Hundred & Ninety Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | item47 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.1 | 250 A,36KA,FPMCCB | item48 | 1 | Nos. | 15353 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15353 | 15353 | INR Fifteen Thousand Three Hundred & Fifty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | item49 | 2 | Nos. | 1025 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2050 | 2050 | INR Two Thousand &Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32 A 415 V "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | item50 | 2 | Nos. | 1396 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2792 | 2792 | INR Two Thousand Seven Hundred & Ninety Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | item51 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16.1 | 120 Amp, 16KA TPMCCB | item52 | 2 | Nos. | 7198 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14396 | 14396 | INR Fourteen Thousand Three Hundred & Ninety Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item53 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.1 | 8-way , Double door | item54 | 1 | Nos. | 2256 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2256 | 2256 | INR Two Thousand Two Hundred & Fifty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.2 | 12-way , Double door | item55 | 1 | Nos. | 2030 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2030 | 2030 | INR Two Thousand &Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.3 | 16-way , Double door | item56 | 1 | Nos. | 2754 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2754 | 2754 | INR Two Thousand Seven Hundred & Fifty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item57 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.1 | 4 way (4 + 12), Double door | item58 | 1 | Nos. | 3587 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3587 | 3587 | INR Three Thousand Five Hundred & Eighty Seven Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.2 | 6 way (4 + 18), Double door | item59 | 2 | Nos. | 4361 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8722 | 8722 | INR Eight Thousand Seven Hundred & Twenty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.3 | 8 way (4 + 24), Double door | item60 | 6 | Nos. | 5232 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31392 | 31392 | INR Thirty One Thousand Three Hundred & Ninety Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item61 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.1 | Single Pole | item62 | 192 | Nos. | 224 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43008 | 43008 | INR Forty Three Thousand &Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.2 | Single Pole & Neutral | item63 | 2 | Nos. | 525 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1050 | 1050 | INR One Thousand &Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.3 | Triple Pole | item64 | 2 | Nos. | 883 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1766 | 1766 | INR One Thousand Seven Hundred & Sixty Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.4 | Triple pole & Neutral | item65 | 2 | Nos. | 1077 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2154 | 2154 | INR Two Thousand One Hundred & Fifty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item66 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20.1 | 63 Amp | item67 | 9 | Nos. | 2387 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21483 | 21483 | INR Twenty One Thousand Four Hundred & Eighty Three Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral,sheet steel,MCB distribution board,415 Volts,on surface/recess,complete with testing and commissioning etc.as required. | item68 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.1 | For 4 way,Double door TPN MCBDB | item69 | 9 | Each | 947 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8523 | 8523 | INR Eight Thousand Five Hundred & Twenty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | S & F following rating double pole (single phase & neutral) 240 volts RCCB (ELCB), having sensivity current up to 30 mA in the existing MCB DB complete with connection,testing & commissioning etc as reqd. | item70 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22.1 | 40 Amp | item71 | 1 | Nos. | 2795 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2795 | 2795 | INR Two Thousand Seven Hundred & Ninety Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.2 | 63 Amp | item72 | 2 | Nos. | 2518 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5036 | 5036 | INR Five Thousand &Thirty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
23 | Providing and fixing M.V. danger notice plate of 200 mm X 200 mm,made of mild steel,at least 2 mm thick, and vitreous enameled white on both sides,and with inscription in single red colour on front side as required. | item73 | 10 | Each | 236 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2360 | 2360 | INR Two Thousand Three Hundred & Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
24 | Earthing with G.I earth pipe 4.5 mtr long. 40 mm dia incluuding acessories, and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal and salt as required. | item74 | 2 | Set | 6011 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12022 | 12022 | INR Twelve Thousand &Twenty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
25 | P & F 25 mm x 5 mm GI strip in 40 mm dia GI pipe from earth electrode with GI nut , bolt,spring washer excavation and refilling etc. as reqd. | item75 | 25 | Mtr | 619 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15475 | 15475 | INR Fifteen Thousand Four Hundred & Seventy Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26 | P & F 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item76 | 10 | Mtr. | 61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 610 | 610 | INR Six Hundred & Ten Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item77 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
27.1 | Upto 35 sq. mm | item78 | 10 | Mtr. | 339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3390 | 3390 | INR Three Thousand Three Hundred & Ninety Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27.2 | Above 95 sq. mm and upto 185 sq. mm | item79 | 300 | Mtr. | 370 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 111000 | 111000 | INR One Lakh Eleven Thousand Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
28 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item80 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28.1 | Above 95 sq. mm and upto 185 sq. mm | item81 | 300 | Mtr. | 266 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79800 | 79800 | INR Seventy Nine Thousand Eight Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
29 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item82 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29.1 | Above 95 sq. mm and upto 185 sq. mm | item83 | 30 | Mtr. | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2040 | 2040 | INR Two Thousand &Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. | item84 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
30.1 | Above 95 sq. mm and upto 185 sq. mm | item85 | 5 | Mtr | 55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 275 | 275 | INR Two Hundred & Seventy Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item86 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
31.1 | Above 95 sq. mm and upto 185 sq. mm | item87 | 5 | Mtr. | 118 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590 | 590 | INR Five Hundred & Ninety Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
32 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item88 | 10 | each | 445 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4450 | 4450 | INR Four Thousand Four Hundred & Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
33 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item89 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
33.1 | 3½ X 185 sq. mm (50mm) | item90 | 4 | Nos. | 767 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3068 | 3068 | INR Three Thousand &Sixty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | Supplying and embedding following dia G.I. pipe (medium class) in pole collar/ foundation (during casting) for cable entry including bending the pipe to the required shape complete as | item91 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34.1 | 40mm dia | item92 | 6 | Mtr | 516 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3096 | 3096 | INR Three Thousand &Ninety Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item93 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
35.1 | 100 mm dia | item94 | 50 | Mtr | 1584 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79200 | 79200 | INR Seventy Nine Thousand Two Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min , 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | item95 | 25 | each | 2394 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59850 | 59850 | INR Fifty Nine Thousand Eight Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37 | Supply of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3-1/2x 185 sq.mm. complete as required and as instructed by Engineer in charge | item96 | 680 | Mtr | 1338 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 909840 | 909840 | INR Nine Lakh Nine Thousand Eight Hundred & Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
38 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. | item97 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38.1 | Single Pole | item98 | 1 | Nos. | 647 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 647 | 647 | INR Six Hundred & Forty Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
38.2 | Double pole | item99 | 1 | Nos. | 1374 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1374 | 1374 | INR One Thousand Three Hundred & Seventy Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
38.3 | Triple Pole | item100 | 2 | Nos. | 2124 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4248 | 4248 | INR Four Thousand Two Hundred & Forty Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
38.4 | Four Pole | item101 | 2 | Nos. | 2724 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5448 | 5448 | INR Five Thousand Four Hundred & Forty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
39 | Supply, fixing, connecting and commissioning of DP/FP MCB enclosure box on surface or recessed etc as requred.. | item102 | 4 | Nos. | 858 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3432 | 3432 | INR Three Thousand Four Hundred & Thirty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
40 | Supplying, fixing, connecting & commissioning of holder for 9/11/ 18/20/28/36/40W FTL/PLS lamps | item103 | 2 | Each | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 164 | 164 | INR One Hundred & Sixty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
41 | Supplying and fixing connecting and commissioning of AC 230/250 volts, 50 HZ, 250 mm sweep fresh air fan including providing nuts, bolts, mounting frame and other accessories etc. complete | item104 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
41.1 | 200 mm (Plastic body) | item105 | 2 | Nos. | 1907 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3814 | 3814 | INR Three Thousand Eight Hundred & Fourteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
42 | Supplying, fixing, connecting, commissioning and testing of following LED light fixture with electronic driver, LED lamp, reflector, diffuser, MS body/ housing holder etc complete with all fixing accessories and lamp as required complete. | item106 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42.1 | 36 watt surface mounding LED light fixture 300x 1200 mm | item107 | 45 | Nos. | 5086 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 228870 | 228870 | INR Two Lakh Twenty Eight Thousand Eight Hundred & Seventy Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43 | Supply / fixing , testing & commissioning of 12W LED. Slim surface mounted round LED panel al. die cast body with premium diffuser to ensure glare free as required complete LED makeHavells or its equivalent make etc as reqd | item108 | 2 | Nos. | 1224 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2448 | 2448 | INR Two Thousand Four Hundred & Forty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Supply / fixing , testing & commissioning of 9W 1 ftor 2 ft LED wall/mirror light. as req. | item109 | 2 | Nos. | 416 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 832 | 832 | INR Eight Hundred & Thirty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
45 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item110 | 1000 | Sq.cm | 0.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 560 | 560 | INR Five Hundred & Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | Supplying and fixing following size /modules plastic/ wooden box for modular switches in recess/ on surface etc complete as required. | item111 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46.1 | 1 or 2 module | item112 | 105 | Nos. | 234 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24570 | 24570 | INR Twenty Four Thousand Five Hundred & Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
46.2 | 3 module | item113 | 5 | Nos. | 246 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1230 | 1230 | INR One Thousand Two Hundred & Thirty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46.3 | 4 module | item114 | 10 | Nos. | 256 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2560 | 2560 | INR Two Thousand Five Hundred & Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
46.4 | 6 module | item115 | 15 | Nos. | 283 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4245 | 4245 | INR Four Thousand Two Hundred & Forty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
46.5 | 8 module | item116 | 5 | Nos. | 296 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1480 | 1480 | INR One Thousand Four Hundred & Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46.6 | 12 module | item117 | 5 | Nos. | 338 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1690 | 1690 | INR One Thousand Six Hundred & Ninety Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
47 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item118 | 1800 | Mtr. | 17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30600 | 30600 | INR Thirty Thousand Six Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item119 | 125 | Nos. | 70 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8750 | 8750 | INR Eight Thousand Seven Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
49 | Supply and laying of HDPE pipe ISI mark of 32 mm (8Kg / cm²) size inner dia, 2mm thick I/c cartage loading & unloading etc. as reqd. | item120 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
49.1 | Direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item121 | 80 | Mtr. | 368 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29440 | 29440 | INR Twenty Nine Thousand Four Hundred & Forty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
49.2 | In pipe | item122 | 10 | Mtr. | 86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 860 | 860 | INR Eight Hundred & Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
49.3 | In open duct | item123 | 10 | Mtr. | 78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 780 | 780 | INR Seven Hundred & Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
49.4 | On surface with MS clamp | item124 | 20 | Mtr. | 92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1840 | 1840 | INR One Thousand Eight Hundred & Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
50 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and with lamp as required complete. | item125 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
50.1 | Street Light luminaire 48W CAT no ENDURAPEARLNEOSL48WLED757SASYBOPC. Havells make or it's equivalent | item126 | 3 | Nos. | 5051 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15153 | 15153 | INR Fifteen Thousand One Hundred & Fifty Three Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
51 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item127 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
51.1 | 20 x 12 mm | item128 | 10 | Mtr. | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 680 | 680 | INR Six Hundred & Eighty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
51.2 | 32 x 16 mm | item129 | 10 | Mtr. | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 820 | 820 | INR Eight Hundred & Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item130 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
52.1 | 4 x 10 Sq.mm.. | item131 | 150 | Mtr. | 657 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 98550 | 98550 | INR Ninety Eight Thousand Five Hundred & Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52.2 | 4 x 16 Sq.mm.. | item132 | 5 | Mtr. | 1006 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5030 | 5030 | INR Five Thousand &Thirty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
52.3 | 4 x 25 Sq.mm.. | item133 | 5 | Mtr. | 1563 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7815 | 7815 | INR Seven Thousand Eight Hundred & Fifteen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm without cover on surface as reqd. | item134 | 250 | Mtr. | 933 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 233250 | 233250 | INR Two Lakh Thirty Three Thousand Two Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
54 | Providing and fixing 85 mm width flexible cover of DLP plastic trunking. (size 105 mm x 50 mm.) | item135 | 85 | Mtr. | 413 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35105 | 35105 | INR Thirty Five Thousand One Hundred & Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55 | Supply and fixing of following items for plastic trunking accessories suitable for size 105 mm x 50 mm. | item136 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55.1 | End cap | item137 | 10 | Nos. | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1850 | 1850 | INR One Thousand Eight Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
55.2 | Internal angle. | item138 | 10 | Nos. | 510 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5100 | 5100 | INR Five Thousand One Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55.3 | External angle. | item139 | 10 | Nos. | 520 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5200 | 5200 | INR Five Thousand Two Hundred Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
55.4 | Flat Junction | item140 | 12 | Nos. | 723 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8676 | 8676 | INR Eight Thousand Six Hundred & Seventy Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
55.5 | Base joint | item141 | 15 | Nos. | 215 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3225 | 3225 | INR Three Thousand Two Hundred & Twenty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item142 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
56.1 | Mini- trunking | item143 | 50 | Mtr. | 213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10650 | 10650 | INR Ten Thousand Six Hundred & Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
56.2 | End cap left or right | item144 | 10 | Nos. | 134 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1340 | 1340 | INR One Thousand Three Hundred & Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56.3 | Internal/ external angle | item145 | 5 | Nos. | 138 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 690 | 690 | INR Six Hundred & Ninety Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56.4 | Flat angle | item146 | 8 | Nos. | 117 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 936 | 936 | INR Nine Hundred & Thirty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
56.5 | Flat junction | item147 | 10 | Nos. | 136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1360 | 1360 | INR One Thousand Three Hundred & Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
57 | Supplying, installation DLP mini- trunking 32mm x 12.5mm and accessories white-system with independent cover- without central partion etc. as reqd.its equivalent approved make etc as required | item148 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
57.1 | Mini- trunking | item149 | 50 | Mtr. | 160 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8000 | 8000 | INR Eight Thousand Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
57.2 | Flat angle | item150 | 10 | Nos. | 108 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1080 | 1080 | INR One Thousand &Eighty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | Supplying, installation,fixing connecting, testing & commissioning of electrical LT panal with following specification complete as reqiured and as instructed by Engineer in-charge | item151 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
58.1 | Incoming: 01 No. of 250 Amp. FP MCCB 36KA MP Based Release (O/C&S/C Protection) rotary operated handle mechanism FP spreader for MCCB with phase indications & digital multi funtion meter, digital voltmeter, digital ammeter etc. complete as required. | item152 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
58.2 | Outgoing: 02 No. of 120 Amp FP MCCB ,25KA TM Based Release (O/C &S/C Protection) Rotary Operated Handle Mechanism FP Spreader for MCCB 120A with digital multi funtion meter complete as required. | item153 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
58.3 | Outgoing: 10 No. of 63A FP MCCB 25KA TM Based Release (O/C & S/C Protection) Rotary Operated Handle Mechanism with digital multi funtion meter complete as required. | item154 | 1 | set. | 187975 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 187975 | 187975 | INR One Lakh Eighty Seven Thousand Nine Hundred & Seventy Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
59 | Fabrication,supplying & fixing of box of required size made out of 2mm thick CRCA sheet duly powder coated & openable from top-bottom or front required & fixing the same complete as required. | item155 | 10 | Kg. | 378 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3780 | 3780 | INR Three Thousand Seven Hundred & Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item156 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
60.1 | 10,16 mm | item157 | 15 | Nos. | 28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 420 | 420 | INR Four Hundred & Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60.2 | 25 mm | item158 | 4 | Nos. | 42.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 170 | 170 | INR One Hundred & Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
61 | Fixing of internet rack on steel fashtner including cartage from store to site as required complete. | item159 | 1 | Nos. | 388 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 388 | 388 | INR Three Hundred & Eighty Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 2719049.38 | 2719049.38 | INR Twenty Seven Lakh Nineteen Thousand &Forty Nine and Paise Thirty Eight Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information