## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD IIT Kanpur
Name of Work: Repairing/ Replacement of brackets, Pole fuse boxes and street light fittings installed on main road from Hall-3 to Aerosol building.
Contract No: 94/IWD/ED/806 Dated: 28.02.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc.with charcoal/ coke and salt as required. | Item1 | 3 | Each | 4654.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13962.3 | 13962.3 | INR Thirteen Thousand Nine Hundred & Sixty Two and Paise Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | item2 | 100 | Mtr. | 32.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3244 | 3244 | INR Three Thousand Two Hundred & Forty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supplying and making indoor end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1kV grade as reqd. | item3 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.1 | 2x10 sqmm 19mm | item4 | 50 | Set | 173.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8680.5 | 8680.5 | INR Eight Thousand Six Hundred & Eighty and Paise Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Supplying and fixing of light class G.I. pipe of 50 mm dia. (nominal) 3 metres length along the pole for protection of under ground cable as required. | Item5 | 10 | Each | 1444.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14441 | 14441 | INR Fourteen Thousand Four Hundred & Forty One Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Providing and laying in position reinforced cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required (excluding reinforcement). | Item6 | 2 | Cum | 7039.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14079.78 | 14079.78 | INR Fourteen Thousand &Seventy Nine and Paise Seventy Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Supplying and fixing of 32 mm dia X 2.00 metres long G.I. pipe (medium class) double bracket for mounting of 2 nos LED street light fitting on pole including bending the pipe to the required shape, to fit in existing pole cap type with double bending pipe with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as directed by the Engineer In-charge. | Item7 | 25 | Each | 1907.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47676.5 | 47676.5 | INR Forty Seven Thousand Six Hundred & Seventy Six and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Digging cable trench/lifting brick/s and cable for locating fault and refilling the trench, ramming & making good the same as reqd. | Item8 | 150 | Mtr. | 207.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31170 | 31170 | INR Thirty One Thousand One Hundred & Seventy Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Dismentling and refixing brass compression type gland up to 35 sq. mm. cable | Item9 | 50 | Nos. | 163.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8198 | 8198 | INR Eight Thousand One Hundred & Ninety Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Dismentling of cross arm, street light brackets, street light fitting from street light pole complete and depositing in the department store as required. | Item10 | 25 | Nos. | 205.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5129.25 | 5129.25 | INR Five Thousand One Hundred & Twenty Nine and Paise Twenty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Disconnecting and Dismentalling damaged pole fuse box/ Changeover Switch/ MCCB /DB/KWH meter of any size from foundation/pole and depositing in store I/c cartage etc. as reqd. | Item11 | 25 | Nos. | 328.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8220 | 8220 | INR Eight Thousand Two Hundred & Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | S/F testing commissioning of street light Luminures.ENDURA CITYLITE PLAT INUM PLUS 35W LED Energy saving and environmental friendly long life LED street light made up of pressure die cast aluminium housing with high power LED as lighting source and lens embedded PC cover having IP65 protection and Impact resistance of IK07 with 10KV Built-in Surge Protection Device.,make:havells or its equvalent, on the existing street light pole complete as required. | Item12 | 50 | Nos. | 3282.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 164138.5 | 164138.5 | INR One Lakh Sixty Four Thousand One Hundred & Thirty Eight and Paise Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Painting of steel tubler / GI street light poles with minimum two coats of good quality (approved make) aluminium paint after cleaning the surface and rubbing the old paint etc. as reqd. complete. | Item13 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.1 | 4.5 mtrs. Long | Item14 | 25 | Nos. | 208.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5217 | 5217 | INR Five Thousand Two Hundred & Seventeen Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Supplying and drawing of following sizes of FR PVC insulated copper conductor, 3 core round cable of following size in the existing surface/ recessed steel/ PVC conduit as required. | Item15 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.1 | 1.5 Sq.mm | Item16 | 280 | Mtrs. | 85.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24060.4 | 24060.4 | INR Twenty Four Thousand &Sixty and Paise Forty Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Numbering of poles by enamel paint with black letter on yellow base etc. as required. | Item17 | 25 | Each | 67.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1688.25 | 1688.25 | INR One Thousand Six Hundred & Eighty Eight and Paise Twenty Five Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | S&F, connecting and commissioning looping type cable end control box with 2mm fabricated CRCA sheet of size 200 mm x 200 mm x 125 mm having 1 no. 6amp to 32 amp SPMCB 250 volt and 2 nos. brass neutral link square rod 6 way and fixed on 5 mm thick bakelite sheet. Box shall have almirah type hing and panel key type lock front door duly painted with earthing strud etc. complete as required. | Item18 | 25 | Nos. | 1422.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35554.5 | 35554.5 | INR Thirty Five Thousand Five Hundred & Fifty Four and Paise Fifty Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 385459.98 | 385459.98 | INR Three Lakh Eighty Five Thousand Four Hundred & Fifty Nine and Paise Ninety Eight Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information