## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: SITC/ Replacement of Split ACs in Academic Area Zone-3,5,7,10, and 11 at IIT Kanpur
NIT No: EandM/05/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Supply, Installation, testing and commissioning of High wall split type air conditioner units of following capacity of approved inverter (Cooling only) model, with digital display in IDU with cord less remote and other accessories complete with IDU and ODU with copper evap./cond. unit, R-32/ R410a refrigerant ,vaccuming along with 3.0 meter copper pipe with insulation, PVC tape, electrical cabling,flexible conduit, flexible drain pipe i/c metalic/PVC plutop etc. complete as required. | item no.1 | [52 empty] | 1 | Supply, Installation, testing and commissioning of High wall split type air conditioner units of following capacity of approved inverter (Cooling only) model, with digital display in IDU with cord less remote and other accessories complete with IDU and ODU with copper evap./cond. unit, R-32/ R410a refrigerant ,vaccuming along with 3.0 meter copper pipe with insulation, PVC tape, electrical cabling,flexible conduit, flexible drain pipe i/c metalic/PVC plutop etc. complete as required. | item no.1 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | 1.5 TR capacity , 5 star | item no.2 | 10 | Nos | 33100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 331000 | 331000 | INR Three Lakh Thirty One Thousand Only | 1.01 | 1.5 TR capacity , 5 star | item no.2 | 10 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 2.0 TR capacity , 5 star | item no.3 | 8 | Nos | 52000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 416000 | 416000 | INR Four Lakh Sixteen Thousand Only | 1.02 | 2.0 TR capacity , 5 star | item no.3 | 8 | Nos
1.03 | Supply, Installation, testing and commissioning of High wall split type air conditioner unit of following capacity of approved inverter (Hot & Cold) model, digital display in IDU with cordless remote and other accessories complete with IDU and ODU with copper evap./cond. unit, R-32/R410a refrigerant, vaccuming along with 3.0 meter copper pipe with insulation, PVC tape, electrical cabling,flexible conduit, flexible drain pipee i/c metalic/PVC plutop etc. complete as required. | item no.4 | [52 empty] | 1.03 | Supply, Installation, testing and commissioning of High wall split type air conditioner unit of following capacity of approved inverter (Hot & Cold) model, digital display in IDU with cordless remote and other accessories complete with IDU and ODU with copper evap./cond. unit, R-32/R410a refrigerant, vaccuming along with 3.0 meter copper pipe with insulation, PVC tape, electrical cabling,flexible conduit, flexible drain pipee i/c metalic/PVC plutop etc. complete as required. | item no.4
1.04 | 1.5 TR capacity , 3 star | item no.5 | 3 | Nos | 35300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 105900 | 105900 | INR One Lakh Five Thousand Nine Hundred Only | 1.04 | 1.5 TR capacity , 3 star | item no.5 | 3 | Nos
1.05 | 2 TR capacity , 3 star | item no.6 | 2 | Nos | 47000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 94000 | 94000 | INR Ninety Four Thousand Only | 1.05 | 2 TR capacity , 3 star | item no.6 | 2 | Nos
1.06 | Providing & fixing of additional refrigrant copper piping (6.3mm / 15.88 mm) or (6.3mm / 12.7 mm) suitable for suction & discharge line i/c additional refrigerant R-32/ R410a topup as required with 9/13 mm XLPE/Nitrile insulationwith PVC tape on surface/ recessed with clamps, screws etc from indoor to outdoor units as per standard specification complete as required. | item no.7 | 40 | Mtr | 900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36000 | 36000 | INR Thirty Six Thousand Only | 1.06 | Providing & fixing of additional refrigrant copper piping (6.3mm / 15.88 mm) or (6.3mm / 12.7 mm) suitable for suction & discharge line i/c additional refrigerant R-32/ R410a topup as required with 9/13 mm XLPE/Nitrile insulationwith PVC tape on surface/ recessed with clamps, screws etc from indoor to outdoor units as per standard specification complete as required. | item no.7 | 40 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.07 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall | item no.8 | [52 empty] | 1.07 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall | item no.8 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | 20 mm | item no.9 | 40 | Mtr | 285 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11400 | 11400 | INR Eleven Thousand Four Hundred Only | 1.08 | 20 mm | item no.9 | 40 | Mtr | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.09 | Providing & fixing of suitable size and type iron Stand made of 32x5 mm MS angle base for ODU mounting i/c 25x3 mm angle frame with fibre/ Aluminimum sheet canopy duly painted with VI Pad, Nut-bolt, washers etc for outdoor unit complete as required. | item no.10 | 40 | Nos | 2500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100000 | 100000 | INR One Lakh Only | 1.09 | Providing & fixing of suitable size and type iron Stand made of 32x5 mm MS angle base for ODU mounting i/c 25x3 mm angle frame with fibre/ Aluminimum sheet canopy duly painted with VI Pad, Nut-bolt, washers etc for outdoor unit complete as required. | item no.10 | 40 | Nos
1.1 | Supply,laying, testing and commessining of approved make FRLS PVC/XLPE insulated 4 core x 2.5 sq mm power/control copper cable of on surface/recessed complete as required. | item no.11 | 60 | RMT | 160 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9600 | 9600 | INR Nine Thousand Six Hundred Only | 1.1 | Supply,laying, testing and commessining of approved make FRLS PVC/XLPE insulated 4 core x 2.5 sq mm power/control copper cable of on surface/recessed complete as required. | item no.11 | 60 | RMT
1.11 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. | item no.12 | [52 empty] | 1.11 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. | item no.12
1.12 | 3 pin- 16 Amp. (PVC) | item no.13 | 15 | Nos | 136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2040 | 2040 | INR Two Thousand &Forty Only | 1.12 | 3 pin- 16 Amp. (PVC) | item no.13 | 15 | Nos
1.13 | 3 pin- 16 Amp. (Metalic) | item no.14 | 10 | Nos | 210 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2100 | 2100 | INR Two Thousand One Hundred Only | 1.13 | 3 pin- 16 Amp. (Metalic) | item no.14 | 10 | Nos
1.14 | Providing, laying & fixing of rain forced fiber flexible/soft PVC pipe of size given below etc. complete as reqd. | item no.15 | [52 empty] | 1.14 | Providing, laying & fixing of rain forced fiber flexible/soft PVC pipe of size given below etc. complete as reqd. | item no.15
1.15 | Upto 16 mm | item no.16 | 20 | Mtr | 40 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 800 | 800 | INR Eight Hundred Only | 1.15 | Upto 16 mm | item no.16 | 20 | Mtr
1.16 | Supply and fixing PVC/UPVC mini trunking (casing-caping) & flexible conduit of following size white-system with independent cover etc. as reqd | item no.17 | [52 empty] | 1.16 | Supply and fixing PVC/UPVC mini trunking (casing-caping) & flexible conduit of following size white-system with independent cover etc. as reqd | item no.17
1.17 | Trunking 20mm x 12mm | item no.18 | 20 | Mtr | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1500 | 1500 | INR One Thousand Five Hundred Only | 1.17 | Trunking 20mm x 12mm | item no.18 | 20 | Mtr
1.18 | Flexible Conduit 20 mm | item no.19 | 20 | Mtr | 38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 760 | 760 | INR Seven Hundred & Sixty Only | 1.18 | Flexible Conduit 20 mm | item no.19 | 20 | Mtr
1.19 | Supply & Installation of DLP trunking 105 x 50 mm without cover and partition/accessories etc. | item no.20 | 30 | RMT | 750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22500 | 22500 | INR Twenty Two Thousand Five Hundred Only | 1.19 | Supply & Installation of DLP trunking 105 x 50 mm without cover and partition/accessories etc. | item no.20 | 30 | RMT
1.2 | Supply & Installation of flexible cover 85 mm for DLP trunking 105 x 50 mm etc. | item no.21 | 30 | RMT | 300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9000 | 9000 | INR Nine Thousand Only | 1.2 | Supply & Installation of flexible cover 85 mm for DLP trunking 105 x 50 mm etc. | item no.21 | 30 | RMT
Total in Figures | [51 empty] | 1142600 | 1142600 | Eleven Lakh Forty Two Thousand Six Hundred Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information