## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Modification works in 403H, DJAC Building at IIT Kanpur (SH: Civil and Electrical)
NIT No: Composite/02/11/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CLADDING WORK | item no.1 | [52 empty] | 1.01 | Supply installation testing and commissioning of cubical type LT panel-01 (IEC 61439 ) suitable for 4000Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.1 | 1 | CLADDING WORK | item no.1
2 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.2 | 4.8 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4476 | 4476 | INR Four Thousand Four Hundred & Seventy Six Only | 1.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter (on all incomer and outgoing feeders) to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.2 | 2 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.2 | 4.8 | sqm
3 | WOOD AND P. V. C. WORK | item no.3 | [52 empty] | 1.03 | Incoming | item no.3 | 3 | WOOD AND P. V. C. WORK | item no.3
4 | Extra for providing frosted glass panes 4 mm thick instead of ordinary float glass panes 4 mm thick in doors, windows and clerestory window shutters. (Area of opening for glass panes excluding portion inside rebate shall be measured). | item no.4 | 42 | sqm | 130.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5469 | 5469 | INR Five Thousand Four Hundred & Sixty Nine Only | 1.04 | 2 No's 4000A, FP, EDO,50KA, ACB with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. suitable to connect with the bus duct and through cables. ABB-Emax2/ Schneider MTZ/Siemens 3VA | item no.4 | 4 | Extra for providing frosted glass panes 4 mm thick instead of ordinary float glass panes 4 mm thick in doors, windows and clerestory window shutters. (Area of opening for glass panes excluding portion inside rebate shall be measured). | item no.4 | 42 | sqm
5 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.5 | [52 empty] | 1.05 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-4000/5A, Cl1.0, 15KVA cast rasin for metering, protection CTs 4000/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.5 | 5 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.5
6 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.6 | 8.4 | sqm | 1767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14846 | 14846 | INR Fourteen Thousand Eight Hundred & Forty Six Only | 1.06 | Both Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.6 | 6 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.6 | 8.4 | sqm
7 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.7 | 8.4 | sqm | 351.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2956 | 2956 | INR Two Thousand Nine Hundred & Fifty Six Only | 1.07 | Bus bar: 1 No.4000 A, 50HZ, FP, Aliminium Bus Bar | item no.7 | 7 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.7 | 8.4 | sqm
8 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.8 | [52 empty] | 1.08 | OutGoing: | item no.8 | 8 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.8
9 | Rectangular or square | item no.9 | 8.4 | sqm | 152.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1281 | 1281 | INR One Thousand Two Hundred & Eighty One Only | 1.09 | 2 nos.2500 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.9 | 9 | Rectangular or square | item no.9 | 8.4 | sqm
10 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.10 | 4 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3597 | 3597 | INR Three Thousand Five Hundred & Ninety Seven Only | 1.1 | 2 nos.1600 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.10 | 10 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.10 | 4 | each
11 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.11 | [52 empty] | 1.11 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-3Nos, FP Spreader(8x3=24Nos) for MCCB 800A- 3 Nos | item no.11 | 11 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.11
12 | 250x16 mm | item no.12 | 4 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 824 | 824 | INR Eight Hundred & Twenty Four Only | 1.12 | 2 nos. 630 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-2Nos, FP Spreader(8x2=16Nos) for MCCB 630A- 2Nos | item no.12 | 12 | 250x16 mm | item no.12 | 4 | each
13 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.13 | [55 empty] | 13 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.13
14 | 250x10 mm | item no.14 | 8 | each | 91.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 732 | 732 | INR Seven Hundred & Thirty Two Only |  |  |  | 14 | 250x10 mm | item no.14 | 8 | each
15 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.15 | [55 empty] | 15 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.15
16 | 125 mm | item no.16 | 50 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2633 | 2633 | INR Two Thousand Six Hundred & Thirty Three Only |  |  |  | 16 | 125 mm | item no.16 | 50 | each
17 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.17 | [55 empty] | 17 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.17
18 | Twin rubber stopper | item no.18 | 25 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1365 | 1365 | INR One Thousand Three Hundred & Sixty Five Only |  |  |  | 18 | Twin rubber stopper | item no.18 | 25 | each
19 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.19 | [55 empty] | 19 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.19
20 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.20 | 396 | sqm | 1576.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 624171 | 624171 | INR Six Lakh Twenty Four Thousand One Hundred & Seventy One Only |  |  |  | 20 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.20 | 396 | sqm
21 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.21 | [55 empty] | 21 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.21
22 | 1.0 mm thick | item no.22 | 16.8 | sqm | 669.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11254 | 11254 | INR Eleven Thousand Two Hundred & Fifty Four Only |  |  |  | 22 | 1.0 mm thick | item no.22 | 16.8 | sqm
23 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.23 | 1025 | kg | 116.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119843 | 119843 | INR One Lakh Nineteen Thousand Eight Hundred & Forty Three Only |  |  |  | 23 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.23 | 1025 | kg
24 | STEEL WORK | item no.24 | [55 empty] | 24 | STEEL WORK | item no.24
25 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.25 | [55 empty] | 25 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.25
26 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.26 | 122.5 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15284 | 15284 | INR Fifteen Thousand Two Hundred & Eighty Four Only |  |  |  | 26 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.26 | 122.5 | kg
27 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.27 | [55 empty] | 27 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.27
28 | 10 x 60 mm | item no.28 | 284 | each | 97.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27815 | 27815 | INR Twenty Seven Thousand Eight Hundred & Fifteen Only |  |  |  | 28 | 10 x 60 mm | item no.28 | 284 | each
29 | ROOFING | item no.29 | [55 empty] | 29 | ROOFING | item no.29
30 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item no.30 | [55 empty] | 30 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : | item no.30
31 | 12.5 mm thick tapered edge gypsum moisture resistant board | item no.31 | 6 | sqm | 1140.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6842 | 6842 | INR Six Thousand Eight Hundred & Forty Two Only |  |  |  | 31 | 12.5 mm thick tapered edge gypsum moisture resistant board | item no.31 | 6 | sqm
32 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.32 | 396 | sqm | 269.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 106718 | 106718 | INR One Lakh Six Thousand Seven Hundred & Eighteen Only |  |  |  | 32 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.32 | 396 | sqm
33 | FINISHING | item no.33 | [55 empty] | 33 | FINISHING | item no.33
34 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.34 | [55 empty] | 34 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.34
35 | Two or more coats on new work | item no.35 | 800 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65056 | 65056 | INR Sixty Five Thousand &Fifty Six Only |  |  |  | 35 | Two or more coats on new work | item no.35 | 800 | sqm
36 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.36 | [55 empty] | 36 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.36
37 | Two or more coats on new work | item no.37 | 20 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2305 | 2305 | INR Two Thousand Three Hundred & Five Only |  |  |  | 37 | Two or more coats on new work | item no.37 | 20 | sqm
38 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.38 | [55 empty] | 38 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.38
39 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.39 | 8.4 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1410 | 1410 | INR One Thousand Four Hundred & Ten Only |  |  |  | 39 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.39 | 8.4 | sqm
40 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.40 | 800 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 86872 | 86872 | INR Eighty Six Thousand Eight Hundred & Seventy Two Only |  |  |  | 40 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.40 | 800 | sqm
41 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.41 | [55 empty] | 41 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.41
42 | Old work (one or more coats) | item no.42 | 175 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8715 | 8715 | INR Eight Thousand Seven Hundred & Fifteen Only |  |  |  | 42 | Old work (one or more coats) | item no.42 | 175 | sqm
43 | Dismantling and Demolishing | item no.43 | [55 empty] | 43 | Dismantling and Demolishing | item no.43
44 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.44 | 4.8 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 190 | 190 | INR One Hundred & Ninety Only |  |  |  | 44 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.44 | 4.8 | sqm
45 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.45 | 6 | sqm | 40.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 245 | 245 | INR Two Hundred & Forty Five Only |  |  |  | 45 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.45 | 6 | sqm
46 | SANITARY INSTALLATIONS | item no.46 | [55 empty] | 46 | SANITARY INSTALLATIONS | item no.46
47 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : | item no.47 | [55 empty] | 47 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : | item no.47
48 | Size 600x450x200 mm | item no.48 | 2 | each | 4919.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9839 | 9839 | INR Nine Thousand Eight Hundred & Thirty Nine Only |  |  |  | 48 | Size 600x450x200 mm | item no.48 | 2 | each
49 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.49 | [55 empty] | 49 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.49
50 | Flexible pipe | item no.50 | [55 empty] | 50 | Flexible pipe | item no.50
51 | 32 mm dia | item no.51 | 2 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 183 | 183 | INR One Hundred & Eighty Three Only |  |  |  | 51 | 32 mm dia | item no.51 | 2 | each
52 | WATER SUPPLY | item no.52 | [55 empty] | 52 | WATER SUPPLY | item no.52
53 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.53 | [55 empty] | 53 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.53
54 | 15 mm dia nominal bore | item no.54 | 3 | metre | 266.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 800 | 800 | INR Eight Hundred Only |  |  |  | 54 | 15 mm dia nominal bore | item no.54 | 3 | metre
55 | 20 mm dia nominal bore | item no.55 | 18 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5892 | 5892 | INR Five Thousand Eight Hundred & Ninety Two Only |  |  |  | 55 | 20 mm dia nominal bore | item no.55 | 18 | metre
56 | 40 mm dia nominal bore | item no.56 | 19.8 | metre | 635.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12589 | 12589 | INR Twelve Thousand Five Hundred & Eighty Nine Only |  |  |  | 56 | 40 mm dia nominal bore | item no.56 | 19.8 | metre
57 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.57 | [55 empty] | 57 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.57
58 | 25 to 40 mm nominal bore | item no.58 | 1 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 664 | 664 | INR Six Hundred & Sixty Four Only |  |  |  | 58 | 25 to 40 mm nominal bore | item no.58 | 1 | each
59 | Providing and fixing brass stop cock of approved quality : | item no.59 | [55 empty] | 59 | Providing and fixing brass stop cock of approved quality : | item no.59
60 | 15 mm nominal bore | item no.60 | 2 | each | 266.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 533 | 533 | INR Five Hundred & Thirty Three Only |  |  |  | 60 | 15 mm nominal bore | item no.60 | 2 | each
61 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.61 | [55 empty] | 61 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.61
62 | 20 mm nominal bore | item no.62 | 1 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 405 | 405 | INR Four Hundred & Five Only |  |  |  | 62 | 20 mm nominal bore | item no.62 | 1 | each
63 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.63 | [55 empty] | 63 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.63
64 | 20 mm nominal bore | item no.64 | 2 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 507 | 507 | INR Five Hundred & Seven Only |  |  |  | 64 | 20 mm nominal bore | item no.64 | 2 | each
65 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.65 | [55 empty] | 65 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.65
66 | 15 mm nominal bore | item no.66 | 2 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1242 | 1242 | INR One Thousand Two Hundred & Forty Two Only |  |  |  | 66 | 15 mm nominal bore | item no.66 | 2 | each
67 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.67 | [55 empty] | 67 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.67
68 | With common burnt clay F.P.S. (non modular) bricks | item no.68 | 2 | each | 317.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 636 | 636 | INR Six Hundred & Thirty Six Only |  |  |  | 68 | With common burnt clay F.P.S. (non modular) bricks | item no.68 | 2 | each
69 | ALUMINIUM WORK | item no.69 | [55 empty] | 69 | ALUMINIUM WORK | item no.69
70 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.70 | [55 empty] | 70 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.70
71 | For fixed portion | item no.71 | [55 empty] | 71 | For fixed portion | item no.71
72 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.72 | 305 | kg | 380.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 116049 | 116049 | INR One Lakh Sixteen Thousand &Forty Nine Only |  |  |  | 72 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.72 | 305 | kg
73 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.73 | [55 empty] | 73 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.73
74 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.74 | 252 | kg | 466.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 117505 | 117505 | INR One Lakh Seventeen Thousand Five Hundred & Five Only |  |  |  | 74 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.74 | 252 | kg
75 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer- in-charge. | item no.75 | [55 empty] | 75 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer- in-charge. | item no.75
76 | Pre-laminated particle board with decorative lamination on both sides | item no.76 | 20.8 | sqm | 833.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17345 | 17345 | INR Seventeen Thousand Three Hundred & Forty Five Only |  |  |  | 76 | Pre-laminated particle board with decorative lamination on both sides | item no.76 | 20.8 | sqm
77 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.77 | [55 empty] | 77 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.77
78 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.78 | 39.5 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45909 | 45909 | INR Forty Five Thousand Nine Hundred & Nine Only |  |  |  | 78 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.78 | 39.5 | sqm
79 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | item no.79 | 18 | each | 394.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7095 | 7095 | INR Seven Thousand &Ninety Five Only |  |  |  | 79 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | item no.79 | 18 | each
80 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.80 | [55 empty] | 80 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.80
81 | 3 x 2.5 sq. mm | item no.81 | 200 | Metre | 120.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24024 | 24024 | INR Twenty Four Thousand &Twenty Four Only |  |  |  | 81 | 3 x 2.5 sq. mm | item no.81 | 200 | Metre
82 | 3 x 4 sq. mm | item no.82 | 500 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90310 | 90310 | INR Ninety Thousand Three Hundred & Ten Only |  |  |  | 82 | 3 x 4 sq. mm | item no.82 | 500 | Metre
83 | 6 x 6 sq. mm | item no.83 | 60 | Metre | 524.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31460 | 31460 | INR Thirty One Thousand Four Hundred & Sixty Only |  |  |  | 83 | 6 x 6 sq. mm | item no.83 | 60 | Metre
84 | 6 x 10 sq.mm. | item no.84 | 20 | Meter | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19588 | 19588 | INR Nineteen Thousand Five Hundred & Eighty Eight Only |  |  |  | 84 | 6 x 10 sq.mm. | item no.84 | 20 | Meter
85 | 6 x 16 sq.mm. | item no.85 | 15 | Meter | 1523.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22858 | 22858 | INR Twenty Two Thousand Eight Hundred & Fifty Eight Only |  |  |  | 85 | 6 x 16 sq.mm. | item no.85 | 15 | Meter
86 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.86 | [55 empty] | 86 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.86
87 | 25 mm | item no.87 | 30 | Metre | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6734 | 6734 | INR Six Thousand Seven Hundred & Thirty Four Only |  |  |  | 87 | 25 mm | item no.87 | 30 | Metre
88 | 32 mm | item no.88 | 40 | Metre | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11434 | 11434 | INR Eleven Thousand Four Hundred & Thirty Four Only |  |  |  | 88 | 32 mm | item no.88 | 40 | Metre
89 | Supply & Laying of 40 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item no.89 | [55 empty] | 89 | Supply & Laying of 40 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | item no.89
90 | On Surface | item no.90 | 45 | Meter | 264.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11916 | 11916 | INR Eleven Thousand Nine Hundred & Sixteen Only |  |  |  | 90 | On Surface | item no.90 | 45 | Meter
91 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.91 | 170 | Meter | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 166498 | 166498 | INR One Lakh Sixty Six Thousand Four Hundred & Ninety Eight Only |  |  |  | 91 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.91 | 170 | Meter
92 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.92 | [55 empty] | 92 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.92
93 | 85 mm flexible cover | item no.93 | 165 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71325 | 71325 | INR Seventy One Thousand Three Hundred & Twenty Five Only |  |  |  | 93 | 85 mm flexible cover | item no.93 | 165 | Meter
94 | End cap | item no.94 | 15 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2920 | 2920 | INR Two Thousand Nine Hundred & Twenty Only |  |  |  | 94 | End cap | item no.94 | 15 | Nos.
95 | Internal angles- adjustable from 80°-100° | item no.95 | 35 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18873 | 18873 | INR Eighteen Thousand Eight Hundred & Seventy Three Only |  |  |  | 95 | Internal angles- adjustable from 80°-100° | item no.95 | 35 | Nos.
96 | external angles- adjustable from 60°-120° | item no.96 | 30 | Nos. | 550.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16519 | 16519 | INR Sixteen Thousand Five Hundred & Nineteen Only |  |  |  | 96 | external angles- adjustable from 60°-120° | item no.96 | 30 | Nos.
97 | flat junction | item no.97 | 10 | Nos. | 938.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9382 | 9382 | INR Nine Thousand Three Hundred & Eighty Two Only |  |  |  | 97 | flat junction | item no.97 | 10 | Nos.
98 | flat angles | item no.98 | 10 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7628 | 7628 | INR Seven Thousand Six Hundred & Twenty Eight Only |  |  |  | 98 | flat angles | item no.98 | 10 | Nos.
99 | separation partitions | item no.99 | 150 | Meter | 260.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39062 | 39062 | INR Thirty Nine Thousand &Sixty Two Only |  |  |  | 99 | separation partitions | item no.99 | 150 | Meter
100 | Joints for 85mm width cover | item no.100 | 65 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14590 | 14590 | INR Fourteen Thousand Five Hundred & Ninety Only |  |  |  | 100 | Joints for 85mm width cover | item no.100 | 65 | Nos.
101 | base joints | item no.101 | 130 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11740 | 11740 | INR Eleven Thousand Seven Hundred & Forty Only |  |  |  | 101 | base joints | item no.101 | 130 | Nos.
102 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.102 | [55 empty] | 102 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.102
103 | 3 module | item no.103 | 40 | Nos. | 300.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12030 | 12030 | INR Twelve Thousand &Thirty Only |  |  |  | 103 | 3 module | item no.103 | 40 | Nos.
104 | 6 module | item no.104 | 80 | Nos. | 403.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32266 | 32266 | INR Thirty Two Thousand Two Hundred & Sixty Six Only |  |  |  | 104 | 6 module | item no.104 | 80 | Nos.
105 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.105 | 12 | Nos. | 906.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10879 | 10879 | INR Ten Thousand Eight Hundred & Seventy Nine Only |  |  |  | 105 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.105 | 12 | Nos.
106 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.106 | [55 empty] | 106 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.106
107 | 8 way (4 + 24), Double door | item no.107 | 1 | No. | 8912.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8913 | 8913 | INR Eight Thousand Nine Hundred & Thirteen Only |  |  |  | 107 | 8 way (4 + 24), Double door | item no.107 | 1 | No.
108 | 12 way (4 + 36), Double door | item no.108 | 2 | No. | 11252.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22504 | 22504 | INR Twenty Two Thousand Five Hundred & Four Only |  |  |  | 108 | 12 way (4 + 36), Double door | item no.108 | 2 | No.
109 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.109 | [55 empty] | 109 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.109
110 | Single pole 5 A to 32 A | item no.110 | 60 | No. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13468 | 13468 | INR Thirteen Thousand Four Hundred & Sixty Eight Only |  |  |  | 110 | Single pole 5 A to 32 A | item no.110 | 60 | No.
111 | Double pole 5 A to 32 A | item no.111 | 10 | No. | 575.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5752 | 5752 | INR Five Thousand Seven Hundred & Fifty Two Only |  |  |  | 111 | Double pole 5 A to 32 A | item no.111 | 10 | No.
112 | Triple pole 5 A to 32 A | item no.112 | 3 | No. | 882.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2649 | 2649 | INR Two Thousand Six Hundred & Forty Nine Only |  |  |  | 112 | Triple pole 5 A to 32 A | item no.112 | 3 | No.
113 | Triple pole and neutral 5 A to 32 A | item no.113 | 4 | No. | 1076.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4307 | 4307 | INR Four Thousand Three Hundred & Seven Only |  |  |  | 113 | Triple pole and neutral 5 A to 32 A | item no.113 | 4 | No.
114 | Single Pole (40A-63A) | item no.114 | 7 | Nos. | 719.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5039 | 5039 | INR Five Thousand &Thirty Nine Only |  |  |  | 114 | Single Pole (40A-63A) | item no.114 | 7 | Nos.
115 | Triple pole (40A-63A) | item no.115 | 3 | Nos. | 2427.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7281 | 7281 | INR Seven Thousand Two Hundred & Eighty One Only |  |  |  | 115 | Triple pole (40A-63A) | item no.115 | 3 | Nos.
116 | Four Pole (40A-63A) | item no.116 | 3 | Nos. | 3037.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9112 | 9112 | INR Nine Thousand One Hundred & Twelve Only |  |  |  | 116 | Four Pole (40A-63A) | item no.116 | 3 | Nos.
117 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.117 | [55 empty] | 117 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.117
118 | 6 A switch | item no.118 | 55 | No. | 239.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13165 | 13165 | INR Thirteen Thousand One Hundred & Sixty Five Only |  |  |  | 118 | 6 A switch | item no.118 | 55 | No.
119 | 20 A switch | item no.119 | 80 | No. | 426.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34090 | 34090 | INR Thirty Four Thousand &Ninety Only |  |  |  | 119 | 20 A switch | item no.119 | 80 | No.
120 | 6 A pin 2/3 pin socket outlet | item no.120 | 55 | No. | 279.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15384 | 15384 | INR Fifteen Thousand Three Hundred & Eighty Four Only |  |  |  | 120 | 6 A pin 2/3 pin socket outlet | item no.120 | 55 | No.
121 | 6/16 A 3 pin socket outlet | item no.121 | 80 | No. | 546.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43700 | 43700 | INR Forty Three Thousand Seven Hundred Only |  |  |  | 121 | 6/16 A 3 pin socket outlet | item no.121 | 80 | No.
122 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.122 | 1600 | Meter | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29456 | 29456 | INR Twenty Nine Thousand Four Hundred & Fifty Six Only |  |  |  | 122 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.122 | 1600 | Meter
123 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.123 | 35 | Nos. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2793 | 2793 | INR Two Thousand Seven Hundred & Ninety Three Only |  |  |  | 123 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.123 | 35 | Nos.
124 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.124 | 1 | Nos. | 256.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 257 | 257 | INR Two Hundred & Fifty Seven Only |  |  |  | 124 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.124 | 1 | Nos.
125 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.125 | [55 empty] | 125 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.125
126 | 32 mm | item no.126 | 5 | Meter | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 417 | 417 | INR Four Hundred & Seventeen Only |  |  |  | 126 | 32 mm | item no.126 | 5 | Meter
127 | Cutting the tiled floor and concrete for making trench of approximate 200 mm wide & 50 mm deep including disposal of rubbish with in lead of 50 mtrs. | item no.127 | 70 | Mtr. | 676.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47321 | 47321 | INR Forty Seven Thousand Three Hundred & Twenty One Only |  |  |  | 127 | Cutting the tiled floor and concrete for making trench of approximate 200 mm wide & 50 mm deep including disposal of rubbish with in lead of 50 mtrs. | item no.127 | 70 | Mtr.
128 | Providing and laying floor tiles in different sizes laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement including grouting the joints with white cement and matching pigments etc. complete. | item no.128 | [55 empty] | 128 | Providing and laying floor tiles in different sizes laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement including grouting the joints with white cement and matching pigments etc. complete. | item no.128
129 | Size of Tile 600x600 mm | item no.129 | 20 | sqm | 1193.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23867 | 23867 | INR Twenty Three Thousand Eight Hundred & Sixty Seven Only |  |  |  | 129 | Size of Tile 600x600 mm | item no.129 | 20 | sqm
Total in Figures | [51 empty] | 2373603 | 2369127 | Twenty Three Lakh Seventy Three Thousand Six Hundred & Three Only |  |  |  | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only |  |  |  | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [55 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information