## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work:Providing and fixing LED lights with ST poles and other associated works at various sports courts of Hall-6, IIT Kanpur
NIT No: Electrical/09/04/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supply, fixing, connecting and commissioning & testing of the following light fixtures complete with all accessories including driver and associated accessories etc. including nut, bolts and washer complete as reqd. | item no.1 | [52 empty] | 1.01 | Supply, fixing, connecting and commissioning & testing of the following light fixtures complete with all accessories including driver and associated accessories etc. including nut, bolts and washer complete as reqd. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | LED Flood light 120 watt 240/440 volts, 50Hz, protection_IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. | item no.2 | 16 | Nos. | 10308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 164928 | 164928 | INR One Lakh Sixty Four Thousand Nine Hundred & Twenty Eight Only | 1.02 | LED Flood light 120 watt 240/440 volts, 50Hz, protection_IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. | item no.2 | 16 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | LED Flood light 150 watt 240/440 volts, 50Hz, protection_IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton_Pluto neo LFLN-150-CDL/60M or equivalent approved make) | item no.3 | 16 | Nos. | 11516 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 184256 | 184256 | INR One Lakh Eighty Four Thousand Two Hundred & Fifty Six Only | 1.03 | LED Flood light 150 watt 240/440 volts, 50Hz, protection_IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton_Pluto neo LFLN-150-CDL/60M or equivalent approved make) | item no.3 | 16 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Supply and drawing PVC insulated copper conductor (Flexible) 3core round cable of following size for connection of equipments xomplete as reqd. | item no.4 | [52 empty] | 1.04 | Supply and drawing PVC insulated copper conductor (Flexible) 3core round cable of following size for connection of equipments xomplete as reqd. | item no.4
1.05 | 3 x 1.5 Sq.mm.. | item no.5 | 240 | Mtrs | 81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19440 | 19440 | INR Nineteen Thousand Four Hundred & Forty Only | 1.05 | 3 x 1.5 Sq.mm.. | item no.5 | 240 | Mtrs
1.06 | Supply and erection of ST pole 9.0 mtr. long (410-SP-30) with base plate 6mm thick and 300 mm x 300mm x 6mm size & cap i/c CC foundation complete 1:3:6 ( 1 cement:3 coarse sand:6 stone aggr. 40mm size). duly painted with 2 coats of good quality aluminium paint etc. as required. | item no.6 | 20 | Nos. | 20139 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 402780 | 402780 | INR Four Lakh Two Thousand Seven Hundred & Eighty Only | 1.06 | Supply and erection of ST pole 9.0 mtr. long (410-SP-30) with base plate 6mm thick and 300 mm x 300mm x 6mm size & cap i/c CC foundation complete 1:3:6 ( 1 cement:3 coarse sand:6 stone aggr. 40mm size). duly painted with 2 coats of good quality aluminium paint etc. as required. | item no.6 | 20 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.07 | Making masonry pillar with bricks, cement and sand ( 1: 4) of size 450mm x 450mm x 700mm height above the ground level after 100mm C.C (1: 3 : 6 ) foundation and plastered 15 mm on all sides including painting with white cement etc as reqd. | item no.7 | 20 | Nos. | 1890 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37800 | 37800 | INR Thirty Seven Thousand Eight Hundred Only | 1.07 | Making masonry pillar with bricks, cement and sand ( 1: 4) of size 450mm x 450mm x 700mm height above the ground level after 100mm C.C (1: 3 : 6 ) foundation and plastered 15 mm on all sides including painting with white cement etc as reqd. | item no.7 | 20 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | Supplying, fixing, connecting and commissioning of control box of size 200 x200x 125mm deep of 2mm thick MS sheet on existing pole with 1 no. 6 Amp. to 32 Amp. SPMCB, 10 kA, brass neutral link 6 way & phase link fixed on 6 mm thick bakelite sheet, i/c painting earthing etc as reqd. | item no.8 | 20 | Nos. | 1291 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25820 | 25820 | INR Twenty Five Thousand Eight Hundred & Twenty Only | 1.08 | Supplying, fixing, connecting and commissioning of control box of size 200 x200x 125mm deep of 2mm thick MS sheet on existing pole with 1 no. 6 Amp. to 32 Amp. SPMCB, 10 kA, brass neutral link 6 way & phase link fixed on 6 mm thick bakelite sheet, i/c painting earthing etc as reqd. | item no.8 | 20 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.09 | Supply, fixing, connecting and commissioning cable end control box (looping type) fabricated with MS sheet of 16 SWG of size 250 mm X 200 mm X 125 mm having 3 Nos. SP MCB & 1 nos. DP MCB 6 Amp to 32 Amp, 230 volts and 2 Nos. Brass neutral link 12.5 mm square rod 10 way approx. 100 mm long and fixed on 6 mm thick bakelite sheet. Box shall have almirah type hinge and panel key type lock front door duly painted with earthing stud etc. complete as required. | item no.9 | 3 | Nos. | 2324 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6972 | 6972 | INR Six Thousand Nine Hundred & Seventy Two Only | 1.09 | Supply, fixing, connecting and commissioning cable end control box (looping type) fabricated with MS sheet of 16 SWG of size 250 mm X 200 mm X 125 mm having 3 Nos. SP MCB & 1 nos. DP MCB 6 Amp to 32 Amp, 230 volts and 2 Nos. Brass neutral link 12.5 mm square rod 10 way approx. 100 mm long and fixed on 6 mm thick bakelite sheet. Box shall have almirah type hinge and panel key type lock front door duly painted with earthing stud etc. complete as required. | item no.9 | 3 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.10 | [52 empty] | 1.1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.10
1.11 | 4 x 10 sq. mm | item no.11 | 60 | Mtr. | 793 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47580 | 47580 | INR Forty Seven Thousand Five Hundred & Eighty Only | 1.11 | 4 x 10 sq. mm | item no.11 | 60 | Mtr.
1.12 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required. | item no.12 | [52 empty] | 1.12 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required. | item no.12
1.13 | 250 mm X 300 mm X 100 mm deep | item no.13 | 4 | Nos. | 572.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2290 | 2290 | INR Two Thousand Two Hundred & Ninety Only | 1.13 | 250 mm X 300 mm X 100 mm deep | item no.13 | 4 | Nos.
1.14 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.14 | [52 empty] | 1.14 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.14
1.15 | 6 way (4 + 18), Double door | item no.15 | 1 | No. | 4361.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4361 | 4361 | INR Four Thousand Three Hundred & Sixty One Only | 1.15 | 6 way (4 + 18), Double door | item no.15 | 1 | No.
1.16 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.16 | [52 empty] | 1.16 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.16
1.17 | Single pole | item no.17 | 24 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5387 | 5387 | INR Five Thousand Three Hundred & Eighty Seven Only | 1.17 | Single pole | item no.17 | 24 | Nos.
1.18 | Double pole | item no.18 | 3 | Nos. | 575.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1726 | 1726 | INR One Thousand Seven Hundred & Twenty Six Only | 1.18 | Double pole | item no.18 | 3 | Nos.
1.19 | Triple pole | item no.19 | 1 | No. | 882.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 883 | 883 | INR Eight Hundred & Eighty Three Only | 1.19 | Triple pole | item no.19 | 1 | No.
1.2 | Supplying and fixing 40 A to 63 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.20 | [52 empty] | 1.2 | Supplying and fixing 40 A to 63 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.20
1.21 | Triple pole and neutral | item no.21 | 1 | No. | 1678 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1678 | 1678 | INR One Thousand Six Hundred & Seventy Eight Only | 1.21 | Triple pole and neutral | item no.21 | 1 | No.
1.22 | Supply, laying,testing and commissioning of one No. XLPE/ PVC insulated & PVC sheathed power cables (heavy duty) aluminium conductor, steel armoured cable of size 2x6 sqmm, 1.1kV grade in following manners complete as reqd. | item no.22 | [52 empty] | 1.22 | Supply, laying,testing and commissioning of one No. XLPE/ PVC insulated & PVC sheathed power cables (heavy duty) aluminium conductor, steel armoured cable of size 2x6 sqmm, 1.1kV grade in following manners complete as reqd. | item no.22
1.23 | Direct in ground | item no.23 | 150 | Mtrs | 328 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49200 | 49200 | INR Forty Nine Thousand Two Hundred Only | 1.23 | Direct in ground | item no.23 | 150 | Mtrs
1.24 | On surface | item no.24 | 10 | Mtrs | 141 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1410 | 1410 | INR One Thousand Four Hundred & Ten Only | 1.24 | On surface | item no.24 | 10 | Mtrs
1.25 | In pipe | item no.25 | 10 | Mtrs | 136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1360 | 1360 | INR One Thousand Three Hundred & Sixty Only | 1.25 | In pipe | item no.25 | 10 | Mtrs
1.26 | Open duct | item no.26 | 20 | Mtrs | 127 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2540 | 2540 | INR Two Thousand Five Hundred & Forty Only | 1.26 | Open duct | item no.26 | 20 | Mtrs
1.27 | Supply, laying,testing and commissioning of one No. XLPE/ PVC insulated & PVC sheathed power cables (heavy duty) aluminium conductor, steel armoured cable of size 2x10 sqmm, 1.1kV grade in following manners complete as reqd. | item no.27 | [52 empty] | 1.27 | Supply, laying,testing and commissioning of one No. XLPE/ PVC insulated & PVC sheathed power cables (heavy duty) aluminium conductor, steel armoured cable of size 2x10 sqmm, 1.1kV grade in following manners complete as reqd. | item no.27
1.28 | Direct in ground | item no.28 | 100 | Mtrs | 355 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35500 | 35500 | INR Thirty Five Thousand Five Hundred Only | 1.28 | Direct in ground | item no.28 | 100 | Mtrs
1.29 | On surface | item no.29 | 10 | Mtrs | 168 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1680 | 1680 | INR One Thousand Six Hundred & Eighty Only | 1.29 | On surface | item no.29 | 10 | Mtrs
1.3 | In pipe | item no.30 | 10 | Mtrs | 163 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1630 | 1630 | INR One Thousand Six Hundred & Thirty Only | 1.3 | In pipe | item no.30 | 10 | Mtrs
1.31 | Open duct | item no.31 | 5 | Mtrs | 154 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 770 | 770 | INR Seven Hundred & Seventy Only | 1.31 | Open duct | item no.31 | 5 | Mtrs
1.32 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.32 | [52 empty] | 1.32 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.32
1.33 | 2 X 6 sq. mm (19mm) | item no.33 | 50 | Each | 210.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10522 | 10522 | INR Ten Thousand Five Hundred & Twenty Two Only | 1.33 | 2 X 6 sq. mm (19mm) | item no.33 | 50 | Each
1.34 | 2x10 sq. mm (19mm) | item no.34 | 10 | Each | 211.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2113 | 2113 | INR Two Thousand One Hundred & Thirteen Only | 1.34 | 2x10 sq. mm (19mm) | item no.34 | 10 | Each
1.35 | Supply and Laying HDPE pipe of 25 mm, 2mm thick in following manners including cartage loading & unloading etc. as reqd. | item no.35 | [52 empty] | 1.35 | Supply and Laying HDPE pipe of 25 mm, 2mm thick in following manners including cartage loading & unloading etc. as reqd. | item no.35
1.36 | Direct in ground | item no.36 | 20 | Mtrs | 261 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5220 | 5220 | INR Five Thousand Two Hundred & Twenty Only | 1.36 | Direct in ground | item no.36 | 20 | Mtrs
1.37 | In pipe | item no.37 | 5 | Mtrs | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 340 | 340 | INR Three Hundred & Forty Only | 1.37 | In pipe | item no.37 | 5 | Mtrs
1.38 | Open duct | item no.38 | 50 | Mtrs | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3000 | 3000 | INR Three Thousand Only | 1.38 | Open duct | item no.38 | 50 | Mtrs
1.39 | On surface | item no.39 | 5 | Mtrs | 73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 365 | 365 | INR Three Hundred & Sixty Five Only | 1.39 | On surface | item no.39 | 5 | Mtrs
1.4 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | item no.40 | 3 | Sets | 6010.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18032 | 18032 | INR Eighteen Thousand &Thirty Two Only | 1.4 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | item no.40 | 3 | Sets
1.41 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection / terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm). | item no.41 | 20 | Mtrs | 126.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2525 | 2525 | INR Two Thousand Five Hundred & Twenty Five Only | 1.41 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection / terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm). | item no.41 | 20 | Mtrs
1.42 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | item no.42 | 15 | Mtrs | 619.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9285 | 9285 | INR Nine Thousand Two Hundred & Eighty Five Only | 1.42 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | item no.42 | 15 | Mtrs
1.43 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | item no.43 | 15 | Mtrs | 213.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3209 | 3209 | INR Three Thousand Two Hundred & Nine Only | 1.43 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | item no.43 | 15 | Mtrs
1.44 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | item no.44 | 300 | Mtrs | 36.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11049 | 11049 | INR Eleven Thousand &Forty Nine Only | 1.44 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | item no.44 | 300 | Mtrs
1.45 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.45 | [52 empty] | 1.45 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.45
1.46 | 50 mm dia | item no.46 | 10 | Mtrs | 573.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5736 | 5736 | INR Five Thousand Seven Hundred & Thirty Six Only | 1.46 | 50 mm dia | item no.46 | 10 | Mtrs
1.47 | Providing & fixing of following size of DLP trunking on surface with suitable plug & screws as reqd. (105 mm x 50 mm. ) | item no.47 | 55 | Mtrs. | 736 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40480 | 40480 | INR Forty Thousand Four Hundred & Eighty Only | 1.47 | Providing & fixing of following size of DLP trunking on surface with suitable plug & screws as reqd. (105 mm x 50 mm. ) | item no.47 | 55 | Mtrs.
1.48 | Providing & fixing of accessories for folliwing size of DLP trunking system as reqd.(105 mm x 50 mm. ) | item no.48 | [52 empty] | 1.48 | Providing & fixing of accessories for folliwing size of DLP trunking system as reqd.(105 mm x 50 mm. ) | item no.48
1.49 | Flexible cover for 85 mm width | item no.49 | 55 | Mtr | 335 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18425 | 18425 | INR Eighteen Thousand Four Hundred & Twenty Five Only | 1.49 | Flexible cover for 85 mm width | item no.49 | 55 | Mtr
1.5 | Flat junction | item no.50 | 2 | Nos. | 398 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 796 | 796 | INR Seven Hundred & Ninety Six Only | 1.5 | Flat junction | item no.50 | 2 | Nos.
1.51 | Flat angle | item no.51 | 10 | Nos. | 524 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5240 | 5240 | INR Five Thousand Two Hundred & Forty Only | 1.51 | Flat angle | item no.51 | 10 | Nos.
1.52 | Internal angle adjustable from 80 - 100 | item no.52 | 10 | Nos. | 384 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3840 | 3840 | INR Three Thousand Eight Hundred & Forty Only | 1.52 | Internal angle adjustable from 80 - 100 | item no.52 | 10 | Nos.
1.53 | External angle adjustable from 60 - 120 | item no.53 | 10 | Nos. | 375 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3750 | 3750 | INR Three Thousand Seven Hundred & Fifty Only | 1.53 | External angle adjustable from 60 - 120 | item no.53 | 10 | Nos.
1.54 | End Caps | item no.54 | 5 | Nos. | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 760 | 760 | INR Seven Hundred & Sixty Only | 1.54 | End Caps | item no.54 | 5 | Nos.
1.55 | Base Joint | item no.55 | 50 | Nos. | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3950 | 3950 | INR Three Thousand Nine Hundred & Fifty Only | 1.55 | Base Joint | item no.55 | 50 | Nos.
1.56 | cover Joint 85 mm width | item no.56 | 25 | Nos. | 174 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4350 | 4350 | INR Four Thousand Three Hundred & Fifty Only | 1.56 | cover Joint 85 mm width | item no.56 | 25 | Nos.
1.57 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.57 | 10 | Kgs. | 68.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 686 | 686 | INR Six Hundred & Eighty Six Only | 1.57 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.57 | 10 | Kgs.
1.58 | Providing and fixing metal enclosure including cutting, shaping, rivetting/ welding and fabrication of MS sheet (1.6 mm thick) with door with hinged, locking & hanging arrangements of suitable size , duly power coated painted complete as per drawing. | item no.58 | 25 | Kgs. | 189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4725 | 4725 | INR Four Thousand Seven Hundred & Twenty Five Only | 1.58 | Providing and fixing metal enclosure including cutting, shaping, rivetting/ welding and fabrication of MS sheet (1.6 mm thick) with door with hinged, locking & hanging arrangements of suitable size , duly power coated painted complete as per drawing. | item no.58 | 25 | Kgs.
1.59 | Supply and erection of angle iron 50mm x 50mm x 6mm (5.00 kg/mtr) cross arm for 2 wire overhead line complete with clamps, bolts and nuts etc. including drilling of holes for insulators pins, bolts and nuts with washer etc. as painting with primer and finish paint as reqd. | item no.59 | 15 | Mtrs | 755 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11325 | 11325 | INR Eleven Thousand Three Hundred & Twenty Five Only | 1.59 | Supply and erection of angle iron 50mm x 50mm x 6mm (5.00 kg/mtr) cross arm for 2 wire overhead line complete with clamps, bolts and nuts etc. including drilling of holes for insulators pins, bolts and nuts with washer etc. as painting with primer and finish paint as reqd. | item no.59 | 15 | Mtrs
Total in Figures | [51 empty] | 1169714 | 1169714 | Eleven Lakh Sixty Nine Thousand Seven Hundred & Fourteen Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information