## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Various civil works in Old SIDBI block, Hall 5 and Hall 11 at IIT Kanpur
NIT No: Civil/14/05/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | item no.1 | [52 empty] | 1.01 | Supply installation testing and commissioning of cubical type LT panel-01 (IEC 61439 ) suitable for 4000Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.1 | 1 | EARTH WORK | item no.1
2 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.2 | [52 empty] | 1.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter (on all incomer and outgoing feeders) to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.2 | 2 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.2
3 | All kinds of soil. | item no.3 | 14.8 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3722 | 3722 | INR Three Thousand Seven Hundred & Twenty Two Only | 1.03 | Incoming | item no.3 | 3 | All kinds of soil. | item no.3 | 14.8 | cum
4 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.4 | [52 empty] | 1.04 | 2 No's 4000A, FP, EDO,50KA, ACB with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. suitable to connect with the bus duct and through cables. ABB-Emax2/ Schneider MTZ/Siemens 3VA | item no.4 | 4 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.4
5 | All kinds of soil | item no.5 | [52 empty] | 1.05 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-4000/5A, Cl1.0, 15KVA cast rasin for metering, protection CTs 4000/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.5 | 5 | All kinds of soil | item no.5
6 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | item no.6 | 214 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 78311 | 78311 | INR Seventy Eight Thousand Three Hundred & Eleven Only | 1.06 | Both Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.6 | 6 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | item no.6 | 214 | metre
7 | Surface dressing of the ground including removing vegetation and in- equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.7 | [55 empty] | 7 | Surface dressing of the ground including removing vegetation and in- equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.7
8 | All kinds of soil | item no.8 | 421 | sqm | 24.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10390 | 10390 | INR Ten Thousand Three Hundred & Ninety Only |  |  |  | 8 | All kinds of soil | item no.8 | 421 | sqm
9 | CEMENT CONCRETE (CAST IN SITU) | item no.9 | [55 empty] | 9 | CEMENT CONCRETE (CAST IN SITU) | item no.9
10 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.10 | [55 empty] | 10 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.10
11 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.11 | 0.4 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2583 | 2583 | INR Two Thousand Five Hundred & Eighty Three Only |  |  |  | 11 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.11 | 0.4 | cum
12 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.12 | 283 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 169143 | 169143 | INR One Lakh Sixty Nine Thousand One Hundred & Forty Three Only |  |  |  | 12 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.12 | 283 | sqm
13 | MASONRY WORK | item no.13 | [55 empty] | 13 | MASONRY WORK | item no.13
14 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.14 | 405 | metre | 48.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19817 | 19817 | INR Nineteen Thousand Eight Hundred & Seventeen Only |  |  |  | 14 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.14 | 405 | metre
15 | FLOORING | item no.15 | [55 empty] | 15 | FLOORING | item no.15
16 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.16 | [55 empty] | 16 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.16
17 | 25 mm thick | item no.17 | 17 | sqm | 1496.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25438 | 25438 | INR Twenty Five Thousand Four Hundred & Thirty Eight Only |  |  |  | 17 | 25 mm thick | item no.17 | 17 | sqm
18 | 40 mm thick rubbed stone flooring over 20 mm (average) thick base of cement mortar 1:5 (1 cement : 5 coarse sand) with joints 3 mm thick, side buttered with cement mortar 1:2 (1 cement : 2 stone dust) admixed with pigment to match the shade of stone and pointing with same mortar. | item no.18 | [55 empty] | 18 | 40 mm thick rubbed stone flooring over 20 mm (average) thick base of cement mortar 1:5 (1 cement : 5 coarse sand) with joints 3 mm thick, side buttered with cement mortar 1:2 (1 cement : 2 stone dust) admixed with pigment to match the shade of stone and pointing with same mortar. | item no.18
19 | Red sand stone | item no.19 | 33 | sqm | 1132.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37384 | 37384 | INR Thirty Seven Thousand Three Hundred & Eighty Four Only |  |  |  | 19 | Red sand stone | item no.19 | 33 | sqm
20 | DRAINAGE | item no.20 | [55 empty] | 20 | DRAINAGE | item no.20
21 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | item no.21 | [55 empty] | 21 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | item no.21
22 | 250 mm dia. R.C.C. pipe | item no.22 | 214 | metre | 711.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 152201 | 152201 | INR One Lakh Fifty Two Thousand Two Hundred & One Only |  |  |  | 22 | 250 mm dia. R.C.C. pipe | item no.22 | 214 | metre
23 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | item no.23 | [55 empty] | 23 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | item no.23
24 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | item no.24 | [55 empty] | 24 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | item no.24
25 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.25 | 6 | each | 10247.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61484 | 61484 | INR Sixty One Thousand Four Hundred & Eighty Four Only |  |  |  | 25 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.25 | 6 | each
26 | Extra for depth for manholes : | item no.26 | [55 empty] | 26 | Extra for depth for manholes : | item no.26
27 | Size 90x80 cm | item no.27 | [55 empty] | 27 | Size 90x80 cm | item no.27
28 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.28 | 4.8 | metre | 7126.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34206 | 34206 | INR Thirty Four Thousand Two Hundred & Six Only |  |  |  | 28 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.28 | 4.8 | metre
29 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.29 | [55 empty] | 29 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.29
30 | For pipes 100 to 250 mm diameter | item no.30 | 1 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 599 | 599 | INR Five Hundred & Ninety Nine Only |  |  |  | 30 | For pipes 100 to 250 mm diameter | item no.30 | 1 | each
31 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | item no.31 | [55 empty] | 31 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | item no.31
32 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.32 | 2 | each | 4900.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9802 | 9802 | INR Nine Thousand Eight Hundred & Two Only |  |  |  | 32 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.32 | 2 | each
33 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg), R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 fine sand : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand), finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design: | item no.33 | [55 empty] | 33 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg), R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 fine sand : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand), finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design: | item no.33
34 | Inside dimensions 500x700 mm and 45 cm deep for pipe line with one or two inlets : | item no.34 | [55 empty] | 34 | Inside dimensions 500x700 mm and 45 cm deep for pipe line with one or two inlets : | item no.34
35 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.35 | 1 | each | 6407.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6408 | 6408 | INR Six Thousand Four Hundred & Eight Only |  |  |  | 35 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.35 | 1 | each
36 | Extra for depth beyond 45 cm of brick masonry chamber : | item no.36 | [55 empty] | 36 | Extra for depth beyond 45 cm of brick masonry chamber : | item no.36
37 | For 455x610 mm size | item no.37 | [55 empty] | 37 | For 455x610 mm size | item no.37
38 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.38 | 0.4 | metre | 4945.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1978 | 1978 | INR One Thousand Nine Hundred & Seventy Eight Only |  |  |  | 38 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.38 | 0.4 | metre
39 | For 500x700 mm size | item no.39 | [55 empty] | 39 | For 500x700 mm size | item no.39
40 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.40 | 0.2 | metre | 5399.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1080 | 1080 | INR One Thousand &Eighty Only |  |  |  | 40 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.40 | 0.2 | metre
41 | CLADDING WORK | item no.41 | [55 empty] | 41 | CLADDING WORK | item no.41
42 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.42 | 10 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9324 | 9324 | INR Nine Thousand Three Hundred & Twenty Four Only |  |  |  | 42 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.42 | 10 | sqm
43 | WOOD AND P. V. C. WORK | item no.43 | [55 empty] | 43 | WOOD AND P. V. C. WORK | item no.43
44 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.44 | [55 empty] | 44 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.44
45 | 100x10 mm | item no.45 | 64 | each | 51.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3291 | 3291 | INR Three Thousand Two Hundred & Ninety One Only |  |  |  | 45 | 100x10 mm | item no.45 | 64 | each
46 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.46 | [55 empty] | 46 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.46
47 | 100 mm | item no.47 | 32 | each | 46.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1494 | 1494 | INR One Thousand Four Hundred & Ninety Four Only |  |  |  | 47 | 100 mm | item no.47 | 32 | each
48 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.48 | [55 empty] | 48 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.48
49 | With 2nd class teak wood beading 62X19 mm | item no.49 | 20 | sqm | 1231.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24625 | 24625 | INR Twenty Four Thousand Six Hundred & Twenty Five Only |  |  |  | 49 | With 2nd class teak wood beading 62X19 mm | item no.49 | 20 | sqm
50 | FINISHING | item no.50 | [55 empty] | 50 | FINISHING | item no.50
51 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.51 | [55 empty] | 51 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.51
52 | 1:6 (1 cement: 6 coarse sand) | item no.52 | 169 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50249 | 50249 | INR Fifty Thousand Two Hundred & Forty Nine Only |  |  |  | 52 | 1:6 (1 cement: 6 coarse sand) | item no.52 | 169 | sqm
53 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge. | item no.53 | 623 | sqm | 404.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 252284 | 252284 | INR Two Lakh Fifty Two Thousand Two Hundred & Eighty Four Only |  |  |  | 53 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge. | item no.53 | 623 | sqm
54 | 6 mm cement plaster of mix : | item no.54 | [55 empty] | 54 | 6 mm cement plaster of mix : | item no.54
55 | 1:3 (1 cement : 3 fine sand) | item no.55 | 344 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76327 | 76327 | INR Seventy Six Thousand Three Hundred & Twenty Seven Only |  |  |  | 55 | 1:3 (1 cement : 3 fine sand) | item no.55 | 344 | sqm
56 | Neat cement punning. | item no.56 | 344 | sqm | 59.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20451 | 20451 | INR Twenty Thousand Four Hundred & Fifty One Only |  |  |  | 56 | Neat cement punning. | item no.56 | 344 | sqm
57 | Extra for plastering exterior walls of height more than 10 m from ground level for every additional height of 3 m or part thereof. | item no.57 | 20 | sqm | 63.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1277 | 1277 | INR One Thousand Two Hundred & Seventy Seven Only |  |  |  | 57 | Extra for plastering exterior walls of height more than 10 m from ground level for every additional height of 3 m or part thereof. | item no.57 | 20 | sqm
58 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.58 | [55 empty] | 58 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.58
59 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.59 | 623 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88684 | 88684 | INR Eighty Eight Thousand Six Hundred & Eighty Four Only |  |  |  | 59 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.59 | 623 | sqm
60 | Forming groove of uniform size in the top layer of washed stone grit plaster as per approved pattern using wooden battens, nailed to the under layer, including removal of wooden battens, repair to the edges of panels and finishing the groove complete as per specifications and direction of the Engineer-in-charge : | item no.60 | [55 empty] | 60 | Forming groove of uniform size in the top layer of washed stone grit plaster as per approved pattern using wooden battens, nailed to the under layer, including removal of wooden battens, repair to the edges of panels and finishing the groove complete as per specifications and direction of the Engineer-in-charge : | item no.60
61 | 20 mm wide and 15 mm deep groove | item no.61 | 715 | metre | 55.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39561 | 39561 | INR Thirty Nine Thousand Five Hundred & Sixty One Only |  |  |  | 61 | 20 mm wide and 15 mm deep groove | item no.61 | 715 | metre
62 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.62 | [55 empty] | 62 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.62
63 | Two or more coats on new work | item no.63 | 400 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32528 | 32528 | INR Thirty Two Thousand Five Hundred & Twenty Eight Only |  |  |  | 63 | Two or more coats on new work | item no.63 | 400 | sqm
64 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.64 | 400 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43436 | 43436 | INR Forty Three Thousand Four Hundred & Thirty Six Only |  |  |  | 64 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.64 | 400 | sqm
65 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.65 | [55 empty] | 65 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.65
66 | Old work (one or more coats) | item no.66 | 3950 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 196710 | 196710 | INR One Lakh Ninety Six Thousand Seven Hundred & Ten Only |  |  |  | 66 | Old work (one or more coats) | item no.66 | 3950 | sqm
67 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.67 | 400 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7312 | 7312 | INR Seven Thousand Three Hundred & Twelve Only |  |  |  | 67 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.67 | 400 | sqm
68 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.68 | [55 empty] | 68 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.68
69 | One or more coats on old work | item no.69 | 1275 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 96760 | 96760 | INR Ninety Six Thousand Seven Hundred & Sixty Only |  |  |  | 69 | One or more coats on old work | item no.69 | 1275 | sqm
70 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.70 | [55 empty] | 70 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.70
71 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item no.71 | 3000 | sqm | 64.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 194910 | 194910 | INR One Lakh Ninety Four Thousand Nine Hundred & Ten Only |  |  |  | 71 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item no.71 | 3000 | sqm
72 | REPAIRS TO BUILDING | item no.72 | [55 empty] | 72 | REPAIRS TO BUILDING | item no.72
73 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | item no.73 | 410 | sqm | 249.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102455 | 102455 | INR One Lakh Two Thousand Four Hundred & Fifty Five Only |  |  |  | 73 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | item no.73 | 410 | sqm
74 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.74 | 283 | sqm | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 708 | 708 | INR Seven Hundred & Eight Only |  |  |  | 74 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.74 | 283 | sqm
75 | Dismantling and Demolishing | item no.75 | [55 empty] | 75 | Dismantling and Demolishing | item no.75
76 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.76 | 50 | sqm | 192.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9634 | 9634 | INR Nine Thousand Six Hundred & Thirty Four Only |  |  |  | 76 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.76 | 50 | sqm
77 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.77 | 878 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34681 | 34681 | INR Thirty Four Thousand Six Hundred & Eighty One Only |  |  |  | 77 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.77 | 878 | sqm
78 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.78 | 20 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3847 | 3847 | INR Three Thousand Eight Hundred & Forty Seven Only |  |  |  | 78 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.78 | 20 | cum
79 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.79 | [55 empty] | 79 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.79
80 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.80 | 50 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20956 | 20956 | INR Twenty Thousand Nine Hundred & Fifty Six Only |  |  |  | 80 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.80 | 50 | sqm
81 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.81 | [55 empty] | 81 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.81
82 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.82 | 10 | sqm | 825.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8259 | 8259 | INR Eight Thousand Two Hundred & Fifty Nine Only |  |  |  | 82 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.82 | 10 | sqm
83 | Dismantling and Demolishing | item no.83 | [55 empty] | 83 | Dismantling and Demolishing | item no.83
84 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.84 | [55 empty] | 84 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.84
85 | Of area 3 sq. metres and below | item no.85 | 32 | each | 265.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8493 | 8493 | INR Eight Thousand Four Hundred & Ninety Three Only |  |  |  | 85 | Of area 3 sq. metres and below | item no.85 | 32 | each
86 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.86 | 5 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 198 | 198 | INR One Hundred & Ninety Eight Only |  |  |  | 86 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.86 | 5 | sqm
87 | WATER SUPPLY | item no.87 | [55 empty] | 87 | WATER SUPPLY | item no.87
88 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.88 | [55 empty] | 88 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.88
89 | 15 mm nominal bore | item no.89 | 12 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7454 | 7454 | INR Seven Thousand Four Hundred & Fifty Four Only |  |  |  | 89 | 15 mm nominal bore | item no.89 | 12 | each
90 | ALUMINIUM WORK | item no.90 | [52 empty] | 1.07 | Bus bar: 1 No.4000 A, 50HZ, FP, Aliminium Bus Bar | item no.7 | 90 | ALUMINIUM WORK | item no.90
91 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.91 | [52 empty] | 1.08 | OutGoing: | item no.8 | 91 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.91
92 | For fixed portion | item no.92 | [52 empty] | 1.09 | 2 nos.2500 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.9 | 92 | For fixed portion | item no.92
93 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.93 | 100 | kg | 408.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40886 | 40886 | INR Forty Thousand Eight Hundred & Eighty Six Only | 1.1 | 2 nos.1600 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.10 | 93 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.93 | 100 | kg
94 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.94 | [52 empty] | 1.11 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-3Nos, FP Spreader(8x3=24Nos) for MCCB 800A- 3 Nos | item no.11 | 94 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.94
95 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.95 | 70 | kg | 495.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34665 | 34665 | INR Thirty Four Thousand Six Hundred & Sixty Five Only | 1.12 | 2 nos. 630 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-2Nos, FP Spreader(8x2=16Nos) for MCCB 630A- 2Nos | item no.12 | 95 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.95 | 70 | kg
96 | WATER PROOFING | item no.96 | [55 empty] | 96 | WATER PROOFING | item no.96
97 | Providing and applying fibre reinforced elastomeric liquid waterproofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of the concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.97 | 775 | sqm | 415.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 322199 | 322199 | INR Three Lakh Twenty Two Thousand One Hundred & Ninety Nine Only |  |  |  | 97 | Providing and applying fibre reinforced elastomeric liquid waterproofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of the concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.97 | 775 | sqm
98 | CONSERVATION OF HERITAGE BUILDINGS | item no.98 | [55 empty] | 98 | CONSERVATION OF HERITAGE BUILDINGS | item no.98
99 | Providing and applying antifungal wash treatment using 3% solution of sodium pentachlorophenate, of reputed brand and manufacturer, on cleaned sand stone surface at desired locations as per direction of Engineer-in-charge (The rate is inclusive of all materials & labours involved except scaffolding). | item no.99 | 775 | sqm | 56.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43555 | 43555 | INR Forty Three Thousand Five Hundred & Fifty Five Only |  |  |  | 99 | Providing and applying antifungal wash treatment using 3% solution of sodium pentachlorophenate, of reputed brand and manufacturer, on cleaned sand stone surface at desired locations as per direction of Engineer-in-charge (The rate is inclusive of all materials & labours involved except scaffolding). | item no.99 | 775 | sqm
100 | NEW TECHNOLOGIES AND MATERIALS | item no.100 | [55 empty] | 100 | NEW TECHNOLOGIES AND MATERIALS | item no.100
101 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.101 | [55 empty] | 101 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.101
102 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.102 | 100 | sqm | 342.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34235 | 34235 | INR Thirty Four Thousand Two Hundred & Thirty Five Only |  |  |  | 102 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.102 | 100 | sqm
103 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | item no.103 | [55 empty] | 103 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | item no.103
104 | 25 mm average thickness in 2 layers. | item no.104 | 100 | sqm | 447.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44761 | 44761 | INR Forty Four Thousand Seven Hundred & Sixty One Only |  |  |  | 104 | 25 mm average thickness in 2 layers. | item no.104 | 100 | sqm
105 | Minor Repair & Maintenance | item no.105 | [55 empty] | 105 | Minor Repair & Maintenance | item no.105
106 | P/F 1.50mm thick homogeneous polyvinyl chloride sheet/tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dualpo S-758 , Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer -in -charge in approved colour and shade. | item no.106 | 1015 | sqm | 542.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 550881 | 550881 | INR Five Lakh Fifty Thousand Eight Hundred & Eighty One Only |  |  |  | 106 | P/F 1.50mm thick homogeneous polyvinyl chloride sheet/tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dualpo S-758 , Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer -in -charge in approved colour and shade. | item no.106 | 1015 | sqm
107 | MINOR CIVIL MAINTENANCE WORK. | item no.107 | [55 empty] | 107 | MINOR CIVIL MAINTENANCE WORK. | item no.107
108 | In-filling / sealing of joint between RCC plinth beam and Plinth Protection (on external side) in Ground floors by pushing in Grout RW/equivalent in paste form and coving 25 mm x 50 mm after applying a coat of Zycosil/equivalent & zycoprime/equivalent solution before cement plastering of top, bottom and sides of RCC sunshade. | item no.108 | 1177 | Per / mtr | 41.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48504 | 48504 | INR Forty Eight Thousand Five Hundred & Four Only |  |  |  | 108 | In-filling / sealing of joint between RCC plinth beam and Plinth Protection (on external side) in Ground floors by pushing in Grout RW/equivalent in paste form and coving 25 mm x 50 mm after applying a coat of Zycosil/equivalent & zycoprime/equivalent solution before cement plastering of top, bottom and sides of RCC sunshade. | item no.108 | 1177 | Per / mtr
Total in Figures | [51 empty] | 3070140 | 3070140 | Thirty Lakh Seventy Thousand One Hundred & Forty Only |  |  |  | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only |  |  |  | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [55 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information