## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT Kanpur
Name of Work: P/L floor tile along with aluminum system window, water proofing treatment of terrace, annual repairing and painting at house No. 430 type-IV, IIT Kanpur
NIT No: 18/Civil/D3/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT without taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | item no.1 | [52 empty] | 1 | Component | item no.1
1.01 | Carriage of Materials | item no.2 | [52 empty] | 1.01 | Carriage of Materials | item no.2
1.02 | By Mechanical Transport including loading,unloading and stacking | item no.3 | [52 empty] | 1.02 | By Mechanical Transport including loading,unloading and stacking | item no.3
1.03 | Lime, moorum, building rubbish Lead - 2 | item no.4 | 2.5 | cum | 162.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 405.43 | 405.43 | #VALUE! | 1.03 | Lime, moorum, building rubbish Lead - 2 | item no.4 | 2.5 | cum
1.05 | EARTH WORK | item no.6 | [52 empty] | 1.05 | EARTH WORK | item no.6
1.06 | Supplying chemical emulsion in sealed containers including delivery as specified. | item no.7 | [52 empty] | 1.06 | Supplying chemical emulsion in sealed containers including delivery as specified. | item no.7
1.07 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.8 | 10 | litre | 193.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1935.8 | 1935.8 | #VALUE! | 1.07 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.8 | 10 | litre
1.09 | CEMENT CONCRETE (CAST IN SITU) | item no.10 | [52 empty] | 1.09 | CEMENT CONCRETE (CAST IN SITU) | item no.10
1.1 | Providing and laying in position excluding cement concrete of level: specified grade the cost of centering and shuttering - All work up to plinth | item no.11 | [52 empty] | 1.1 | Providing and laying in position excluding cement concrete of level: specified grade the cost of centering and shuttering - All work up to plinth | item no.11
1.11 | 1:2:4 (1 Cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.12 | 0.2 | cum | 6415.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1283.14 | 1283.14 | #VALUE! | 1.11 | 1:2:4 (1 Cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.12 | 0.2 | cum
1.13 | STEEL WORK | item no.14 | [52 empty] | 1.13 | STEEL WORK | item no.14
1.14 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.15 | 16 | kg | 110.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1764 | 1764 | #VALUE! | 1.14 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.15 | 16 | kg
1.16 | FLOORING | item no.17 | [52 empty] | 1.16 | FLOORING | item no.17
1.17 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.18 | 9.76 | sqm | 904.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8825.19 | 8825.19 | #VALUE! | 1.17 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.18 | 9.76 | sqm
1.18 | Providing and laying vitrified floor tiles in diferent sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.19 | [52 empty] | 1.18 | Providing and laying vitrified floor tiles in diferent sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.19
1.19 | Size of Tile 600x600 mm | item no.20 | 103 | sqm | 1280.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 131940.94 | 131940.94 | #VALUE! | 1.19 | Size of Tile 600x600 mm | item no.20 | 103 | sqm
1.2 | Providing and laying Vitrified tiles in floor in diferent sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.21 | [52 empty] | 1.2 | Providing and laying Vitrified tiles in floor in diferent sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.21
1.21 | Double charge vitrified tile polished finish of size | item no.22 | [52 empty] | 1.21 | Double charge vitrified tile polished finish of size | item no.22
1.22 | Size of Tile 600 x 600 mm | item no.23 | 13 | sqm | 1198.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15582.97 | 15582.97 | #VALUE! | 1.22 | Size of Tile 600 x 600 mm | item no.23 | 13 | sqm
1.23 | Glazed vitrified floor tiles polished finish of size | item no.24 | [52 empty] | 1.23 | Glazed vitrified floor tiles polished finish of size | item no.24
1.24 | Size of Tile 600 x 600 mm | item no.25 | 14.6 | sqm | 1239.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18092.03 | 18092.03 | #VALUE! | 1.24 | Size of Tile 600 x 600 mm | item no.25 | 14.6 | sqm
1.26 | ROOFING | item no.27 | [52 empty] | 1.26 | ROOFING | item no.27
1.27 | Providing gola 75x75 mm in cement concrete 1:2:4(1 cement :2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement: 3 fine sand) as per standard design : | item no.28 | [52 empty] | 1.27 | Providing gola 75x75 mm in cement concrete 1:2:4(1 cement :2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement: 3 fine sand) as per standard design : | item no.28
1.28 | In 75x75 mm deep chase | item no.29 | 13 | metre | 251.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3271.19 | 3271.19 | #VALUE! | 1.28 | In 75x75 mm deep chase | item no.29 | 13 | metre
1.29 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.30 | 13 | sqm | 609.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7918.3 | 7918.3 | #VALUE! | 1.29 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.30 | 13 | sqm
1.31 | FINISHING | item no.32 | [52 empty] | 1.31 | FINISHING | item no.32
1.32 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.33 | 160 | sqm | 128.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20588.8 | 20588.8 | #VALUE! | 1.32 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.33 | 160 | sqm
1.33 | White washing with lime to give an even shade: | item no.34 | [52 empty] | 1.33 | White washing with lime to give an even shade: | item no.34
1.34 | Old work (two or more coats) | item no.35 | 245 | sqm | 18.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4615.8 | 4615.8 | #VALUE! | 1.34 | Old work (two or more coats) | item no.35 | 245 | sqm
1.35 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.36 | 245 | sqm | 16.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3991.05 | 3991.05 | #VALUE! | 1.35 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.36 | 245 | sqm
1.36 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.37 | 160 | sqm | 20.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3318.4 | 3318.4 | #VALUE! | 1.36 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.37 | 160 | sqm
1.37 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | item no.38 | [52 empty] | 1.37 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: | item no.38
1.38 | One or more coats on old work | item no.39 | 140 | sqm | 84.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11867.8 | 11867.8 | #VALUE! | 1.38 | One or more coats on old work | item no.39 | 140 | sqm
1.39 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.40 | [52 empty] | 1.39 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.40
1.4 | Old work (one or more coats applied @ 0.83 Itr/10 sqm). | item no.41 | 50 | sqm | 73.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3651 | 3651 | #VALUE! | 1.4 | Old work (one or more coats applied @ 0.83 Itr/10 sqm). | item no.41 | 50 | sqm
1.41 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | item no.42 | 345 | Sqm | 92.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31846.95 | 31846.95 | #VALUE! | 1.41 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | item no.42 | 345 | Sqm
1.43 | REPAIRS TO BUILDING | item no.44 | [52 empty] | 1.43 | REPAIRS TO BUILDING | item no.44
1.44 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.45 | [52 empty] | 1.44 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.45
1.45 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.46 | 15 | sqm | 462.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6932.85 | 6932.85 | #VALUE! | 1.45 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.46 | 15 | sqm
1.46 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials including malba all complete as per directions of Engineer-in-Charge. | item no.47 | 2 | each | 110.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 221.16 | 221.16 | #VALUE! | 1.46 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials including malba all complete as per directions of Engineer-in-Charge. | item no.47 | 2 | each
1.47 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.48 | 115 | sqm | 2.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 326.6 | 326.6 | #VALUE! | 1.47 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.48 | 115 | sqm
1.48 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.49 | 11 | each | 353.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3892.24 | 3892.24 | #VALUE! | 1.48 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.49 | 11 | each
1.5 | Dismantling and Demolishing | item no.51 | [52 empty] | 1.5 | Dismantling and Demolishing | item no.51
1.51 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.52 | [52 empty] | 1.51 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.52
1.52 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | item no.53 | 0.4 | cum | 2007.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 802.92 | 802.92 | #VALUE! | 1.52 | Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | item no.53 | 0.4 | cum
1.53 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | item no.54 | 0.9 | cum | 1239.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1115.89 | 1115.89 | #VALUE! | 1.53 | Nominal concrete 1:4:8 or leaner mix (including equivalent design mix) | item no.54 | 0.9 | cum
1.54 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: | item no.55 | [52 empty] | 1.54 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: | item no.55
1.55 | Asbestos Cement sheet | item no.56 | 13 | sqm | 63.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 828.62 | 828.62 | #VALUE! | 1.55 | Asbestos Cement sheet | item no.56 | 13 | sqm
1.56 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.57 | 15 | sqm | 45.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 675.9 | 675.9 | #VALUE! | 1.56 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.57 | 15 | sqm
1.58 | SANITARY INSTALLATIONS | item no.59 | [52 empty] | 1.58 | SANITARY INSTALLATIONS | item no.59
1.59 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.60 | [52 empty] | 1.59 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.60
1.6 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.61 | 1 | each | 5580.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5580.44 | 5580.44 | #VALUE! | 1.6 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.61 | 1 | each
1.61 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.62 | [52 empty] | 1.61 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.62
1.62 | W.C. pan with ISI marked white solid plastic seat and lid | item no.63 | 1 | each | 5372.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5372.76 | 5372.76 | #VALUE! | 1.62 | W.C. pan with ISI marked white solid plastic seat and lid | item no.63 | 1 | each
1.64 | WATER SUPPLY | item no.65 | [52 empty] | 1.64 | WATER SUPPLY | item no.65
1.65 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.66 | [52 empty] | 1.65 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.66
1.66 | 32 mm dia nominal bore | item no.67 | 4.5 | metre | 445.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2004.89 | 2004.89 | #VALUE! | 1.66 | 32 mm dia nominal bore | item no.67 | 4.5 | metre
1.68 | ALUMINIUM WORK | item no.69 | [52 empty] | 1.68 | ALUMINIUM WORK | item no.69
1.69 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.70 | [52 empty] | 1.69 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.70
1.7 | For fixed portion | item no.71 | [52 empty] | 1.7 | For fixed portion | item no.71
1.71 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.72 | 170 | kg | 437.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 74422.6 | 74422.6 | #VALUE! | 1.71 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.72 | 170 | kg
1.72 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.73 | [52 empty] | 1.72 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.73
1.73 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.74 | 387 | kg | 523.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 202466.79 | 202466.79 | #VALUE! | 1.73 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.74 | 387 | kg
1.74 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.75 | [52 empty] | 1.74 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.75
1.75 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | item no.76 | 11 | sqm | 970.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10674.4 | 10674.4 | #VALUE! | 1.75 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | item no.76 | 11 | sqm
1.76 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer-in-charge complete. | item no.77 | [52 empty] | 1.76 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer-in-charge complete. | item no.77
1.77 | 255 X 19 mm | item no.78 | 50 | each | 319.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15956 | 15956 | #VALUE! | 1.77 | 255 X 19 mm | item no.78 | 50 | each
1.78 | 355 X 19 mm | item no.79 | 1 | each | 268.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 268.66 | 268.66 | #VALUE! | 1.78 | 355 X 19 mm | item no.79 | 1 | each
1.79 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/ structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540-F & ISO 11600 | item no.80 | [52 empty] | 1.79 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/ structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540-F & ISO 11600 | item no.80
1.8 | Upto 5 mm depth and 5 mm width | item no.81 | 145 | metre | 122.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17707.4 | 17707.4 | #VALUE! | 1.8 | Upto 5 mm depth and 5 mm width | item no.81 | 145 | metre
1.82 | WATER PROOFING | item no.83 | [52 empty] | 1.82 | WATER PROOFING | item no.83
1.83 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer- in-Charge. | item no.84 | 250 | sqm | 464.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 116085 | 116085 | #VALUE! | 1.83 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer- in-Charge. | item no.84 | 250 | sqm
1.85 | NEW TECHNOLOGIES AND MATERIALS | item no.86 | [52 empty] | 1.85 | NEW TECHNOLOGIES AND MATERIALS | item no.86
1.86 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.87 | [52 empty] | 1.86 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.87
1.87 | 25 mm average thickness | item no.88 | 0.8 | sqm | 104.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83.62 | 83.62 | #VALUE! | 1.87 | 25 mm average thickness | item no.88 | 0.8 | sqm
1.88 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer- In-charge complete in all respect. | item no.89 | [52 empty] | 1.88 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer- In-charge complete in all respect. | item no.89
1.89 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.90 | 0.8 | sqm | 235.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 188.14 | 188.14 | #VALUE! | 1.89 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.90 | 0.8 | sqm
1.9 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75 mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). | item no.91 | [52 empty] | 1.9 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. Note: Measurement and payment: The pre-measurement of thickness shall be done just after the surface preparation is completed and Payment under this item shall be made only after proper wet curing has been done and surface has been satisfactorily evaluated by sounding / tapping with a blunt metal instrument and/or the 75 mm size cube crushing strength at the end of 28 days to be not less than 30 N/Sqmm2). | item no.91
1.91 | 25 mm average thickness in 2 layers. | item no.92 | 0.8 | sqm | 484.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 387.46 | 387.46 | #VALUE! | 1.91 | 25 mm average thickness in 2 layers. | item no.92 | 0.8 | sqm
1.93 | Minor Civil Maintenance Work | item no.94 | [52 empty] | 1.93 | Minor Civil Maintenance Work | item no.94
1.94 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.95 | 0.9 | Cum | 4637.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4173.64 | 4173.64 | #VALUE! | 1.94 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.95 | 0.9 | Cum
1.95 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.96 | 6 | Each | 82.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 492.78 | 492.78 | #VALUE! | 1.95 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.96 | 6 | Each
1.96 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to Aluminum windows and Aluminum clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm, with all necessary complete. | item no.97 | 14.5 | SQM | 739.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10725.22 | 10725.22 | #VALUE! | 1.96 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to Aluminum windows and Aluminum clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm, with all necessary complete. | item no.97 | 14.5 | SQM
1.97 | "Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. " | item no.98 | 2 | Each | 1355.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2710.4 | 2710.4 | #VALUE! | 1.97 | "Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. " | item no.98 | 2 | Each
1.98 | """Providing and fixing aluminum door seal in door i/c necessary screw etc complete. "" " | item no.99 | 4 | Metre | 175.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 703.88 | 703.88 | #VALUE! | 1.98 | """Providing and fixing aluminum door seal in door i/c necessary screw etc complete. "" " | item no.99 | 4 | Metre
1.99 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | item no.100 | 58 | Each | 325.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18862.76 | 18862.76 | #VALUE! | 1.99 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. | item no.100 | 58 | Each
Total in Figures | [51 empty] | 774562 | 774561.81 | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information